## Production
Table S5.2: Annual (2016) Production / Treatment
Leachate: | Cubic meters/year
Disposed of off site; | 65322
Disposed of to any onsite effluent treatment plant; | no record
Recirculated into the waste mass; | 0
Surface water and / or groundwater: | Cubic meters/year
Disposed of off site; | nil
Disposed of to any onsite effluent treatment plant; | nil
Landfill Gas: | Normalised cubic meters/year
Combustion in flares (estimated) | 222435
Combustion in gas engines (estimated) | 6358084
Other methods of gas utilisation; | 0

## Energy
S5.3 Performance Parameters 2016
Parameter | Frequency of Assessment | Annual Total | Unit
Potable water use | Annually | 218 | Cubic meters
Energy used | Annually | 422.2 | MW of electricity
Non potable water use | Annually | 0 | Cubic meters

## Sheet3
| Day | Night | Total
2016-01-01 | 32235.6 | 13397.1 | 45632.7
2016-02-01 | 31588.1 | 12982.3 | 44570.4
2016-03-01 | 30669.2 | 12867 | 43536.2
2016-04-01 | 27267 | 11687.8 | 38954.8
2016-05-01 | 25871.1 | 10817.7 | 36688.8
2016-06-01 | 18936.7 | 7823.3 | 26760
2016-07-01 | 16871.4 | 6579.7 | 23451.1
2016-08-01 | 20292.7 | 8583.6 | 28876.3
2016-09-01 | 20845.6 | 8888.6 | 29734.2
2016-10-01 | 21442.7 | 9010.6 | 30453.3
2016-11-01 | 18078.7 | 7316.2 | 25394.9
2016-12-01 | 34200.6 | 13988.3 | 48188.9
422241.6