Schedule 5 - Notification 

This page outlines the information that the Operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	EPR/PR3733PC V009

	Name of Operator
	Biffa Waste Services Limited

	Location of Facility
	Trecatti Landfill Site

Fochriw Road

Merthyr Tydfil

Mid Glamorgan

CF48 4AB

	
	

	Time and date of the detection 
	25.05.18 @ 20.27 pm 


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and Time of the event
	N/A

	Reference or description of the location of the event 
	N/A

	Description of where any release into the environment took place
	N/A

	Substances(s) potentially released
	N/A

	Best estimate of the quantity or rate of release of substances
	N/A

	Measures taken, or intended to be taken, to stop any emission
	N/A

	Description of the failure or accident.
	N/A


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	81701120 (GW2)

	Parameter(s)
	Ammonia Nitrogen

	Limit
	GW2 -   Ammonia 17mg/l

	Measured value and uncertainty
	GW2 = 18.5 mg/l 

	Date and time of monitoring
	  10/05/18 @ 14.00

	Measures taken, or intended to be taken, to stop the emission
	Measures taken in accordance with the HRAR 2013 and subsequent CAR form 22/12/2014.


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	Groundwater Quality
	At quarterly report


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	N/A




	Substances(s) detected
	N/A

	Concentrations of substances detected
	N/A

	Date of monitoring/sampling
	N/A


Part B to be supplied as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	Natural Resource Wales agreed trigger levels which were defined in CAR form dated 22/12/14. As per the CAR form, annual groundwater assessments will be carried out during 2018. These will derive whether levels have breached, based on the trends over the year. Trends will be monitored within the annual groundwater assessment.

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	See previous Schedule 5s


	Name*
	Simon Milford

	Post
	Site Manager

	Signature
	S. Milford

	Date
	 26th July 2018


