Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Oct14-SW…
Reporting of ……Surface Water…… monitoring for the period for … October 2014…
	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW1


	Am Nitrogen


	0.17mg/l


	Oct - 14

	0.0850
	25
	28th Oct 2014
	10.6



	SW1


	BOD


	3.35mg/l


	Oct - 14

	1.54
	370
	28th Oct 2014
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW2


	Am Nitrogen


	0.17mg/l


	Oct - 14


	0.103
	25
	28th Oct 2014
	10.6



	SW2


	BOD


	3.35mg/l


	Oct - 14


	2.18
	370
	28th Oct 2014
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW3


	Am Nitrogen


	0.17mg/l


	Oct - 14


	0.0990
	25
	28th Oct 2014
	10.6



	SW3


	BOD


	3.35mg/l


	Oct - 14


	1.76
	370
	28th Oct 2014
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW4


	Am Nitrogen


	0.17mg/l


	Oct - 14


	0.0940
	25
	28th Oct 2014
	10.6



	SW4


	BOD


	3.35mg/l


	Oct - 14


	1.52
	370
	28th Oct 2014
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW5


	Am Nitrogen


	0.17mg/l


	Oct - 14


	0.105
	25
	28th Oct 2014
	10.6



	SW5


	BOD


	3.35mg/l


	Oct - 14


	1.59
	370
	28th Oct 2014
	20.1




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	SW6


	Am Nitrogen


	0.17mg/l


	Oct - 14


	0.105
	25
	28th Oct 2014
	10.6



	SW6


	BOD


	3.35mg/l


	Oct - 14


	1.44
	370
	28th Oct 2014
	20.1




1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………28th Oct 2014……………..  



(Authorised to sign as representative of Operator)

