Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Oct14-L…
Reporting of ……LEACHATE…… monitoring for the period for … October 2014……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Oct - 14

	641
	678
	29th Oct 2014
	10.6



	L2
	Cadmium
	0.05

	Oct - 14

	<2.00
	34
	29th Oct 2014
	7.83



	L2
	Nickel
	0.4

	Oct - 14

	130
	34
	29th Oct 2014
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Oct - 14

	650
	678
	29th Oct 2014
	21.5



	L2
	MP Xylene
	0.032
	Oct - 14

	0.848
	54
	29th Oct 2014
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Oct - 14

	9.42
	1214
	29th Oct 2014
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Oct - 14

	622
	678
	29th Oct 2014
	10.6



	L4
	Cadmium


	0.1


	Oct - 14

	<2.00
	34
	29th Oct 2014
	7.83



	L4
	Nickel


	0.1


	Oct - 14

	178
	34
	29th Oct 2014
	8.82



	L4
	Chloride


	13713


	Oct - 14

	661
	678
	29th Oct 2014
	21.5



	L4
	MP Xylene


	0.029


	Oct - 14

	1.60
	54
	29th Oct 2014
	

	L4
	Mecoprop


	0.032


	Oct - 14

	10.5
	1214
	29th Oct 2014
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Oct - 14


	632
	678
	29th Oct 2014
	10.6



	L7
	Cadmium


	0.1


	Oct - 14


	<2.00
	34
	29th Oct 2014
	7.83



	L7
	Nickel


	0.1


	Oct - 14


	121
	34
	29th Oct 2014
	8.82



	L7
	Chloride


	13713


	Oct - 14


	652
	678
	29th Oct 2014
	21.5



	L7
	MP Xylene


	0.029


	Oct - 14


	0.935
	54
	29th Oct 2014
	

	L7
	Mecoprop


	0.032


	Oct - 14


	10.1
	1214
	29th Oct 2014
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
Signed …………………………Gareth Ffoulkes………………………………….  

Date…………29th Oct 2014……………..  



(Authorised to sign as representative of Operator)
