Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…MAR15-L…
Reporting of ……LEACHATE…… monitoring for the period for … March 2015……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904mg/l
	Mar - 15

	1500
	1040
	29/03/15
	10.6



	L2
	Cadmium
	0.05mg/l
	Mar - 15

	<0.00050
	34
	29/03/15
	7.83



	L2
	Nickel
	0.4mg/l
	Mar - 15

	0.21
	34

	29/03/15
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306mg/l
	Mar - 15

	1400
	678
	29/03/15
	21.5



	L2
	MP Xylene
	0.032mg/l
	Mar - 15

	5
	54
	29/03/15
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024mg/l

	Mar - 15

	3.2
	1214

	29/03/15
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370mg/l


	Mar - 15

	1400
	957
	29/03/15
	10.6



	L4
	Cadmium


	0.3mg/l


	Mar - 15

	<0.00050
	34
	29/03/15
	7.83



	L4
	Nickel


	0.3mg/l


	Mar - 15

	0.21
	34

	29/03/15
	8.82



	L4
	Chloride


	13713mg/l


	Mar - 15

	1400
	678
	29/03/15
	21.5



	L4
	MP Xylene


	0.208mg/l


	Mar - 15

	9
	54
	29/03/15
	

	L4
	Mecoprop


	0.14mg/l


	Mar - 15

	91
	1214

	29/03/15
	14.6



	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370mg/l


	Mar - 15

	190
	957
	29/03/15
	10.6



	L7
	Cadmium


	0.3mg/l


	Mar - 15

	0.00025
	34
	29/03/15
	7.83



	L7
	Nickel


	0.3mg/l


	Mar - 15

	0.064
	34

	29/03/15
	8.82



	L7
	Chloride


	13713mg/l


	Mar - 15

	410
	410
	29/03/15
	21.5



	L7
	MP Xylene


	0.208mg/l


	Mar - 15

	<1
	54
	29/03/15
	

	L7
	Mecoprop


	0.14mg/l


	Mar - 15

	4.2
	1214

	29/03/15
	14.6



	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………..…………J G Ffoulkes………………………………….  

Date…………27/4/15……………..   



(Authorised to sign as representative of Operator)

