Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Dec14-L…
Reporting of ……LEACHATE…… monitoring for the period for … December 2014……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	1370


	Dec - 14

	744
	WAS055


	10th Dec 2014
	10.6



	L2
	Cadmium
	0.1


	Dec - 14

	<1.00
	WAS049


	10th Dec 2014
	7.83



	L2
	Nickel
	0.1


	Dec - 14

	153
	WAS049


	10th Dec 2014
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	13713
	Dec - 14

	901
	WAS036


	10th Dec 2014
	21.5



	L2
	MP Xylene
	0.029
	Dec - 14

	1.80
	WAS058
	10th Dec 2014
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.032


	Dec - 14

	24.6
	GEO49


	10th Dec 2014
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Dec - 14

	741
	WAS055


	10th Dec 2014
	10.6



	L4
	Cadmium


	0.1


	Dec - 14

	<1.00
	WAS049


	10th Dec 2014
	7.83



	L4
	Nickel


	0.1


	Dec - 14

	153
	WAS049


	10th Dec 2014
	8.82



	L4
	Chloride


	13713


	Dec - 14

	906
	WAS036


	10th Dec 2014
	21.5



	L4
	MP Xylene


	0.029


	Dec - 14

	1.36
	WAS058


	10th Dec 2014
	

	L4
	Mecoprop


	0.032


	Dec - 14

	13.8
	GEO49


	10th Dec 2014
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Dec - 14


	743
	WAS055


	10th Dec 2014
	10.6



	L7
	Cadmium


	0.1


	Dec - 14


	<1.00
	WAS049


	10th Dec 2014
	7.83



	L7
	Nickel


	0.1


	Dec - 14


	151
	WAS049


	10th Dec 2014
	8.82



	L7
	Chloride


	13713


	Dec - 14


	902
	WAS036


	10th Dec 2014
	21.5



	L7
	MP Xylene


	0.029


	Dec - 14


	1.44
	WAS058


	10th Dec 2014
	

	L7
	Mecoprop


	0.032


	Dec - 14


	26.0
	GEO49


	10th Dec 2014
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………10th Dec 2014……………..  

(Authorised to sign as representative of Operator)

