Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Nov15-L…
Reporting of ……LEACHATE…… monitoring for the period for … November 2015……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904

	Nov -15

	949
	957
	30th Nov 2015
	10.6



	L2
	Cadmium
	0.05

	Nov -15

	<0.100
	34
	30th Nov 2015
	7.83



	L2
	Nickel
	0.04

	Nov -15

	11.6
	34

	30th Nov 2015
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Nov -15

	1190
	678
	30th Nov 2015
	21.5



	L2
	MP Xylene

	0.032
	Nov -15

	1.18
	54
	30th Nov 2015

	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024

	Nov -15

	23.8
	1214
	30th Nov 2015
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Nov - 15

	No sample
	678
	30th Nov 2015
	10.6



	L4
	Cadmium


	0.3

	Nov - 15

	No sample
	34
	30th Nov 2015
	7.83



	L4
	Nickel


	0.3

	Nov - 15

	No sample
	34
	30th Nov 2015
	8.82



	L4
	Chloride


	13713


	Nov - 15

	No sample
	678
	30th Nov 2015
	21.5



	L4
	MP Xylene


	0.208

	Nov - 15

	No sample
	54
	30th Nov 2015
	

	L4
	Mecoprop


	0.14

	Nov - 15

	No sample
	1214
	30th Nov 2015
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	TBA


	Nov - 15

	951
	678
	30th Nov 2015
	10.6



	L7
	Cadmium


	TBA


	Nov - 15

	<0.100
	34
	30th Nov 2015
	7.83



	L7
	Nickel


	TBA


	Nov - 15

	11.6
	34
	30th Nov 2015
	8.82



	L7
	Chloride


	TBA


	Nov - 15

	1190
	678
	30th Nov 2015
	21.5



	L7
	MP Xylene


	TBA


	Nov - 15

	1.11
	54
	30th Nov 2015
	

	L7
	Mecoprop


	TBA


	Nov - 15

	24.4
	1214
	30th Nov 2015
	14.6




1 The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
2 Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3 For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4 The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………22/1/16…………..     



(Authorised to sign as representative of Operator)

