Permit Number: 
JP3239ST



Operator: 

The County council of the City and County of Cardiff

Installation:

Lamby Way Landfill Site

Form Number: 
…Feb 2017 -L…
Reporting of ……LEACHATE…… monitoring for the period for … Feb 2017……..
	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	L2
	Am Nitrogen
	904


	Feb 17

	1400
	T686
	10th Feb 17
	10.6



	L2
	Cadmium
	0.05


	Feb 17

	<0.00050
	T301
	10th Feb 17
	7.83



	L2
	Nickel
	0.4


	Feb 17
	0.19
	T301


	10th Feb 17
	8.82



	
	
	
	
	
	
	
	

	L2
	Chloride
	1306
	Feb 17
	1650
	T686
	10th Feb 17
	21.5



	L2
	MP Xylene
	0.032
	Feb 17
	10
	T54
	10th Feb 17
	

	
	
	
	
	
	
	
	

	
	MP Xylene


	
	
	
	
	
	

	L2
	Mecoprop
	0.024


	Feb 17
	11
	T16
	10th Feb 17
	14.6



	
	
	
	
	
	
	
	


	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L4
	Am Nitrogen


	1370


	Feb 17
	1250
	T686
	10th Feb 17
	10.6



	L4
	Cadmium


	0.3


	Feb 17
	<0.00050
	T301
	10th Feb 17
	7.83



	L4
	Nickel


	0.3


	Feb 17
	0.25
	T301
	10th Feb 17
	8.82



	L4
	Chloride


	13713


	Feb 17
	900
	T686
	10th Feb 17
	21.5



	L4
	MP Xylene


	0.208


	Feb 17
	9
	T54
	10th Feb 17
	

	L4
	Mecoprop


	0.14


	Feb 17
	11
	T16
	10th Feb 17
	14.6




	Monitoring Point
	Substance/ Parameter
	Trigger Level
	Reference Period
	Result [1]
	Test Method [2]
	Sample Date & Times [3]
	Uncertainty [4]

	L7
	Am Nitrogen


	1370


	Feb 17
	1400


	T686
	10th Feb 17
	10.6



	L7
	Cadmium


	0.3


	Feb 17
	<0.00050
	T301
	10th Feb 17
	7.83



	L7
	Nickel


	0.3


	Feb 17
	0.17
	T301
	10th Feb 17
	8.82



	L7
	Chloride


	13713


	Feb 17
	2100
	T686
	10th Feb 17
	21.5



	L7
	MP Xylene


	0.208


	Feb 17
	10
	T54
	10th Feb 17
	

	L7
	Mecoprop


	0.14


	Feb 17
	12
	T16
	10th Feb 17
	14.6




The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………Gareth Ffoulkes………………………………….  

Date…………4/5/17……..     



(Authorised to sign as representative of Operator)

