Natural Resources Wales permitting decisions
Variation 
We have decided to issue the variation for Cefn Mawr Poultry Unit operated by Mr Robert Parker.
The variation number is EPR/JP3734VC/V002.
We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

· explains how the application has been determined

· provides a record of the decision-making process
· shows how all relevant factors have been taken into account
· justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document
· Key issues 
· Annex 1 the decision checklist
Key issues of the decision 
Biomass boiler

The applicant is varying their permit to include 2 biomass boilers with an aggregated net rated thermal input of 396 kWth.

In line with the Environment Agency’s May 2013 document “Biomass boilers on EPR Intensive Farms”, an assessment has been undertaken to consider the proposed addition of the biomass boiler.
This guidance states that the Environment Agency has assessed the pollution risks and have concluded that air emissions from small biomass boilers are not likely to pose a significant risk to the environment or human health providing certain conditions are met. Therefore a quantitative assessment of air emissions will not be required where:

· the fuel will be derived from virgin timber, miscanthus or straw, and;

· the biomass boiler appliance and installation meets the technical criteria to be eligible for the Renewable Heat Incentive, and;

· the aggregate boiler net rated thermal input is:

A. less than 0.5MWth; or

B. less than 1MWth where the stack height is greater than 1 metre above the roof level of adjacent buildings (where there are no adjacent buildings, the stack height must be a minimum of 3 metres above ground), and there are:

· no Special Areas of Conservation, Special Protection Areas, Ramsar sites or Sites of Special Scientific Interest within 500 metres of the emission point(s);

· no National Nature Reserves, Local Nature Reserves, ancient woodlands or local wildlife sites within 100 metres of the emission point(s); or

C. less than 2MWth where, in addition to the above criteria for less than 1MWth boilers, there are:

· no sensitive receptors within 150 metres of the emission point(s).

The biomass boiler met the requirements of criteria A above, and is therefore considered not likely to pose a significant risk to the environment or human health and no further assessment is required.

In accordance with the Environment Agency’s Air Quality Technical Advisory Guidance 14: “for combustion plants under 5MW, no habitats assessment is required due to the size of combustion plant”. Therefore this proposal is considered acceptable and no further assessment is required.

Annex 1: decision checklist 
This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.
	Aspect considered
	Justification / Detail
	Criteria met

	
	
	Yes

	European Directives

	Applicable directives 
	All applicable European directives have been considered in the determination of the application.


	(

	Environmental Risk Assessment and operating techniques

	Operating techniques
	We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. 
The operating techniques are as follows:
· the fuel is derived from virgin timber or biomass wood pellets;
· the biomass boiler appliance and it's installation meets the technical criteria to be eligible for the Renewable Heat Incentive; and
· the stacks are 1m or more higher than the apex of the adjacent buildings.
The proposed techniques for priorities for control are in line with the benchmark levels contained in the SGN EPR6.09 and we consider them to represent appropriate techniques for the facility. The permit conditions ensure compliance with relevant BREFs and BAT Conclusions, and ELVs deliver compliance with BAT-AELs. 

	(

	The permit conditions

	Raw materials


	We have specified limits and controls on the use of raw materials and fuels. 

We have specified that only virgin timber (including wood chips and pellets), straw, miscanthus or a combination of these be used. These materials are never to be mixed with, or replaced by, waste or animal carcasses. 


	(

	Incorporating the application
	We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process.  

These descriptions are specified in the Operating Techniques table in the permit.
At the request of the operator, the permit has been consolidated and re-issued.

	(


5
	[image: image1.png]


EPR/JP3734VC/V003
	Issued 24/06/2014
	Page 1 of 4



