# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for MTCBC Waste Transfer Station operated by Merthyr Tydfil County Borough Council.

The permit number is EPR/BB3092HJ

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation and web publicising responses

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/ notice.

| ### Aspect considered | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- |
|  |  | Yes |  |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |  |
| ### Responses to consultation and web publicising | The web publicising and consultation responses (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. |  |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |  |
| Site condition report | The operator has provided a description of the condition of the site. We consider this description is satisfactory. The decision was taken in accordance with our guidance on site condition reports – guidance and templates (H5). |  |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. |  |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has identified suitable measures in accordance with the relevant technical guidance note for waste activities; ‘How to comply with your environmental permit’. The operator has submitted an odour management plan and fire prevention and mitigation plan detailing measures used to prevent odour and the risk of fire from the activity. The measures included in the odour management plan and fire prevention and mitigation plan have been assessed and are considered as suitable to control the risk of odour and the risk of fire from the activity. |  |  |
| The permit conditions |  |  |  |
| Waste types | We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility. We are satisfied that the operator can accept these wastes for the following reasons: - the proposed waste types are suitable for the nature of the permitted activity - the operator has suitable operating techniques in place - appropriate measures are in place to minimise odour and prevent the risk of fire from the permitted activity We have excluded the following wastes for the following reasons: - consisting solely or mainly of dusts, powders or loose fibres to ensure risk from the activity is maintained and that measures used on site are suitable for the permitted activity. We made these decisions with respect to waste types in accordance with waste facility technical guidance note ‘How to comply with your environmental permit’ and after full assessment of the operating techniques used on site to control the risks from the activity. |  |  |
| Incorporating the application | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. |  |  |
| Operator Competence |  |  |  |
| Environment management system | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |
| Technical competence | Technical competency is required for activities permitted. The operator is a member of an agreed scheme. The operator satisfies the criteria in RGN 5 on Operator Competence. |  |  |
| Relevant convictions | Our Enforcement Database has been checked to ensure that all relevant convictions have been declared. No relevant convictions were found. The operator satisfies the criteria in RGN 5 on Operator Competence. |  |  |
| ### Financial provision | There is no known reason to consider that the operator will not be financially able to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |

# Annex 2: Consultation and web publicising responses

Summary of responses to consultation and web and the way in which we have taken these into account in the determination process.  (Newspaper advertising is only carried out for certain application types, in line with our guidance.)

Response received from

South Wales Fire and Rescue Service – dated 16 August 2018

Brief summary of issues raised

The applicant has stated that they will rely on the fire and rescue service for water supplies in the event of a fire. We are of the opinion that if the stacks are maintained within the stated maximum sizes and there is adequate, effective fire separation between them we are satisfied that a fire occurring in any one of those stacks will be contained to a manageable size and can be dealt with by SWF&RS without placing unreasonable demand on resources or unacceptable risk to personnel. All other aspects of site management would need to be satisfactory. In this instance only, we are of the opinion that if the provisos above are met no additional water supplies will be required. The above advice and information relates only to this site and specifically to this query. It may be amended or updated at any time in the future and is given without prejudice to any future action South Wales Fire and Rescue Service may take.

Summary of actions taken or show how this has been covered

The fire prevention and mitigation plan has been assessed in accordance with “Fire Prevention and Mitigation Plan Guidance – Waste Management”. The measures included in the plan meet the standards as set out in the guidance. This management plan has been incorporated into the permit under Table S1.2. The operator must carry out the activities in accordance with this plan.