Permit Number: 
EPR/LP3439HM 



Operator: 

Castle Waste Services Limited

Facility:

Roath Dock Transfer Station

Form Number: 
Sewer1 / 28/01/16
Reporting of emissions to sewer for the period from 01/10/2015 to 31/12/2015
	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	S1
	Effluent Flow m3/day


	No limit set 
	24-hour flow proportional sample


	133
	BS EN 135006
	18/12/2015
	N/A

	S1
	Zinc, as Zn mg/l
	No limit set
	daily average from composite sample taken over 24 hours
	1.84
	BS 6068-2.29:1987,

ISO 8288-1986
	25/11/2015
	+/- 0.503%

	S1
	Copper, as Cu mg/l
	No limit set
	daily average from composite sample taken over 24 hours
	1.25
	BS 6068-2.29:1987

ISO 8288-1986
	12/12/2015
	+/- 4.05%

	S1
	Lead, as Pb mg/l
	No limit set
	daily average from composite sample taken over 24 hours
	1.70
	BS 6068-2.29:1987

ISO 8288-1986
	21/11/2015
	+/- 9.72%

	S1
	Chromium, as Cr mg/l
	No limit set
	daily average from composite sample taken over 24 hours
	1.73
	BS EN 1233:1997,

BS 6068-2.38:1997
	2/12/2015
	+/- 9.26%

	S1
	Nickel, as Ni mg/l
	No limit set
	daily average from composite sample taken over 24 hours
	0.54
	BS 6068-2.29:1987

ISO 8288-1986
	9/10/2015
	+/- 4.15%


The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Environment Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …P A Jones …………………………
Date……28 January 2016………..


(Authorised to sign as representative of Operator)

Permit Number: 
EPR/LP3439HM 



Operator: 

Castle Waste Services Limited

Facility:
Roath Dock Transfer Station


Form Number: 
WaterUsage1 / 27/01/16
Reporting of Water Usage for the year 2015
	Water Source
	Usage

(m3/year)
	Specific Usage 

(m3/unit output)
	

	
	
	
	

	
	
	
	

	Mains water


	203m3 *
	Output has been as part of site clearance works so cannot be tied to water usage.
	

	Site borehole


	Non
	
	

	River abstraction


	Non
	
	

	
	
	
	

	
	
	
	

	TOTAL WATER USAGE


	Approximately 203m3/year
	
	


	Operator’s comments :




Signed …P A Jones…………………..….

Date…28 January 2016……………..


(authorised to sign as representative of Operator)

Permit Number: 
EPR/LP3439HM 



Operator: 

Castle Waste Services Limited

Facility:

Roath Dock Transfer Station

Form Number: 
Energy1 / 28/01/16
Reporting of Energy Usage for the year 2015
	Energy Source
	Energy Usage

Quantity
	Primary Energy

(MWh)
	Specific Usage

(MWh/unit output)

	Electricity


	221.36 MWh
	
	
	

	Natural Gas


	Zero MWh
	N/A
	N/A
	

	Gas Oil


	13 tonne
	151.19
	
	

	Recovered Fuel Oil


	Zero tonnes
	N/A

	N/A
	

	
	
	
	
	

	TOTAL


	372.55MWh

	
	
	

	
	
	
	
	


* Conversion factor for delivered electricity to primary energy = 2.4

	Operator’s comments :  There is no gas supply to the site.  No recovered fuel oil has been used at the site.  One double skinned Red Diesel tank is at the site (capacity 2000l), and has only been filled twice.    
The IEA/OECD define one toe to be equal to 11.63 MWh.



Signed ……P A Jones…………………….

Date…28 January 2016………..


(Authorised to sign as representative of Operator)

Permit Number: 
EPR/LP3439HM 



Operator: 

Castle Waste Services Limited

Facility:

Roath Dock Transfer Station

Form Number: 
Performance1 / 28/01/16
Reporting of other performance indicators for the period 01/01/2015 to 31/12/2015
	Parameter
	Units

	Water Usage
	203 Tonnes

	Energy Usage
	372.55 MWh

	Total Raw Materials Used
	 3400 Tonnes

	Waste disposal and/or recovery
	6912.55                  Tonnes



Signed ……P A Jones…………………….

Date…28 January 2016………..


(Authorised to sign as representative of Operator)

Operator’s comments:








