Duly Made checklist – new bespoke waste permits

##### Application details

| PAN reference | PAN-015549 |
| --- | --- |
| EPR reference | n/a |
| Applicant name | Celtic Technologies Limited 02695341 |
| Facility name | Celtic Englobe Wastewater Treatment Plant Glan Llyn St Modwen Development Site, Queen’s Way, Llanwern, Newport, NP19 4TZ Grid Ref: 336352,186394 |
| Area | South East |
| Operations Team | South East |
| Site officer/team leader | se.waste.queries@cyfoethnaturiolcymru.gov.uk |

##### Relevant dates

| The duly made date is either (i) the date the application was originally received at Natural Resources Wales in the event of no additional information being requested during the duly make process. OR (ii) the date at which the final piece of additional information requested during the duly make process is received. Date application arrived in NRW | 02/10/2021 |
| --- | --- |
| Date application acknowledged | 05/10/2021 |
| Date not duly made (information request sent) | 15/12/2021 |
| Date of any additional not duly made requests | 20/01/2022 |
| Date duly made | 24/01/2022 |
| Date returned to applicant or deemed withdrawn | n/a |
| Date applicant sent duly made confirmation | 25/01/2022 |
| Date sent to external consultees (if applicable) | Requested 25/01/2022 |
| Date application publicised on Website | Requested 25/01/2022 |
| Date advert placed in newspaper (if applicable) | n/a |

Documents and information checklist:

| ###### Document/ information | ###### Yes | ###### No | ###### N/A | ###### Comments |
| --- | --- | --- | --- | --- |
| Environment Management System summary | X |  |  | R1815-21-5129-EMS |
| Non-technical summary | X |  |  | R1815_21_5129 - Non-technical summary v2 |
| Site plan | X |  |  | D1815-5129-A1 to D1815-5129-A8 |
| Site specific risk assessment | X |  |  | R1815-21-5129-ERA |
| Site condition report | X |  |  | R1815_21_5129 - SCR |
| Odour management plan |  |  | X |  |
| Waste recovery plan |  |  | X |  |
| Fire prevention mitigation plan |  |  | X |  |
| Noise impact assessment and management plan |  |  | X | Qualitative noise screening tool not completed as noise risk is very low |
| Other management plans |  |  | X |  |
| Technical competence information | X |  |  | Wamitab Gavin exp 04.09.2022 WAMITAB NVQ4 Operator Competence (4TMH) 04.02.10 Wamitab |
| Financial information |  |  | X |  |
| Relevant conviction information |  |  | X |  |
| OPRA spreadsheet (electronic format) | X |  |  | opra-waste-2020 |
| Fee | X |  |  | Transaction: 2095164 date: 09/11/2021 ref: BS/091121/03 CELTIC TECHNOLOGYS amount: 14,875.00 Additional fee: Transaction: 2096386 date: 21/12/2021 ref: BS/211221/13 CELTIC TECHNOLOGIES amount: £175 |
| Industrial Emissions Directive (IED) Activity Is the activity/ies that the applicant has applied for subject to the Industrial Emissions Directive? These activities include: - Pre-treatment of waste for incineration and co-incineration - Storage of hazardous waste - Biological treatment of waste (i.e. composting and anaerobic digestion) - Treatment of slags and ashes - Treatment of metal in shredders | See notes in the comments section at the end of this deployment |  |  |  |
| If it is an IED activity, has the applicant provided information to demonstrate how they will comply with the relevant limits and therefore be able to remain as a waste facility? |  |  |  |  |

Application form Part A – applicant/ operator details

| ###### Qu # | ###### Action | ###### Yes | ###### No | ###### N/A |
| --- | --- | --- | --- | --- |
| 1-5 | Applicant details complete? | X |  |  |
| 6 | Address details complete? | X |  |  |
| 6a | Registered companies only. Is it registered and active on Companies House? | X |  |  |
| 6a | Relevant persons data (screenshots) saved to DMS? | X |  |  |
| 7 | Contact details complete? | X |  |  |
|  | Is the applicant a legal person as per definition of ‘operator’? | X |  |  |
|  | Part A complete? | X |  |  |

Application form Part F1 - Initial checks, including payment, confidentiality, national security and declaration

| Qu # | Action | Yes | No | N/A |
| --- | --- | --- | --- | --- |
|  | Has the correct application form been used? | X |  |  |
| 1 | Table 1 Complete? | X |  |  |
| 1 | Has the correct application type/ fee been identified? Resolved 21/12/21 |  | X |  |
| 2 | Has the OPRA profile been provided? | X |  |  |
| 2 | Has the OPRA profile been provided on Excel? | X |  |  |
| 3 | Is the payment type shown? | X |  |  |
| 3 | Have the payment details been completed? | X |  |  |
| 3 | Is the payment on MyNRW? | X |  |  |
| 5 | Does the application contain notification of national security issues? If yes: follow Environmental permitting: dealing with claims for national security |  | X |  |
| 5 | Has the applicant asked for any information to be kept confidential? If yes: follow Environmental permitting: dealing with commercial and industrial confidentiality |  | X |  |
| 6 | Box been ticked to show correct fee is included? | X |  |  |
|  | Is the application checklist complete? Also on separate document- R1815/21/5129/AC | X |  |  |
| 7 | Declaration |  |  |  |
| 7a | If not a relevant person; is box ticked to confirm authorisation is given? |  |  | X |
| 7b | If the application a standard facility; is box ticked to confirm SRP criteria is met? |  |  | X |
| 7c | If application includes ecological survey information; is box ticked to confirm it can be used as set out in guidance |  |  | X |
| 7d | Is the declaration complete? | X |  |  |
|  | Has the correct person completed the declaration? Check against relevant people for a company or LLP. | X |  |  |
|  | Part F1 complete? - Fee- Resolved 21/12/21 |  | X |  |

Application form Part B2 – all new bespoke

| Qu # | Action | Yes | No | N/A | Document Ref. if given |
| --- | --- | --- | --- | --- | --- |
| 1a | Any pre-application discussions document or case reference provided? |  | X |  |  |
|  | Pre-application record found in DMS? | X |  |  | PPN-00582 |
| 1b | Option ‘site’ selected? | X |  |  |  |
| 2a | Site name, address and grid reference complete? | X |  |  |  |
| 2b | Is the number of regulated facilities given? | X |  |  | One |
| 2c | If one facility only Has the waste operation or mining waste operation type chosen? | X |  |  |  |
| 2c2 2c3 | Has the relevant question been answered? | X |  |  |  |
| 2d | If more than one facility Has the waste operation or mining waste operation type chosen for each facility? |  |  | X |  |
| 2d2 2d3 | Has the relevant question been answered for each facility? |  |  | X |  |
| 2f | Treating batteries? If yes, is a document provided? |  | X |  |  |
| 3a | Relevant offences Relevant offences question complete? | X |  |  |  |
| 3a | Relevant convictions declared? |  | X |  |  |
| 3b1 | Technical ability Has a Scheme option been selected? | X |  |  | Wamitab Gavin exp 04.09.2022 WAMITAB NVQ4 Operator Competence (4TMH) 04.02.10 Wamitab |
| 3b2 | If yes; have they ticked to say they have included all certificates? | X |  |  |  |
| 3b2 | If no; have they ticked to say they have included registration evidence? |  |  | X |  |
| 3c | Financial information Financial info complete? | X |  |  |  |
| 3c | Financial provision information needed? |  | X |  |  |
| 3d1 | Management system Does the management system meet the guidance? | X |  |  |  |
| 3d2 | Have they selected a type of management system? | X |  |  | Own |
| 3d3 | Have they provided the summary of the management system? | X |  |  | R1815-21-5129-EMS Doesn’t meet guidance Resolved 20/12/2021 |
| 4a | Section complete? If yes, is a sewerage undertaker named? | X |  |  | Answered “no” |
| 4b | Section complete? If yes, is a harbour authority named? | X |  |  | Answered “no” |
| 4c | Section complete? If yes, is a fisheries committee named? | X |  |  | Answered “no” |
| 4e | Is the medium combustion plant or specified generator located within an Air Quality Management Area (AQMA)? |  | X |  |  |
| 5a | Site plan provided? | X |  |  | D1815/5129/A1 – Site Location Plan |
| 5b | Site condition report provided? | X |  |  | R1815_21_5129/ SCR query on activities Resolved 20/12/2021 |
| 5c | Non-technical summary provided? | X |  |  | R1815_21_5129/NTS query on haz waste and pre-treatment lagoon Resolved 20/12/2021 |
| 6 | Risk assessment provided? | X |  |  | R1815/21/5129/ERA |
|  | Is all information required in Part B2 and each associated document complete and acceptable? - EMS - SCR - NTS |  | X |  | Resolved 20/12/2021 |

Application form Part B4 – new bespoke waste operation

| Qu # | Action | Yes | No | N/A | Document Ref. if given |
| --- | --- | --- | --- | --- | --- |
| 1a | One table for each waste operation? All sections completed and document provided if needed? | X |  |  | R1815/21/5129/NTS & R1815/21/OT |
| 1b | Waste types listed? | X |  |  | R1815/21/5129/EWC |
| 1c1 | Deposit for recovery Is the application for a deposit for recovery activity? |  | X |  |  |
| 1c2 | Have we confirmed it is recovery? |  |  | X |  |
| 1c3 | Has there been any changes since we agreed it was recovery? |  |  | X |  |
| 1c4 | Has a reference for the waste recovery plan been provided? |  |  | X |  |
| 2 | Emissions to air, water and land Table 2 completed for each activity listed in Table 1a? | X |  |  | R1815/21/5129/OT |
|  | - Point source emission to air |  |  | X | Site is not within an area designated within the Clean Air Plan for Wales |
|  | - Point source emission to water (other than sewers) |  |  | X |  |
|  | - Point source emission to sewers, effluent treatment plants or other transfer off site | X |  |  | R1815/21/5129/OT D1815/5129/A2 |
|  | - Point source emission to land |  |  | X |  |
| 3a | Technical standards info complete for each activity listed in Table 1a? | X |  |  |  |
|  | Has a document been provided if needed? | X |  |  | R1815/21/5129/OT How to comply with your environmental permit Recovery and disposal of hazardous and non-hazardous waste |
| 3b | General requirements info complete for each activity listed? (see below) |  |  |  |  |
|  | - ‘Fugitive emissions’ management plan required? |  |  | X |  |
|  | - Odour management plan required? |  |  | X |  |
|  | - Noise impact assessment and noise & vibration management plan required? |  |  | X |  |
|  | - Fire prevention and mitigation plan required? |  |  | X |  |
| 3c | Specific Sectors If the application is for: - clinical waste; - haz and non-haz recovery and disposal; - CLO to land; or - Inert landfill Has the relevant appendix been completed? | X |  |  | Appendix 2 completed- query on what parts of the OT document answers the questions. Resolved 20/12/2021 |
| 4a | Measures for monitoring document provided? | X |  |  | R1815/21/5129/OT |
| 4b | Point source emissions to air only. Assessment provided? |  |  | X |  |
|  | Is all information required in Part B4 complete and each associated document acceptable? |  | X |  | Appendix 2 |

Appendix 2 Hazardous waste for recovery and disposal

| Qu # | Action | Yes | No | N/A | Document Ref. if given |
| --- | --- | --- | --- | --- | --- |
| 1 | Pre-acceptance information complete? |  |  |  | R1815/21/5129/OT |
| 2 | Waste acceptance information complete? |  |  |  | R1815/21/5129/OT |
| 3 | Waste storage, handling etc. information complete? |  |  |  | R1815/21/5129/OT |
| 4 | Waste facility and infrastructure layout plan provided? |  |  |  | R1815/21/5129/OT |
| 5 | Treatment activities document provided? |  |  |  | D1815/21/5129/A2 & A6 |
| 6 | Layout plan for treatment plant location provided? |  |  |  | D1815/21/5129/A1-A6 |
|  | Is all information required in Appendix 2 complete and each associated document acceptable? |  | X |  | Not clear hat sections of the OT document answers which questions Resolved 20/12/2021 |

Decision and actions required

| Qu # | Action | Yes | No | N/A | Date | Notes |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Are all relevant documents present and do they appear to cover the right information? |  | X |  | 14/12/21 | No: Not duly made |
| 2 | Is the fee correct? |  | X |  | 14/12/21 | No: Not duly made |
| 3 | Not duly made letter/email sent for additional information/fee? | X |  |  | 15/12/21 20/01/22 |  |
| 4 | Has the requested information been received by the deadline date? | X |  |  | 24/01/22 | No: If required Send a further not duly made letter/email. |
| 5 | Application returned? |  |  | X |  | If relevant refund fee |
| 6 | Application withdrawn? |  |  | X |  | If relevant refund fee |
| 7 | Application duly made? | X |  |  | 25/01/22 |  |
| 8 | Duly made confirmation sent? | X |  |  | 25/01/22 |  |
| 9 | Publicise on web? | X |  |  | Requested 25/01/22 |  |
| 10 | Advertise in newspaper? |  |  | X |  | Not HPI |
| 11 | DM checklist saved to the DMS | X |  |  | 25/01/22 |  |
| 12 | Landfill Disposal Tax team informed |  |  | X |  | Not landfill |

Decision and actions required

‘Duly Made’ officers notes: Use this box to record conversations with the applicant/ operator, detailed reasons why the application can/cannot be duly made and any subsequent correspondence or actions.

Louise Bailey 14/12/21 and 15/12/2021 - EMS doesn’t meet the guidance - SCR only refers to non-hazardous activities despite hazardous waste codes being included - a. query re agreement with Tata Steel b. query re pre-treatment lagoon - information on hazardous waste treatment and storage capacities missing - one of the appendices in the operating techniques is missing - part B4- appendix 2. all doc references are to a whole document, not specific sections - OPRA is incorrect, additional fee is required. OPRA review Complexity Attribute has not changed. Agree with A17 Emissions Attribute (Waste Input) is incorrect. An amount has to be entered for the hazardous waste amounts. This is not likely to change the banding for this section but does need to be amended. Location Attributes Proximity to Human Occupation has not changed. Agree with 250m to 1km Assessment under wildlife, countryside or habitats legislation has not changed. Agree with CRoW. Groundwater/Aquifers has changed from “no” to “yes- outside GPZ” as the site is on both a superficial and bedrock aquifer but not in a source protection zone. Sensitivity of surface water has not changed. Agree with “none” as a score is not required as per the guidance: “You do not receive a score if your site meets the following criteria; Is over 10m from any receiving waters; and Is an entirely enclosed system or has all surface or foul water discharging to public sewer for sewage treatment.” Direct run-offs has not changed. Agree with “no. Air Quality Management Zone has not changed. Agree with “no”. Flood Plain has from “no” to “yes” as the site is at risk from flooding from the sea, Surface Water & Small Watercourses

Louise Bailey 14/01/2022 NDM response received 20/12/2021 consisting of: - updated part B2, B4 and F1 application forms (section1) - updated plans D1815-5129-A1 to D1815-5129-A8 (section 3) - updated operating techniques and appendices A-E (section 4) - updated site condition report (section 6) - drainage licence redacted - updated OPRA profile NDM questions and answers: - updated EMS- see the revised R1815-21-5129-OT document. the updated operating techniques appears to include all the required parts of the EMS- acceptable for duly making - SCR didn’t include hazardous wastes- see revised SCR. hazardous wastes now referenced permitted activities section- acceptable for duly making - Non-technical summary - queried permission to discharge via the Tata Steel permit- see Drainage Licence Redacted- acceptable for duly making. - queries why the pre-treatment lagoon is not included in application. Applicants response- “The pre-treatment lagoon forms part of the site’s surface water network and is the point from which the influent pump conveys water to the treatment system. This is part of the client’s site area and is not under Celtic’s control; furthermore, our only interaction is to pump from it and observe water quality. As such we’ve updated the permit operating area to include the winch and pump area which is under Celtic’s control. A full set of updated drawings is attached.” - acceptable for duly making. - Hazardous treatment capacity and hazardous waste storage information- treatment capacity for both hazardous and non- hazardous waste is 1082 tonnes per day, and the storage capacity for both hazardous and non- hazardous waste is 25 tonnes at any one time. See notes below. - Operating techniques Appendix D- Site Waste Management Plan was missing- now included. Acceptable for duly making. - Part B4 Appendix 2 referred to the operating techniques as whole. Specific sections now added. Acceptable for duly making. - OPRA needed to include hazardous waste amount- 3950 tonnes has been included which is 1% of the total. Applicants response- For the OPRA profile we’ve assumed that 1% of input water may be classed as hazardous. Based on analysis of the influent water to date, we expect this to be a conservative overestimate. Additional fee also required. has stated it was paid in the response, but unable to locate it on MyNRW. have asked for confirmation of the date paid and the reference used. IED assessment: Activity is to treat contaminated ground and surface water by means of physico-chemical treatment for the purposes of recovery. This activity has been completed for 12 months under a remediation deployment PAN-011383. The treatment capacity for the plant used is 1082 tonnes per day. This amount applies to both hazardous and non-hazardous wastes. The storage capacity is 25 tonnes per day. This amount applies to both hazardous and non-hazardous wastes. The applicant has stated that for the OPRA profile 1% of input water may be classed as hazardous, this is based on analysis of the influent water to date, we expect this to be a conservative overestimate. The applicable IED limits are as follows: Disposal or recovery of hazardous waste SECTION 5.3 Part A(1)(a)(ii) Disposal or recovery of hazardous waste with a capacity exceeding 10 tonnes per day involving physico-chemical treatment. Temporary or underground storage of hazardous waste SECTION 5.6 Part A(1) (a) Temporary storage of hazardous waste with a total capacity exceeding 50 tonnes (at any one time).. Note 5.3.4 of RGN 2- Appendix 1 and 2 clarifies what physico-chemical treatment means in terms of IED limits: Note 5.3.4: "Physico-chemical treatment" means the physical treatment or chemical treatment or a combination of physical and chemical treatment of waste. Some activities do not meet the description and it is not appropriate to regard them as a listed activity, for example: - The simple handling of waste in a way which does not change the composition of the waste, such as compaction or other re-packing of dry waste (such as cardboard) to reduce air content would not normally be considered to be physico-chemical treatment. However, where compaction does result in a change in the composition of the waste, the activity should be regarded as physico-chemical treatment.. As this activity is designed to alter the composition of the waste by removing contaminants, the section 5.3 activity applies here. Calculations: Treatment capacity: - Non-hazardous treatment 1071.18 tonnes per day - Hazardous treatment 10.82 tonnes per day = Total 1082 tonnes per day. Storage: - Non-hazardous storage 24.75 tonnes at any one time - Hazardous storage 0.25 tonnes at any one time = Total 25 tonnes at any one time Using current figures SECTION 5.3 applies as the hazardous treatment capacity is above 10 tonnes per day. SECTION 5.6 doesn’t apply as this is under the 50 tonnes per day limit. A further not duly made email was sent 20/01/2022 to ask the following questions: - confirm the verifiable amount of hazardous waste that is treated in one day, as the 1% figure currently used is a “conservative overestimate”. OR - Limit the treatment capacity to 1000 tonnes per day (if still using the estimate of 1%), and provide information on how this limitation can be implemented and maintained. Otherwise, the application will have to be considered a waste installation and will be move to the installation team for determination.

25/01/2022 Response received 24/01/22. confirmed they will remain a waste facility by limiting the treatment volume to 936m3 a day. Processing capacity spreadsheet “Discharge Volumes & Analysis” was provided to show the capacity for October, November and December 2021. Application can be duly made as of 24/01/2022. Advert sent to Permitting Service inbox 25/01/22 Consultation sent to Permitting Service inbox 25/01/22