Permit Number: 	EPR-AB3591ZQ						Operator: 		Maelor Foods Limited

Facility:		Maelor Poultry Processing	Plant			Form Number: 	Water1 / 01/03/19

# Reporting of emissions to water (other than to sewer) for the period from                         to

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | Flow/volume | 1,500 m3 per day | Daily |  | MCERTS |  |  |
| W1 | Flow/volume | 1,200 m3 per day | Per annum (mean daily volume) |  | MCERTS |  |  |
| W1 | Temperature | 30OC | Continuous |  | Standard Temperature sensor |  |  |
| W1 | Total suspended solids | 30 mg/l | 24-hour flow proportional sample |  | BS EN 872 |  |  |
| W1 | Ammonia | 5 mg/l | 24-hour flow proportional sample |  | BS EN 11732:2005 |  |  |
| W1 | Phosphate | 2.5 mg/l | 24-hour flow proportional sample |  | BS EN ISO 15681-1:2004 |  |  |
| W1 | pH | 6-9 | Continuous |  | MCERTS |  |  |
| W1 | BOD | 20 mg/l | 24-hour flow proportional sample |  | BS EN 1899-1 (1998) |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

# Reporting of emissions to water (other than to sewer) for the period from                         to

| Limit | 1200 | 1500 |  | 30 |  | 30 |  | 5 |  | 2.5 |  | 6 - 9 |  |  | 20 |  | None visible |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Week commencing | Flow / volume |  |  | Temperature |  | Suspended solids |  | Ammonia |  | Phosphate |  | pH |  |  | BOD |  | Visible oil or grease |  |
|  | (m3 / day) |  |  | (deg C) |  | (mg/l) |  | (mg/l) |  | (mg/l) |  |  |  |  | (mg/l) |  | (Y/N) |  |
|  | Max |  |  | Max |  |  |  |  |  |  |  | Max |  | Min |  |  |  |  |
| Average |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)