[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




	
	Consent no
	NRWWIA298

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig

Linea


Fotran Road

St Mellons


CARDIFF

CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water


	FROM: LISVANE RESERVOIR, BLACKROCK ROAD CARDIFF, CF23 6QW

	

	AT: NATIONAL GRID REFERENCE ST 19187 82197

	

	TO: Nant Glandulas

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA298-01

	

	This consent is issued on the 16th day of February 2022.
This consent takes effect on the 16th day of February 2022.
This consent shall cease to have effect on the 21st day of April 2022.
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Lisvane Reservoir.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR ST 19187 82197, marked ‘Discharge point to watercourse’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME
5. The total volume of the Discharge shall not exceed 157,792 cubic metres.

6. The total daily volume of the Discharge shall not exceed 22,545 cubic metres.

7. The rate of the Discharge shall not exceed 260.9 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 16th February 2022 and 21st April 2022.
ANNEX 1- PLAN No. NRWWIA298
[image: image1.png]Qutfol Discharge point
to watercourse

Lisvane
Reservoir





© Crown Copyright and database right 2022. Ordnance Survey licence number 100019741.

