| Ms Julie Young Jays Metals Wern Glyd Cilhedyn Llanfyrnach Pembrokeshire SA35 0AG | Ein cyf/Our ref: FP3097EZ/Site drainage Eich cyf/Your ref: Dyddiad/Date 11 December 2015 |
| --- | --- |

Dear Ms Young,

Environmental Permitting Regulations 2010

Thank you for the letter regarding site drainage from Joe Gately dated 1 December 2015.

To clarify, you have a standard rules permit, SR2012No14. The rules set for standard rules SR2012No14 includes the following:

The only point source discharges to controlled water or groundwater are surface water from the roofs of buildings and from area of the facility not used for the storage or treatment of waste.

Your site drains areas where waste is stored and this effluent is discharged to land via the oil interceptor.  This is not allowed under the standard rules permit.

We are unable to change the standard rules and they must remain the same for all operators.

We recognised that we issued the Standard Rules, but this was on the understanding that the site had sealed drainage and that there would be no point source discharge.  This was confirmed during a meeting attended by yourself, Tomos Young and Joe Gately on the 27 August 2013.

To comply with the standard rules permit, you will be unable to continue discharging effluent from the site.  If you wish to continue discharging effluent you will need to vary your permit to allow the discharge under a bespoke permit.

Our interpretation of condition 2.3.1 is not wrong and is based on the interpretation of the Standards Rules set.

The EMS is a live document and should be updated as and when issues arise or procedures change.  You EMS will also need updating when you have decided what changes you will carry out on site in order to comply with your permit.

Please inform me by 12 January 2016 of your proposals to rectify this situation.

Yours sincerely,

Cathy Lloyd

Environment Officer

Direct dial 03000653555