## Slide 1
Mekatek Ltd – Amex Park -West side of site
ADMIN STORAGE
DUST ROOM
SHRED & WASH
BALER ROOM
MAINTENANCE
Seg room 2
SEG ROOM1
PBM Building
Main OFFICE
ONWARD PROCESSING STORAGE
STORAGE
W/S
STORES
WORKER SERVICES
PAD
PAD
MBG SUB 1
MBG SUB 2
Cow & Gate SUB
Llanstephan road SUB
MBG SUB 3 & Old Pump Station
WEIGHBRIDGE
OIL BAY
STORAGE
TRANSFER STATION
Seg room3
Buildings
Boiler House
UF Filter Room
Switch Room
Skip
Sub Station
Silo, Tank
1
2
3
Building Access/Exits
Fire Extinguishers
Off site Emergency Information pack
Emergency Assembly Point
Weighbridge
Spillage Kits

## Slide 2
OIL BAY DETAIL
D
ACCESS RAMP
OT 2
OT 1
ST 1
ST 2
DC 1
DC 2
UF 1
UF 2
OT 3
OT 4
OT 8
BOILER HOUSE
OT 5
OT 7
CT
Switch Room
LAB

## Slide 3
OIL TREATMENT TANK KEY
TANK ID | TANK DETAIL
OT 1 | 60,000 gallon vertical cylindrical tank. Mild steel construction nominal 6mm wall thickness. Fixed position.
OT 2 | 60,000 gallon vertical cylindrical tank. Mild steel construction nominal 6mm wall thickness. Fixed position.
OT 3 | 3,300 gallon horizontal tank. Stainless steel construction nominal 4mm wall thickness.
OT 4 | 6,000 gallon vertical cylindrical tank. Mild steel construction nominal 6mm wall thickness. Insulated with glass fibre insulation.
OT 5 | 13,000 gallon horizontal cylindrical tank. Helically wound construction nominal 12mm wall thickness.
OT 6 | 6,000 gallon vertical cylindrical tank. Mild steel construction nominal 6mm wall thickness. Insulated with glass fibre insulation.
OT 7 | 1,000 gallon vertical cylindrical tank Stainless steel construction nominal 5mm wall thickness Insulated with EPS
OT 8 | 8,000 gallon horizontal cylindrical tank Mild steel construction nominal wall thickness 8mm
ST 1 | 33,000 litres above ground separator tank.
ST 2 | 33,000 litres above ground separator tank.
DC 1 | Modified skip discharge container.
DC 2 | Modified skip discharge container.

## Slide 4
LORRY PARKING
Mekatek Ltd – Amex Park - East side of site Effluent Plant
1
2
3
4
Buildings
Small Pump House
Screw Press Building
Small substation – Plant Control Room
Lab
5 Boiler House
Silo, Calorifier or Effluent Tank.
Bunkers
Building Access/Exits
Fire Extinguishers
Quarantine Areas
Emergency Assembly Point
Spillage Kit
5

## Slide 5
EFLUENT TREATMENT TANK & VESSEL KEY
TANK ID | TANK DETAIL
 | 60,000 gallon concrete tanks. Storage and treatment
 | 60,000 gallon conical clarifier tanks. Treatment
 | 45,000 gallon conical clarifier tanks. Treatment
 | 500,000 gallon bunded glass fused storage tank. Storage only – bunded and lidded.
 | 150,000 gallon sequential batch reactors. Glass fused. Treatment