Permit Number: 	EPR/BU8002IT			Operator: 		Dunbia (UK)

Facility:		Cross Hands Meat Processing Plant         Form Number: 	Water1 / 21/02/2022

# Reporting of emissions to water for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W5 | pH | Minimum 6, Maximum 9 |  |  | BS ISO 10523 |  |  |
|  | Biochemical oxygen demand (BOD) | 10 mg/l O2 |  |  | BS EN 1899-2 |  |  |
|  | Visible Oil | No visible oil sheen |  |  | Visual inspection |  |  |
|  | Ammonia | 0.25 mg/l |  |  | BS 6068.2 (or equivalent) |  |  |
|  | Conductivity | 1000 µS/cm |  |  | BS 6068:Section 2.35:1993 |  |  |
|  | Total suspended solids | 80 mg/l |  |  | BS 2690:1981 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/BU8002IT			Operator: 		Dunbia (UK)

Facility:		Cross Hands Meat Processing Plant         Form Number: 	Sewer1 / 21/02/2022

# Reporting of emissions to sewer for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | pH | Minimum 6, Maximum 10 |  |  | In-situ analyser or as agreed in response to improvement condition 5 |  |  |
|  | Temperature | 43 °C (maximum) |  |  | In-situ analyser or as agreed in response to improvement condition 5 |  |  |
|  | Flow rate | 7 l/s |  |  | In-situ analyser or as agreed in response to improvement condition 5 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/BU8002IT			Operator: 		Dunbia (UK)

Facility:		Cross Hands Meat Processing Plant	Form Number: 	WaterUsage1 / 21/02/2022

# Reporting of Water Usage for the year YYYY

| Water Source | Usage (m3/year) | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	EPR/BU8002IT			Operator: 		Dunbia (UK)

Facility:		Cross Hands Meat Processing Plant	Form Number: 	Energy 1 / 21/02/2022

# Reporting of Energy Usage for the year YYYY

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas oil | Litres |  |  |  |
| TOTAL |  |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/BU8002IT			Operator: 		Dunbia (UK)

Facility:		Cross Hands Meat Processing Plant	Form Number: 	Performance 1 / 21/02/2022

# Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY

| Parameter |  | Result |  |
| --- | --- | --- | --- |
| Raw packaged meat produced (tonnes) |  |  |  |
| Cooked meats produced (tonnes) |  |  |  |
| Value added meat produced (tonnes) |  |  |  |
| Waste disposal and/or recovery (tonnes) |  |  |  |

Operator’s comments:

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)