| Permit Number: | NRWWIA151 |
| --- | --- |
| Applicant name: | Dŵr Cymru Cyfyngedig |
| Site Address: | Plas Uchaf Reservoir, Near Llannefydd, LL16 5DY |
| Discharge Point NGR: | SH 96772 71540 |
| Respond by date: | 01/03/2019 (10 working days) |
| Permitting Officer: | Jason Copsey |

Brief Description of proposal:

Dŵr Cymru Cyfyngedig are proposing to discharge raw water from the low-level outlet at Plas Uchaf Reservoir into a tributary of the Afon Elwy. This is required to lower the water level to safe levels in both the Dolwen and Plas Uchaf Reservoirs to allow the replacement of the spillway at Plas Uchaf Reservoir.

They are proposing to discharge at a maximum rate of 340 l/s giving a maximum total daily volume of 29,376m3. This will be used to supplement the drawdown which it is hoped is largely achieved using normal draw off from the WTW, for the first 2m of the reservoirs depth below top water level. Once the reservoir is lowered to the required level there will be a need for periodic valving to maintain the levels within the reservoir.

They have provided mitigating measures in their application which can be found on the DMS here.

Habitats Screening Report – Designations or protected species/habitats:

The following designated sites were identified within a screening distance:

SAC

• Elwy Valley Woods

SPA

• Liverpool Bay

SSSI

• Coedydd ac Ogofau Elwy a Meirchion

• Traeth Pensarn

Local Wildlife Site

• Coed Plas Uchaf

The habitats screening report can be found on the DMS here.

HRA and Appendix 4 assessments are not required due to the location and nature of the discharge.

Risk Assessment Results (modelling or L1 Risk Assessment):

N/A

Miscellaneous:

N/A

NRM Responses:

Environment Management comments:

No Objection from EM perspective

Officers name: Sarah Aubrey
Date: 18/02/19

Biodiversity comments:

N/A

Officers name:
Date:

Fisheries comments:

No comments to make

Officers name:Richard Pierce
Date: 18/02/2019

Conservation/Ecology Comments:

Officers name:
Date:

Internal Consultation Responses from other NRW Teams:

Water Quality Planning:

N/A

Officers name:

Date:

Geoscience Response:

N/A

Officers name:
Date:

Flood Risk Management:

We need some assurances that by releasing up to 340 litres/second will not overload the receiving watercourse and cause or contribute to flooding downstream. The river Elwy catchment has been subject to recent flood events and it is noted that they propose to release ‘…following heavy rainfall…’ although they suggest later on ‘…Flows will be reduced or stopped if there is significant rainfall to as not to supplement additional flows if the Elwy is in spate until after the peak flood flows have passed..”.

We would therefore suggest that we quote this sentence back to DCWW or if possible include it as a condition along with preparation of a flood action plan and registering to receive any flood alerts issued for the Elwy and Gele Catchment. To register for the duration of the works contact our Flood Incident management team on 0300 0654431.

Officers name: Iwan Huws
Date: 20/02/2019

| External Consultations sent to: | Yes/No |
| --- | --- |
| National Parks | N |
| Water Company regarding Drinking Water Protected Zone / SPZ1 | N |
| Environmental Heath | N |

Any Permitting Responses:

DCWW stated in their application that to mitigate from the risk of flooding, “flows will be reduced or stopped if there is significant rainfall to as not to supplement additional flows if the Elwy is in spate until after the peak flood flows have passed”. If we grant a consent to discharge there will be a condition that states that “The discharge shall not cause or significantly contribute to flooding in the downstream catchment.”

Date: 18/03/2019