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Permit with introductory note
Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2010

WRG Environmental Limited
Astbury (Rossett) Landfill

Dark Lane

Burton

Wrexham

Clwyd

LL12 0AE

Permit number

EPR/FP3894FP

Astbury (Rossett Landfill)

Permit number EPR/FP3894P
Introductory note

This introductory note does not form a part of the notice.

The main features of the permit are as follows.  

This permit is for a landfill which is going through the closure process (the site is not ‘definitively’ closed but ceased to accept waste in 2005 and is now fully capped).  
Under the Waste Disposal Licence the site accepted inert, non-hazardous and hazardous (special) wastes.  The site is made up of the Dark Lane Area and a pulp and paper cell.  These areas do not have engineered containment and therefore operate on a dilute and disperse principal.  The Astbury part of the site does contain an engineered liner which Natural Resources Wales is satisfied is Landfill Directive Compliant.  

Leachate generated within the site is currently pumped out and stored on site before being removed to an appropriate treatment facility.  Landfill gas produced at the site is currently flared in the site stationary Landfill Gas Flare. 
The permit creates a modern fit for purpose permit by consolidating all previous variations and varying all conditions to those of a modern EPR format by combining operational conditions with those conditions for as closed landfill.
The schedules specify the changes made to the permit.
The status log of the permit sets out the permitting history, including any changes to the permit reference number.
	Status Log of the permit

	Description 
	Date
	Comment

	Waste Disposal Licence L/84 issued
	17/08/94
	-

	Waste Management Licence L/84 modified
	15/09/95
	-

	Waste Management Licence L/84 modified
	18/10/95
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	30/09/96
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	19/12//97
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	25/03/99
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	31/03/99
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	13/09/00
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	06/04/01
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	23/07/01
	-

	Waste Management Licence L/84  (EAWML 37116) modified
	07/12/01
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	10/07/02
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	11/02/03
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	18/09/03
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	02/10/07
	-

	Waste Management Licence L/84 (EAWML 37116) modified
	30/03/09
	-

	Agency Variation EPR/FP3894FP/V016 
	04/08/09
	New EPR permit number issued

	Variation EPR/FP3894FP/V016 determined
	03/03/14
	Consolidated permit EPR/FP3894FP issued


End of introductory note

	Permit


The Environmental Permitting (England and Wales) Regulations 2010
Permit number 

EPR/FP3894FP
This is the consolidated permit referred to in the variation and consolidation notice for application EPR/FP3894FP/V016 authorising, 
WRG Environmental Limited (“the operator”),

whose registered office is

Ground Floor West

900 Pavillion Drive

Northampton Business Park

Northampton

NN4 7RG

company registration number 2206141
 to operate an installation at

Astbury (Rossett) Landfill

Dark Lane

Burton

Rossett

Wrexham

Clwyd


LL12 0AE

to the extent authorised by and subject to the conditions of this permit.

	Name
	Date
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Natural
Resources
Wales




	03/03/2014


Authorised on behalf of Natural Resources Wales

Conditions 
1
Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances , closure and those drawn to the attention of the operator as a result of complaints; and
(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.
1.1.4
The operator shall comply with the requirements of an approved competence scheme.

1.2
Finance

1.2.1
The financial provision for meeting the obligations under this permit shall be as set out in the Deed of Performance dated 17 October 2007 between the Waste Recycling Group Limited and Natural Resources Wales as varied by a Deed of Variation dated 15 October 2010 (as varied by further Deeds of Variation from time to time). The operator shall accordingly ensure that the Permit is and remains throughout its subsistence listed under Schedule 3 of that Deed as being a Permit to which the Deed relates.
2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green on the site plan at schedule 7 to this permit.

2.3
Operating techniques

2.3.1
(a) 
The activities shall, subject to the conditions of this permit, be operated using the 


techniques and in the manner described in the documentation specified in 
schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.


(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan , and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
2.4
Improvement programme

2.4.1 
The operator shall complete the improvements specified in schedule 1 table S1.3 by the date specified in that table unless otherwise agreed in writing by Natural Resources Wales.

2.4.2
Except in the case of an improvement which consists only of a submission to Natural Resources Wales, the operator shall notify Natural Resources Wales within 14 days of completion of each improvement.
2.5
Pre-operational conditions

2.5.1
The activities shall not be brought into operation until [the measures specified in schedule 1 table S1.4 have been completed.
2.6 Landfill Engineering
2.6.1
No construction of landfill infrastructure shall commence until the operator has submitted relevant construction proposals or a written request to use previous construction proposals and Natural resources Wales has confirmed that it is satisfied with the construction proposals. 

2.6.2
The construction of the landfill infrastructure shall take place only in accordance with the approved construction proposals unless:

(a)
any change to the approved construction proposals would have no impact on the performance of any element of the design; or 

(b)
a change has otherwise been agreed in writing by Natural Resources Wales.

2.6.3
The operator shall submit a CQA Validation Report as soon as practicable following the construction of the relevant landfill infrastructure. 

2.6.4
Where pollution controls are immediately necessary to prevent an incident or accident, then conditions 2.5.1 and 2.5.2 do not apply and the relevant landfill infrastructure may be constructed, provided that the construction proposals are submitted to Natural Resources Wales as soon as practicable.

2.6.5
For the purposes of conditions 2.5.1, Natural Resources Wales shall be deemed to be satisfied where it has not, within the period of four weeks from the date of receipt of the relevant construction proposals or CQA Validation Report, either:

(a)
confirmed whether or not it is satisfied; or

(b)
informed the operator that it requires further information.

2.6.6
Where Natural Resources Wales has required further information under condition 2.5.5(b), Natural Resources Wales shall be deemed to be satisfied where it has not, within the period of four weeks from the date of receipt of the further information, either:

(a) confirmed whether or not it is satisfied; or

(b) informed the operator that it requires further information.
2.7 Waste acceptance

2.7.1
No waste shall be accepted for disposal within the facility.

2.7.2
Wastes shall only be accepted for recovery if: 

(a) they are listed in schedule 2, 
(b) they are not liquid waste (including waste waters but excluding sludge).

2.7.3
The operator shall visually inspect:
(a)
without unloading it, waste that is not in an enclosed container or enclosed vehicle on arrival at the landfill; and 
(b)
waste at the point of deposit; 
and shall satisfy itself that it conforms to the basic characterisation documentation submitted by the holder. 

2.7.4
The operator on accepting each delivery of waste shall provide a receipt to the person delivering it.
2.7.5
The total quantity of waste that shall be deposited in the landfill shall be limited by the pre-settlement levels shown on drawing 461P018.
2.7.6
The quantity of waste that is deposited for recovery  in any year shall not exceed the limits in schedule 1 table S1.5.
2.8.7
The operator shall maintain and implement a system which ensures that a record is made of the quantity, characteristics, date of delivery and, where practicable, origin of any waste that is received for recovery and of the identity of the producer. Any information regarded by the operator as commercially confidential shall be clearly identified in the record.

2.8 Leachate levels
2.8.1
The limits for the level of leachate listed in schedule 3 table S3.1 shall not be exceeded. 

2.9
Closure and aftercare
2.9.1
The operator shall maintain a closure and aftercare management plan.

2.10
Landfill gas management

2.10.1
For the following activities referenced in schedule 1, table S1.1 (A2) The operator shall take appropriate measures, including, but not limited to, those specified in any approved landfill gas management plan, to:

(a) collect landfill gas; and

(b) control the migration of landfill gas.

2.10.2 For the following activities referenced in schedule 1, table S1.1 (A2) The operator shall use the collected landfill gas to produce energy. If the collected landfill gas cannot be used to produce energy, the operator shall flare the gas. 

2.10.3 The operator shall:

(a) if notified by Natural Resources Wales, submit to Natural Resources Wales for approval within the period specified, a revised landfill gas management plan;

(b) implement the revised landfill gas management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3
Emissions and monitoring
3.1
Emissions to water, air or land

3.1.1
There shall be no point source emissions to water, air or land except from the sources and emission points listed in schedule 3 tables S3.2 and S3.3.

3.1.2
For the following activities referenced in schedule 1, table S1.1 (A2.) The limits given in table S3.2 shall not be exceeded, save that compliance with an emission limit in that table shall include incorporation of the uncertainty allowance stated in Environment Agency guidance LFTGN 05 and LFTGN 08.

3.1.3
For the following activities referenced in schedule 1, table S1.1 (A2.) There shall be no emission from the activities into groundwater of any hazardous substances contrary to the EP Regulations.

3.1.4
For the following activities referenced in schedule 1, table S1.1 (A2.) There shall be no emission from the activities into groundwater of any non-hazardous pollutants so as to cause pollution.
3.1.5
The trigger levels for emissions into groundwater for the parameters and monitoring points set out in schedule 3 table S3.4 shall not be exceeded.

3.1.6
The operator shall submit to Natural Resources Wales a review of the Hydrogeological Risk Assessment:

(a)
between nine and six months prior to the sixth anniversary of the granting of the permit, and 

(b)
between nine and six months prior to every subsequent six years after the sixth anniversary of the granting of the permit.

3.1.7
The limits for landfill gas arising from the installation set out in schedule 3, tables S3.5 and S3.6 shall not be exceeded.
3.2
Odour

3.2.1
Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour. 
3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to odour, submit to Natural Resources Wales for approval within the period specified, an odour management plan;

(b)
implement the approved odour management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
3.3
Noise and vibration
3.3.1
Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.
3.3.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to noise and vibration, submit to Natural Resources Wales for approval within the period specified, a noise and vibration management plan;

(b)
implement the approved noise and vibration management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
3.4 Emissions of substances not controlled by emission limits
3.4.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.4.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.4.3
All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

3.5
Monitoring 

3.5.1
The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:

(a)
Leachate specified in tables S3.1 and S3.8;

(b)
Point source emissions specified in tables S3.2 and S3.3;

(c)
Groundwater specified in tables S3.4 and S3.10;
(d)
Landfill gas specified in tables S3.5, S3.6 and S3.7; and

(e)
Surface water specified in table S3.9. 
3.5.2
A topographical survey of the site referenced to ordnance datum shall be carried out:

(a)
annually, and

(a) following closure of the landfill or part of the landfill.

The topographical survey shall be used to produce a plan of a scale adequate to show the surveyed features of the site.

3.5.3
The operator shall maintain records of all monitoring required by this permit including records of the taking and analysis of samples, instrument measurements (periodic and continual), calibrations, examinations, tests and surveys and any assessment or evaluation made on the basis of such data.
3.5.4
Monitoring equipment, techniques, personnel and organisations employed for the emissions monitoring programme and the environmental or other monitoring specified in condition 3.3.1 shall have either MCERTS certification or MCERTS accreditation (as appropriate), where available, unless otherwise agreed in writing by Natural Resources Wales.

3.5.4
Permanent means of access shall be provided to enable sampling/monitoring to be carried out in relation to the emission points specified in schedule 3 tables S3.1, S3.2, S3.3, S3.4, S3.5, S3.6, S3.7, S3.8 and S3.9] unless otherwise agreed in writing by Natural Resources Wales.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and
(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

(i) off-site environmental effects; and
(ii) matters which affect the condition of the land and groundwater.

(iii) the results of  groundwater monitoring; 

(iv) sub-surface landfill gas monitoring; 

(v) leachate levels, quality and quantities;

(vi) landfill gas generation and collection;

(vii) waste types and quantities;

(viii) the location of hazardous waste deposits; and 

(ix) the specification and as built drawings of the basal, sidewall and capping engineering systems.

4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.
4.2.2
A report or reports on the performance of the activities over the previous year shall be submitted to Natural Resources Wales by 31 January (or other date agreed in writing by Natural Resources Wales) each year.  The report(s) shall include as a minimum:

(a)
a review of the results of the monitoring and assessment carried out in accordance with this permit against the relevant assumptions, parameters and results in the risk assessments submitted in relation to this installation and any agreed amendments thereto; 

(b)
 the annual production/treatment set out in schedule 4 table S4.2;

(c)
the topographical surveys required by condition 3.5.3 other than those submitted as part of a CQA validation report;

(d)
an assessment of the settlement behaviour of the landfill body based on the difference between the most recent topographical survey and previous annual topographical survey for the areas of the landfill which did not receive waste between the surveys.
4.2.3
Within 28 days of the end of the reporting period the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

(a)
in respect of the parameters and emission points specified in schedule 4 table S4.1;

(b)
for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.4; and

(c)
giving the information from such results and assessments as may be required by the forms specified in those tables.

4.2.4
The operator shall, unless notice under this condition has been served within the preceding four years, submit to Natural Resources Wales, within six months of receipt of a written notice, a report assessing whether there are other appropriate measures that could be taken to prevent, or where that is not practicable, to minimise pollution.

4.3
Notifications
4.3.1
(a)
In the event that the operation of the activities gives rise to an incident or accident which significantly affects or may significantly affect the environment, the operator must immediately—

(i)
inform Natural Resources Wales, 

(ii)
take the measures necessary to limit the environmental consequences of such an incident or accident, and

(iii)
take the measures necessary to prevent further possible incidents or accidents;
(b)
in the event of a breach of any permit condition the operator must immediately—

(i)
inform Natural Resources Wales, and

(ii)
take the measures necessary to ensure that compliance is restored within the shortest possible time;

(c)
in the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment, the operator must immediately suspend the operation of the activities or the relevant part of it until compliance with the permit conditions has been restored.
4.3.2
Any information provided under condition 4.3.1 [(a)(i), or 4.3.1 (b)(i) where the information relates to the breach of a limit specified in the permit,] shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that  schedule.

4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and
(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.
4.3.5
In any other case: 

(a) the death of any of the named operators (where the operator consists of more than one named individual);

(b)         any change in the operator’s name(s) or address(es); and

(c) any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

4.3.6
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a) Natural Resources Wales shall be notified at least 14 days before making the change; and

(b) the notification shall contain a description of the proposed change in operation.

 4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.
4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 

	Table S1.1 activities
	

	Activity reference
	Description of activities for waste operations 
	Limits of  activities

	A1
	D1: Deposit into or onto land (Landfill constructed prior to landfill Directive requirements)
	Management and monitoring of emissions from the closed landfill

	A2
	D5: Specially engineered landfill

	Management and monitoring of emissions from the closed landfill

	A3
	R10: Land treatment resulting in benefit to agriculture or ecological improvement
	Recovery of waste specified within Table 2.1 for restoration above the landfill cap

	A4
	R1:  Use principally as a fuel or other means to generate energy
	Extraction of landfill gas prior to combustion in GUP or flare.

Flaring of landfill gas arising from the landfill for disposal.

Utilisation of landfill gas from the closed landfill, for energy recovery in an appliance with a rated thermal input less than 3 MW

	A5
	D6: Release into a water body except seas/oceans 
	Storage and treatment of landfill leachate  arising from the landfill


	Table S1.2 Operating techniques

	Description
	Parts

	Shanks Waste Services Limited –Working Plan for Astbury Landfill
	Section 1.3 – Hours of Operation,

Section 1.4 – Staffing and Understanding of Requirements of Licence Conditions and Working Plan,

Section 2.1 – Engineered Site Containment and Drainage System (excluding waste containment),

Section 2.3 Leachate Management Systems

Section 2.4 Landfill Gas Management Systems

Section 2.5 Engineered Surface Water Management Systems,

Section 2.6 Installation, Maintenance and Protection of Final Capping

Section 3.1 Site Security 

Section 4.1 Control of Mud and Debris

Section 4.3 Potentially Polluting Leaks and Spillages of Waste   

Section 4.4 Fires on Site

Section 5 Pollution Control, Monitoring and Reporting – all parts 

Section 6 Amenity Management and Monitoring – all parts 

Section 7.1 Security and Availability of Records

Section 7.2 Recording Special Waste Deposits


	Table S1.3 Improvement programme requirements

	Reference
	Requirement
	Date

	IC1
	The Operator shall submit to Natural Resources Wales for written approval, written proposals for the design, construction and installation of additional landfill gas monitoring boreholes to be installed around the eastern and southern perimeter of the waste mass.  The proposals shall include a timescale for the installation of the monitoring boreholes and be in accordance with the Environment Agency document “Guidance on the Management of Landfill Gas” (LFTGN03), dated September 2004.  Once approved, the boreholes shall be installed and commissioned within the agreed time period.  The  monitoring of the additional boreholes shall commence immediately upon completion of the construction in accordance with Table S3.5.
	6 months from permit issue

	IC2
	The Operator shall submit to Natural Resources Wales for written approval a Landfill Gas Audit Report which includes a review of all landfill gas monitoring that has been undertaken at the site since December 2003, including the boreholes required to be installed under Improvement Condition 1 and the recently installed Gas Wells in the Dark Lane Area.  The report shall include, but not be limited to, the following:

· Cell specific changes to internal gas production at the site,

· Investigation into Landfill Gas migration at perimeter boreholes,

· Proposed action and compliance limits for CO2 and Methane in perimeter boreholes, based upon the findings of the Landfill Gas Audit ,

· Audit of the current landfill gas infrastructure,

· Proposals for any additional gas monitoring boreholes that are required as a result of the landfill gas audit, and

· Proposals for any additional landfill gas infrastructure that is required as a result of the landfill gas audit.

The report shall be undertaken in accordance with the Environment Agency’s document “Guidance on the Management of Landfill Gas” (LFTGN03), dated September 2004.
	14 months from the date of installation of the boreholes required under IC1

	IC3
	The Operator shall submit to Natural Resources Wales for written approval, a Landfill Gas Management and Contingency Action Plan which includes but is not limited to the following:

· Procedures for the management, control and monitoring of landfill gas
· Procedures for the inspection and maintenance of landfill gas management and monitoring infrastructure.  
The Landfill Gas Management and Contingency Action plan shall be in accordance with the Environment Agency’s document “Guidance on the Management of Landfill Gas” (LFTGN03), dated September 2004.  
The plan shall be implemented by the Operator from the date of approval in writing by Natural Resources Wales.

	3 months from completion of IC2 

	IC4
	The Operator shall submit to Natural Resources Wales for written approval, a review of the December 2003 Hydrogeological Risk Assessment that includes a summary of all groundwater and leachate monitoring that has been undertaken at the site since the December 2003 HRA.  The report shall include but not be limited to the following:

· Changes in leachate levels within the site,

· Changes in leachate quality within the site, 

· A review of source parameters being tested for in the leachate with proposals for any changes needed to current leachate analysis suites,

· A review of level and quality data obtained since 2003, including control charts for level and quality,

· A review of the status of all leachate infrastructure within the site, including proposals for any additional leachate infrastructure works that need to be undertaken as a result of the review of the HRA,

· Changes to groundwater levels surrounding the site,

· Changes to the groundwater quality surrounding the site,

· A review of current groundwater parameters with proposals for any changes needed to current groundwater analysis suites,

· Proposed groundwater control and compliance limits, 

· A review of all groundwater infrastructure within the site, including proposals for any additional groundwater infrastructure works, including additional boreholes, to be undertaken as a result of the HRA review, and

· a review of the proposed up-gradient and down-gradient monitoring locations and confirmation as to which boreholes at the site represent background groundwater quality.

The review shall be in accordance with the following Environment Agency Guidance:

· Hydrogeological Risk Assessment for Landfills’ (LFTGN01 ,2003);

· ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ (LFTGN02).


	6 months from permit issue  

	IC5
	The Operator shall submit to Natural Resources Wales for written approval, a Leachate Management and Contingency Action Plan which includes but is not limited to the following:

· procedures for the management, control and monitoring of leachate,

· Proposals including timescales to reduce leachate heads if they are found to exceed permitted levels, and

· procedures for the inspection and maintenance of leachate management infrastructure.  
The Leachate Management and Contingency Action Plan shall be in accordance with the following Environment Agency Guidance:

· Hydrogeological Risk Assessment for Landfills’ (LFTGN01, 2003);

· ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ (LFTGN02).

The plan shall implemented by the Operator from the date of approval in writing by Natural Resources Wales.


	8 months from permit issue

	IC6
	The Operator shall submit to Natural Resources Wales for written approval, a Groundwater Management and Contingency Action Plan which includes but is not limited to the following:

· Procedures for the management, control and monitoring of groundwater, and 
· Procedures for the ongoing inspection and maintenance of groundwater monitoring infrastructure.  
The Groundwater Management and Contingency Action Plan shall be in accordance with the following Environment Agency guidance: 
· Hydrogeological Risk Assessment for Landfills’ (LFTGN01, 2003);

·  ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ (LFTGN02).

The plan shall implemented by the Operator from the date of approval in writing by Natural Resources Wales.
	12 months from permit issue 

	IC7
	The Operator shall submit to Natural Resources Wales for written approval a review of the surface water monitoring regime at the site.  The review shall include but not be limited to the following:

· A review of the suitability of surface water monitoring locations,

· A review of compliance limits and assessment levels, and

· An investigation to determine if the activities at the site have impacted upon the quality of adjacent surface water systems.

The review shall be undertaken in accordance with the following Environment Agency Guidance:

· ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ (LFTGN02).


	6 months from permit issue 

	IC8
	The Operator shall submit to Natural Resources Wales for written approval, a Surface Water Management and Contingency Action Plan which includes but is not limited to the following:

· Procedures for the management, control and monitoring of surface water,

· Procedures for the inspection and maintenance of surface water management infrastructure,

The Surface Water Management and Contingency Action Plan shall be in accordance with the following Environment Agency Guidance:

· ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ (LFTGN02).

The plan shall implemented by the Operator from the date of approval in writing by Natural Resources Wales.
	9 months from permit issue  

	IC9
	The Operator shall submit to Natural Resources Wales for written approval, a revised Stability Risk Assessment which includes but is not limited to the following:

· Supplementary details quantifying the stability of the capping system that uses paper pulp as part of the restoration soil profile,

· A topographic survey of the site that shows the extent of the various capping systems.

In the event that capping gradients are steeper than those envisaged when the original Stability Risk Assessment was compiled then a revised assessment shall be prepared.  The revised Stability Risk Assessment shall provide a risk based stability monitoring scheme for the post closure period.  
The monitoring scheme shall be implemented by the Operator from the date of approval in writing by Natural Resources Wales.
	6 months from permit issue 


	Table S1.4 Pre-operational measures for Gas Utilisation Plant

	Reference
	Pre-operational Measures

	1
	The Operator shall investigate the feasibility of utilising landfill gas for small scale energy production. If found to be feasible the Operator shall submit to Natural Resources Wales for written approval as an addendum to the Landfill Gas Management Plan required through IC3, proposals for the installation of  a gas utilisation plant for (a) small scale energy production (b) thepotential for excess energy generated to be transported to the National Grid .  Proposals shall include but not be limited to:
· Type of gas engine to be installed and supporting infrastructure.

· Amount of electricity expected to be generated in Kw/h.

· The location of the gas engine included on a revised site plan.

· Monitoring parameters

·  Risk assessments supporting the proposals.
Propsals shall be prepared in accordance with the Environment Agency’s document “Guidance on the Management of Landfill Gas” (LFTGN03), dated September 2004.  


	Table S1.5 Annual waste input limits

	Category
	Limit Tonnes 

	Inert waste for restoration/engineering landfill infrastructure
	5000


Schedule 2 - Waste types, raw materials and fuels

	Table S2.1 Permitted waste types and quantities for providing restoration soils


	

	Maximum quantity
	No more than 5000 tonnes

	Waste code
	Description

	01
	Wastes Resulting from Exploration, Mining, Quarrying, and Physical and Chemical Treatment of Minerals

	01 04
	wastes from physical and chemical processing of non-metalliferous minerals

	01 04 08
	waste gravel and crushed rocks other than those mentioned in 01 04 07

	01 04 09
	waste sand and clays

	02
	Wastes from Agriculture, Horticulture, Aquaculture, Forestry, Hunting and Fishing, Food Preparation and Processing

	02 04
	wastes from sugar processing

	02 04 01
	soil from cleaning and washing beet

	03
	Wastes from Wood Processing and the Production of Panels and Furniture, Pulp, Paper and Cardboard

	03 03
	wastes from pulp, paper and cardboard production and processing

	03 03 05
	de-inking sludges from paper recycling

	03 03 09
	lime mud waste

	17
	Construction and Demolition Wastes (including excavated soil from contaminated sites)

	17 05
	soil (including excavated soil from contaminated sites), stones and dredging spoil

	17 05 04
	soil and stones other than those mentioned in 17 05 03

	17 05 06
	dredging spoil other than those mentioned in 17 05 05

	19
	Wastes from Waste Management Facilities, Off-site Waste Water Treatment Plants and the Preparation of Water Intended for Human Consumption and Water for Industrial Use

	19 05
	wastes from aerobic treatment of solid wastes

	19 05 03
	off-specification compost

	19 08
	wastes from waste water treatment plants not otherwise specified

	19 08 05
	sludges from treatment of urban waste water

	19 09
	wastes from the preparation of water intended for human consumption or water for industrial use

	19 09 02
	sludges from water clarification

	19 12
	waste from the mechanical treatment of waste (for example sorting, crushing, compacting, pelletising) not otherwise specified

	19 12 09
	minerals (for example sand, stones)

	19 13
	wastes from soil and groundwater remediation

	19 13 02
	solid wastes from soil remediation other than those mentioned in 19 13 01

	19 13 04
	sludges from soil remediation other than those mentioned in 19 13 03

	20
	Municipal Wastes (Household waste and similar commercial, industrial and institutional wastes) Including separately collected fractions

	20 02
	garden and park waste (including cemetery waste)

	20 02 02
	soil and stones


Schedule 3 – Emissions and monitoring

	Table S3.1  Leachate level limits and monitoring requirements

	Monitoring point reference/ Description
	Limit 
	Monitoring frequency
	Monitoring method

	Leachate extraction points LC1Br, LC1Cr, LC3Br, LC1A, LC2A, LC2Br, LC2C, LC3A, LC3Cr, LC4A, LC4B, LC4C, LC5Ar, LC5Br, LC5CR, LC5DR, PH5B, PH5C, PH5D
	To be determined as a result of the findings of Improvement Conditions 4 and 5. In any case until such time as the findings of Improvement conditions  4 and 5 are available at least 1 metres freeboard shall be maintained between the internal bund separating the non engineered parts of the Landfill. 
	Quarterly
	In accordance with Environment Agency document LFTGN 02 February 2003 ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’


	Table S3.2  Point source emissions to air – emission limits and monitoring requirements

	Emission point Ref. & Location
	Parameter  
	Source
	Limit (including unit) 
	Reference Period
	Monitoring Frequency
	Monitoring Standard or Method

	Gas Utilisation Plant 
	Oxides of Nitrogen
	Gas Utilisation Plant 
	500 mg/m3
	Hourly mean
	Annually
	In accordance with M2 version 10, October 2013 ‘Monitoring of stack emissions to air

	
	CO
	
	1400 mg/m3
	
	
	

	
	Total VOCs
	
	1000 mg/m3
	
	
	

	LFGF 1 in the Gas Flare Compound as shown on Plan Environmental Monitoring dated Nov 10.
	Oxides of Nitrogen
	Landfill Gas Flares
	150 mg/m3
	Hourly mean
	Annually
	In accordance with M2 version 10, October 2013 ‘Monitoring of stack emissions to air

	
	CO
	
	50 mg/m3
	
	
	

	
	Total VOCs
	
	10 mg/m3
	
	Weekly while flare operational
	

	
	Operational Temperature
	
	>1000 oC
	
	
	

	Footnote: Annual monitoring is only required when flares operate in excess of 10% of the time, taken on an annual assessment period.’


	Table S3.3  Point source emissions to water (other than sewer) – emission limits and monitoring requirements

	Emission point Ref. & Location
	Parameter  
	Source
	Limit (incl unit)
	Reference Period
	Monitoring Frequency
	Monitoring Standard or Method

	SW02 as shown on ‘Environmental Monitoring Plan’ dated Nov 2010,
	Suspended Solids
	Site drainage from the surface water management system
	60 mg/l
	Spot Sample
	Monthly
	In accordance with Environment Agency document LFTGN 02 April 2003 ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’


	
	BOD
	
	10 mg/l
	
	
	

	
	pH
	
	>6, <8.5
	
	
	

	
	Visible oil or grease
	
	
	
	
	

	SW04 as shown on ‘Environmental Monitoring Plan’ dated Nov 2010,
	Suspended Solids
	Site drainage from the surface water management system
	None set
	Spot Sample
	Monthly 
	

	
	BOD
	
	
	
	
	

	
	pH
	
	
	
	
	

	
	visible oil or grease
	
	
	
	
	

	SW02, SW04 as shown on ‘Environmental Monitoring Plan’ dated Nov 2010,
	Ammoniacal-nitrogen
	Site drainage from the surface water management system
	None set
	Spot Sample
	Quarterly 

	

	
	Chloride 
	
	
	
	
	

	
	Boron  
	
	
	
	
	

	
	Mecoprop (MCPP)
	
	
	
	
	

	
	Toluene
	
	
	
	
	

	
	Dieldrin
	
	
	
	
	

	
	Chloroform
	
	
	
	
	


	Table S3.4 Trigger levels for emissions into groundwater and monitoring requirements

	Monitoring point reference
	Parameter
	Limit (including unit)
	Reference Period
	Monitoring frequency
	Monitoring standard or method

	CABH03, CABH04R as shown on ‘Environmental Monitoring Plan’ dated Nov 2010, plus other locations as may be agreed under the requirements of Table S1.3, IC5.
	Ammoniacal nitrogen, chloride
	
	Spot Sample
	Quarterly
	In accordance with Environment Agency document LFTGN 02 April 2003 ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’.



	
	Boron
	
	
	Quarterly
	In accordance with H1 Technical Annex J: vs 1.1 February 2011 ‘Hydrogeological Risk Assessments For Landfills and the Derivation of Groundwater Control Levels and Compliance Limits’.

	
	 Mecoprop
	
	
	
	

	
	Toluene
	
	
	
	

	
	Dieldrin
	
	
	
	

	
	Chloroform
	
	
	
	


	Table S3.5  Landfill gas in external monitoring boreholes – limits and monitoring requirements

	Monitoring point Ref. /description
	Parameter
	Limit (including units) 
	Monitoring frequency
	Monitoring standard or method

	GB01, GB02, GB03, GB04, GB05, GB06, GB07R, GB08R, GB09, GB10, GB11, GB12, GB13, GB14, GB15, GB16, GB17, GB18, GB19, GB20, GB21, GB22, GB23. GB24, GB25, GB26, GB27, NBH01, NBH02, NBH03, CABH01, CABH02, CABH03, CABH04R, CABH05, CABH06, CABH07, CABH08, BHAW2, BH02A, BH02B, BH03, BH04A, BH04B, BH05A, BH05B, BH06A, BH06B, MBH02, MBH03, MBH04, MBH05, MBH06, as shown on ‘Environmental Monitoring Plan’ dated Nov 2010, plus other locations as may be agreed under the requirements of Table S1.2, Improvement Condition 1.
	Methane
	None  set
	Monthly
	In accordance with LFTGN 03 issued September 2004 ‘Guidance on the management of  landfill gas’.

	
	Carbon Dioxide
	
	
	

	
	Oxygen
	
	
	

	
	Atmospheric pressure
	
	
	

	
	Differential Pressure
	
	
	

	
	Temperature
	
	
	

	
	Meteorological data
	
	
	


	Table S3.6 Landfill gas from capped surfaces – limits and monitoring requirements

	Monitoring point Ref. /description
	Parameter
	Limit (including unit)
	Monitoring frequency
	Monitoring Standard or method

	Permanently capped zone
	Average methane flux and total methane emission
	Average zone emission rate of 0.001 mg/m2/second 
	Annually
	As per LFTGN 07 version 2, March 2011 ‘Guidance on monitoring landfill gas surface emissions’


	Table S3.7 Landfill gas – other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method
	Other specifications

	in waste monitoring boreholes 
	Methane

Carbon Dioxide

Oxygen

Carbon Monoxide

Atmospheric pressure

Differential pressure

Gas flow rate or suction

% Balance Gas (calculated as the difference between the sum of measured gases and 100%)

Valve setting
	At frequencies specified in Table 5.4 of LFTGN03 September 2004
	In accordance with the Environment Agency’s guidance on the Management of Landfill Gas (LFTGN03)
	Where the oxygen concentration exceeds 5% or the % balance gas is greater than 20% an assessment of air ingress into the system shall be undertaken.

Where the concentration of carbon monoxide exceeds 100 ppm then further investigation shall be undertaken.

	Input to LFG Utilisation Compound 
	Trace gas analysis 
	Annually

	Monitoring methods used shall be in accordance with Environment Agency document “Guidance for monitoring trace components in landfill gas” (LFTGN04).
	.


	Input to LFG Utilisation Compound
	Methane
Carbon Dioxide
Oxygen
Gas flow rate
% Balance Gas (calculated as the difference between the sum of measured gases and 100%)
	Monthly
	In accordance with the Environment Agency’s guidance on the Management of Landfill Gas (LFTGN03)
	Where the oxygen concentration exceeds 5% or the % balance gas is greater than 20% an assessment of air ingress into the system shall be undertaken.


	Input to the Gas Flare Compound.
	Trace gas analysis in accordance with LFTGN04 September 2004
	Annually
	Monitoring methods used shall be in accordance with Environment Agency document “Guidance for monitoring trace components in landfill gas” (LFTGN04).
	

	LFGF 1 in the Gas Flare Compound as shown on ‘Environmental Monitoring Plan’ dated Nov 2010
	Temperature
	As per LFTGN05, v. 2, issued March 2011
	As per M2 V7 August 2010
	-


	Table S3.8 Leachate– other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method
	Other specifications

	Leachate collection chamber in cells 1, 2, 3 ,4 & 5 of Astbury Landfill and Phase 5 of Dark Lane Landfill, as shown on ‘Environmental Monitoring Plan’ dated Nov 2010
	pH, electrical conductivity, temperature, sulphate, alkalinity, ammoniacal nitrogen, TON, TOC, BOD, COD, chloride, calcium, magnesium, potassium, sodium, mercury, iron, manganese, cadmium, chromium, copper, nickel, lead, zinc, mineral oil/hydrocarbons
	Annually
	As specified in Appendix 6 of Environment Agency Guidance TGN02 (February 2003) and Horizontal Guidance Note H1 – Environmental Risk Assessment for permits, Annex J, version 2, April 2010).
	

	Leachate collection chamber in cells 1, 2, 3 ,4 & 5 of Astbury Landfill and Phase 5 of Dark Lane Landfill as shown on ‘Environmental Monitoring Plan’ dated Nov 2010
	Hazardous substances
Monitoring point base
	Once every four years

	
	


	Table S3.9 Surface water – other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method
	Other specifications

	SW01, SW03, SW05 

SW06 
	Ammoniacal

nitrogen

Chloride

Suspended

Solids

Visual Oil and

Grease pH

electrical conductivity

	Monthly
	Spot Sample
	As specified in
Environment  Agency
Guidance TGN02
‘Monitoring of Landfill Leachate, Groundwater and Surface Water’ (February
2003) and Horizontal Guidance Note H1 – Environmental Risk Assessment for permits, Annex J, version 2.1, December 2011)

	
	
	
	
	

	SW02, SW04
	Ammoniacal

nitrogen

Chloride

Suspended

Solids

Visual Oil and

Grease pH

electrical conductivity

	Monthly
	
	


	Table S3.10 Groundwater – other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method

	Up gradient

Monitoring wells as shown on Plan Environmental Monitoring dated Nov 10.
	Water level (electrical conductivity,  ammoniacal nitrogen, chloride, pH
	Quarterly
	As specified in Appendix 6 of  Environment Agency Guidance  LFTGN 02 February 2003 ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ and Horizontal Guidance Note H1 – Environmental Risk Assessment for permits, Annex J, version 2, April 2010)

	
	Total alkalinity, potassium, total sulphates, calcium, sodium, chromium, copper, iron, lead, nickel, zinc, manganese
	Annually
	

	Down or cross gradient
as shown on Plan Environmental Monitoring dated Nov 10.
	Water level (electrical conductivity,  ammoniacal nitrogen, chloride, pH
	Quarterly
	As specified in Appendix 6 of  Environment Agency Guidance  LFTGN 02 February 2003 ‘Guidance on Monitoring of Landfill Leachate, Groundwater and Surface Water’ and Horizontal Guidance Note H1 – Environmental Risk Assessment for permits, Annex J, version 2, April 2010)

If the results of monitoring suggest an increase in contamination, the operator shall also undertake a full hazardous substances screen


	

	
	Total alkalinity, potassium, total sulphates, calcium, sodium, chromium, copper, iron, lead, nickel, zinc, manganese
	Annually
	
	

	
	Hazardous Substances detected in leachate
	Every two years
	
	

	
	Base of monitoring point (mAoD)
	Annually
	
	


Schedule 4 - Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameter
	Emission or monitoring point/reference
	Reporting period
	Period begins

	Leachate levels 

As specified by Schedule 3, Table S3.1
	LC1BR, LC1CR, LC3BR, LC1A, LC2A, LC2BR, LC2C, LC3A, LC3CR, LC4A, LC4B, LC4C, LC5AR, LC5BR, LC5CR,  LC5DR, PH5B, PH5C, PH5D
	Every 3 months
	31 March, 30 June, 30

September, 31 December



	Emissions to air

Parameters as specified by Schedule 3, Table S3.2
	LFGF 1
	Every 12 months
	31 December



	Emissions to water

Parameters as specified by Schedule 3, Table S3.3
	SW02 and SW03
	Every 3 months
	31 March, 30 June, 30

September, 31 December



	
	
	Every 3 months
	

	Groundwater

Parameters as specified by Schedule 3, Table S3.4
	CABH03, CABH04R and other locations as may be agreed under the requirements of Table S1.3 condition ref IC4.
	Every 12 months
	31 December

	Landfill gas surface emissions 

 as specified by Schedule 3, Table S3.5
	Permanently Capped Zone
	Every 3 months
	31 March, 30 June, 30

September, 31 December



	Landfill gas lateral migration

Parameters as specified by Schedule 3, Table S3.6 by condition 3.5.1
	GB01, GB02, GB03, GB04, GB05, GB06, GB07R, GB08R, GB09, GB10, GB11, GB12, GB13, GB14, GB15, GB16, GB17, GB18, GB19, GB20, GB21, GB22, GB23, GB24, GB25, GB26, GB27, NBH01, NBH02, NBH03, CABH01, CABH02, CABH03, CABH04R, CABH05, CABH06, CABH07, CABH08, BHAW2, BH02A, BH02B, BH03, BH04A, BH04B, BH05A, BH05B, BH06A, BH06B, MBH02, MBH03,MBH04, MBH05, MBH06 and other locations as may be agreed under the requirements of Table S1.3 condition ref IC1.
	Every 3 months
Every 12 months for annual parameters
	31 March, 30 June, 30

September, 31 December



	Other Landfill gas monitoring

Parameters as specified by Schedule 3, Table S3.7
	Gas collection system at well control valve , manifolds on gas system and input to LFG compound.
	Every 3 months


	31 March, 30 June, 30

September, 31 December

01/01

	Other leachate monitoring

Parameters as required by condition 3.5.1

Hazardous substance Screen
	1 leachate collection chamber in cells 1, 2, 3 ,4 & 5 of Astbury Landfill and Phase 5 of Dark Lane Landfill.
	Every 3 months
Every 12 months for annual parameters
	31 March, 30 June, 30

September, 31 December



	Other surface water monitoring

Parameters as required by condition 3.5.1
	LC1BR, LC1CR, LC3BR, LC1A, LC2A, LC2BR, LC2C, LC3A, LC3CR, LC4A, LC4B, LC4C, LC5AR, LC5BR, LC5CR,  LC5DR, PH5B, PH5C, PH5D
	Every 3 months
	31 March, 30 June, 30

September, 31 December




	Table S4.2 Annual production/treatment

	Parameter
	Units

	Leachate:

Disposed of off site;

Disposed of to any onsite effluent treatment plant;

Recirculated into the waste mass.
	Cubic metres/year

	Surface water and/ or groundwater:

Disposed of off site;

Disposed of to any onsite effluent treatment plant.
	Cubic metres/year

	Landfill gas:

combustion in flares;

combustion in gas engines;

Other methods of gas utilisation.
	Normalised cubic metres/year


	Table S4.3 Performance parameters

	Parameter
	Frequency of assessment
	Units

	Energy used (including for leachate treatment)
	Annually
	MWh of electricity


	Table S4.4 Reporting forms

	Media/parameter
	Reporting format
	Date of form

	Leachate
	Form Leachate 1 or other reporting format to be agreed in writing with Natural Resources Wales
	26/02/2014

	Air
	Form Air 1 or other reporting format to be agreed in writing with Natural Resources Wales
	26/02/2014

	Controlled water
	Form Water 1 or other reporting format to be agreed in writing with Natural Resources Wales
	26/02/2014

	Groundwater
	Form Groundwater 1 or other reporting format to be agreed in writing with Natural Resources Wales
	26/02/2014

	Landfill gas
	Form LFG 1 or other reporting format to be agreed in writing with Natural Resources Wales
	26/02/2014

	Waste Return
	Waste Return Form RATS2E
	26/02/2014

	Landfill topographical surveys and interpretation
	Reporting format to be agreed in writing with Natural Resources Wales
	26/02/2014


Schedule 5 - Notification

These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission.  Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A
	Permit Number
	

	Name of operator
	

	Location of Facility
	

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or fugitive emission which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.

 “application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

 “annually” means once every year.
“authorised officer” means any person authorised by Natural Resources Wales under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“Background concentration” means such concentration of that substance as is present in: 

· For emissions to surface water, the surface water quality up-gradient of the site; or 

· For emissions to sewer, the surface water quality up-gradient of the sewage treatment works discharge; or

· For emissions of landfill gas, the ground or air outside the site and not attributable to the site.
“Cell layout drawing” means:

(a) A drawing or drawings of the proposed new cell that illustrate(s) in sufficient detail:

i. the location of the new cell on the site;

ii. the proposed level (Above Ordnance Datum) of the base of the excavation;

iii. the proposed finished levels of all containment and leachate drainage layers;

iv. the positions of leachate management infrastructure; and

v. the positions of landfill gas infrastructure (if appropriate).

(b) A detailed written explanation of any minor design changes from the most recently approved cell that result from the new cell layout.  This would include, for example:

i. changes to slope length and gradient within the cell;

ii. new leachate or landfill gas infrastructure construction design;

iii. slope stability issues such as new basal excavation level; and/or

iv. depth of waste.

 “Construction Proposals” means written information, at a level of detail appropriate to the complexity and pollution risk, on the design, specifications of materials selected, stability assessment (where relevant) and the construction quality assurance (CQA) programme in relation to the Landfill Infrastructure.

“CQA Validation Report” means the final “as built” construction and engineering details of the Landfill Infrastructure.  It must provide a comprehensive record of the construction and must include, where relevant: 

· The results of all testing required by the CQA programme - this must include the records of any failed tests with a written explanation, details of the remedial action taken, referenced to the appropriate secondary testing; 

· Plans showing the location of all tests; 

· “As-built” plans and sections of the works; 

· Copies of the site engineer’s daily records; 

· Records of any problems or non-compliances and the solution applied; 

· Any other site specific information considered relevant to proving the integrity of the  Landfill Infrastructure; 

· Validation by a qualified person that all of the construction has been carried out in accordance with the Construction Proposals.

“emissions to land” includes emissions to groundwater.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2010 No.675 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission or background concentration limit..
“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

 “Landfill Infrastructure” means any specified element of the:

· permanent capping; 

· leachate abstraction systems; 

· leachate transfer, treatment and storage systems; 

· surface water drainage systems; 

· leachate monitoring wells; 

· groundwater monitoring boreholes; 

· landfill gas monitoring boreholes; 

· landfill gas management systems;

within the site.

“Liquids” means any liquid other than leachate within the engineered landfill containment system.

“LFTGN 05” means Environment Agency Guidance for monitoring enclosed landfill gas flares.

“LFTGN 07” means Environment Agency Guidance on monitoring landfill gas surface emissions.

“LFTGN 08” means Environment Agency Guidance for monitoring landfill gas engines.

“M2” means Environment Agency Guidance Monitoring of stack emissions to air.

“MCERTS” means the Environment Agency’s Monitoring Certification Scheme.
 “New Cell” means any new cell, part of a cell or other similar new area of the site where waste deposit is to commence after issue of this permit and can comprise:

· groundwater under-drainage system; 

· permanent geophysical leak location system; 

· leak detection layer; 

· sub-grade; 

· barriers; 

· liners; 

· leachate collection system; 

· leachate abstraction system; 

· separation bund/layer; 

· cell or area surface water drainage system;

· side wall subgrade and containment systems; 

for the New Cell.

“No impact” means that the change made to the construction process will not affect the agreed design criteria, specification or performance in a way that has a negative effect.

“Pests” means Birds, Vermin and Insects.
“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.
 “Review of the Hydrogeological Risk Assessment” means a written review of the hydrogeological risk assessment included in the Application, together with any other parts of the Application that addressed the requirements of the EP Regulations.  The review shall assess whether the activities of disposal or tipping for the purpose of disposal of waste authorised by the permit continue to meet the requirements of the EP Regulations.

“Waste code” means the six digit code referable to a type of waste in accordance with the List of Wastes (England)Regulations 2005,  or List of Wastes (Wales) Regulations 2005, as appropriate, and in relation to hazardous waste, includes the asterisk.

Where a minimum limit is set for any emission parameter, for example pH, reference to exceeding the limit shall mean that the parameter shall not be less than that limit. 

Unless otherwise stated, any references in this permit to concentrations of substances in emissions into air means the standards included in Environment Agency Guidance for Monitoring Enclosed Landfill Gas Flares LFTGN 05 or Guidance for Monitoring Landfill Gas Engine Emissions LFTGN 08.
 “year” means calendar year ending 31 December.
Schedule 7 - Site plan

[image: image1.jpg]



© Crown Copyright and database right 2013. Ordnance Survey licence number 100019741.

END OF PERMIT

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Limited

Facility:

Astbury Landfill

Form Number: 
 Air1
Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY 

	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	LFGF1
	Carbon  monoxide
	50 mg/m3
	Hourly Mean
	
	BS EN 15058
	
	

	LFGF1
	VOC as Total Organic Carbon (TOC)
	10 mg/m3
	Hourly Mean
	
	BS EN 12619
	
	

	LFGF1
	Oxides of nitrogen (NO and NO2 expressed as NO2)
	150 mg/m3
	Hourly Mean
	
	BS EN 14792
	
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  

Date………………………..   



(Authorised to sign as representative of Operator)

Permit Number: 
EPR/ FP3894FP


Operator: 

WRG Environmental Limited
Facility:

Astbury Landfill


Form Number: 
Water1 
Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	SW02
	Suspended Solids
	60mg/l
	Spot Sample
	
	
	
	

	SW02
	BOD
	30mg/l
	Spot Sample
	
	
	
	

	SW02
	pH
	>6 <8.5
	Spot Sample
	
	
	
	

	SW02
	Oil and Grease
	No visible trace
	Spot Sample
	
	
	
	

	SW04
	Suspended Solids
	None
	Spot Sample
	
	
	
	

	SW04
	BOD
	None
	Spot Sample
	
	
	
	

	SW04
	pH
	None
	Spot Sample
	
	
	
	

	SW04
	Oil and Grease
	None
	Spot Sample
	
	
	
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  

Date………………………..


(Authorised to sign as representative of Operator)

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Limited
Facility:

Astbury Landfill 

Form Number: 
WaterUsage1 
Reporting of Water Usage for the year 2013
	Water Source
	Usage

(m3/year
	Specific Usage 

(m3/unit output)
	

	
	
	
	

	
	
	
	

	Mains water
	
	
	

	Site borehole
	
	
	

	River abstraction
	
	
	

	
	
	
	

	
	
	
	

	TOTAL WATER USAGE
	
	
	


	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..   



(authorised to sign as representative of Operator)

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Limited
Facility:

Astbury Landfill

Form Number: 
Energy1 

Reporting of Energy Usage for the year 2014
	Energy Source
	Energy Usage
	Specific Usage

(MWh/unit output)
	

	
	Quantity
	Primary Energy

(MWh)
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Electricity *
	MWh
	
	
	

	Natural Gas
	MWh
	
	
	

	Gas Oil
	tonnes
	
	
	

	Recovered Fuel Oil
	tonnes
	
	
	

	
	
	
	
	

	TOTAL
	-
	
	
	

	
	
	
	
	


* Conversion factor for delivered electricity to primary energy = 2.4
	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..   



(Authorised to sign as representative of Operator)

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Ltd
Facility:

Astbury Landfill

Form Number: 
Performance1 
Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY
	Parameter
	
	Units 
	

	
	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


	Operator’s comments :




Signed …………………………………………………………….  

Date………………………..   



(Authorised to sign as representative of Operator)

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Limited
Facility:

Astbury Landfill

Form Number: 
Leachate 1 
Reporting of leachate monitoring for the period from DD/MM/YYYY to DD/MM/YYYY

	Monitoring

Point
	Substance /

Parameter
	Compliance limit
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	Leachate Collection chamber Cell 1
	Parameters as in Table S3.8
	
	
	
	
	
	

	Leachate Collection chamber Cell 2
	Parameters as in Table S3.8
	
	
	
	
	
	

	Leachate Collection chamber Cell 3
	Parameters as in Table S3.8
	
	
	
	
	
	

	Leachate Collection chamber Cell 4
	Parameters as in Table S3.8
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	Leachate Collection chamber Cell 5
	Parameters as in Table S3.8
	
	
	
	
	
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  

Date………………………..   



(Authorised to sign as representative of Operator)

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Limited
Facility:

Astbury Landfill

Form Number: 
Groundwater1 
Reporting of groundwater monitoring for the period from DD/MM/YYYY to DD/MM/YYYY

	Monitoring

Point
	Substance /

Parameter
	Trigger level
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	CABH03,
	Ammoniacal nitrogen,
	None
	Quarterly
	
	
	
	

	CABH03
	Chloride
	None
	Quarterly
	
	
	
	

	CABH03
	Boron
	None
	Quarterly
	
	
	
	

	
	
	
	
	
	
	
	

	CABH03
	Mecoprop
	None
	Quarterly
	
	
	
	

	CABH03
	Toluene
	None
	Quarterly
	
	
	
	

	CABH03
	Dieldrin
	None
	Quarterly
	
	
	
	

	CABH03
	Chloroform
	None
	Quarterly
	
	
	
	

	CABH04
	Ammoniacal nitrogen,
	None
	Quarterly
	
	
	
	

	CABH04
	Chloride
	None
	Quarterly
	
	
	
	

	CABH04
	Boron
	None
	Quarterly
	
	
	
	

	CABH04
	Mecoprop
	None
	Quarterly
	
	
	
	

	CABH04
	Toluene
	None
	Quarterly
	
	
	
	

	CABH04
	Dieldrin
	None
	Quarterly
	
	
	
	

	CABH04
	Chloroform
	None
	Quarterly
	
	
	
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  

Date………………………..   



(Authorised to sign as representative of Operator)

Permit Number: 
EPR/FP3894FP

Operator: 

WRG Environmental Limited
Facility:

Astbury Landfill

Form Number: 
LFG1 
Reporting of landfill gas monitoring for the period from DD/MM/YYYY to DD/MM/YYYY
	Monitoring

Point
	Substance /

Parameter
	Compliance limit
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	As shown on ‘Environmental Monitoring Plan’ dated Nov 2010, plus other locations as may be agreed under the requirements of Table S1.2, Improvement Condition 1.
	Parameters as defined in Tables S3.5, S3.6 and S3.7
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	


[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  

Date………………………..   



(Authorised to sign as representative of Operator)

� EMBED Imaging.Document ���
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