| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-016424 |
| Permit Reference Number: | EPR-GP3792SK |
| Permit Holder: | ByProduct Recovery Limited |
| Site Address: | Bailea, Brecon, Powys,LD3 8ST, Glynllech Uchaf, Nantyffin Road, Penycae, Swansea. SA9 1FJ |
| Grid Reference: | Farm location: 292360 224606 SN 92858 24169 provided 24/02-correct Fields: Bailea 1 12 SN 92900 24393 2 16 SN 93149 25482 3 18 SN 93535 25300 4 19 SN 93710 25259 5 20 SN 93691 25170 6 21 SN 93335 25198 Glynllech Uchaf 14 4040 SN 84414 14407 15 3724 SN 84373 14215 16 9927 SN 84993 12295 17 8638 SN 84898 12384 18 6133 SN 84616 12327 19 7829 SN 84779 12291 20 4848 SN 84486 12489 21 5441 SN 84542 12414 22 4363 SN 84418 12641 Storage: 1 292923 224041 2 292884 224016 3 292846 224256 4 293480 225337 5 284419 212466 |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: GwastraffaGorfodi.Canolbarth@cyfoethnaturiolcymru.gov.uk Environment team: environmentteam.southpowys@cyfoethnaturiolcymru.gov.uk NLO: Ewan.Marshall-Harries@environment-agency.gov.uk |
| Date due: | 06/01/2022 |
| Are fields on Anglesey? If yes, then send application. | No: N/A |
| Permit compliance rating and multiplier | Rating B- 100% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided? (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y | English- EA public register- GP3792SK/V003 |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and Charging Scheme page 52 |
| Fee on MyNRW | Y | Amount: £1018.00 Date cleared on MyNRW:03/12/2021 Transaction number:2095536 |
| Location map | Y |  |
| Benefit statement | Y |  |
| Waste Analysis | Y |  |
| Soil Analysis | Y |  |
| EIA Agri Regulations evidence | Y | Photographs |
| Site Specific Risk Assessment | Y | High risk location only |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| ## Has there been any pre-application discussions? | N |  |
| ## Has the permit number been provided? | Y | GP3792SK |
| ## Has the permit holder name been provided? | Y | ByProduct Recovery Ltd Limited |
| ## What permit is being deployed under? | SR2010 No4 |  |
| ## Has contact information been provided? | Y | Dr Chris Ash |
| ## Has the technically competent manager details been provided? | Y | Mr John Nichols |
| ## Has the nominated competent person details been provided? | Y | Mr Richard Evans |
| ## Has the address and grid reference of the main farm address been given? | Y | Bailea 292360 224606 |
| ## Does the farm address match the grid reference? | N Y | NGR given for Brychgoed SN 92858 24169 provided 24/02-correct |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? | Y MyMap MyMap | 52/035/0004 given on form 52/035/0004 only Bailea field on MyMap T.E Jones & Co 52/072/0087Glynllerch Uchaf 4040,3724,8638,6133,7829 WC Millward & Co Confirmed 24/02 |
| ## Has all of parcels of land table been completed? | Y | see LPD1 supplement |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y | 33ha |
| Is the land to be treated within a 10 miles radius of the main address? | Y | Of Bailea but wrong NGR given for farm SN 92858 24169 provided 24/02-correct |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | N |  |
| ## Have details of the land owner or occupier been provided? | Y | Bailea-Mr M Jones Glynllech Uchaf-W Millward-incomplete Further information provided 28/02 |
| ## Has consent been given to carry out the activity? | Y | No explicit consent given, just Yes answer to consent question Consents provided 24/02 but no authority for signatory for W Millward Further information provided 28/02 |
| Has all of the previous land treatment table been completed? | Y | PAN-010170 Expired 20/07/2021 |
| ## Which risk band does the activity fall within? | High | High risk location, class B waste |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) of High risk deployment has a SSRA been provided? | Y |  |
| ## What type of risk assessment has been submitted? | site‐specific risk assessment benefit statement |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | N | Photographs of individual fields submitted but without any further justification/evidence ; Further information provided 24/02 |
| If yes has the screening opinion provided by Welsh Government been provided? | n/a |  |
| If no have details of the assessment evidence to support this conclusion been provided? | Y | Photographs only Further information provided 24/02 |
| Has all of the waste types table been completed? | Y | All DCWW sources |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y | Google, previous applications |
| Has all of waste storage table been completed? | Y |  |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y | 8250t in total (highest amount) |
| Has checklist been completed? | Y |  |
| Has confidentially been claimed? | N |  |
| Has national security been claimed? | N |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | Y | Authorisation from Jon Smith provided |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | Y | Bailea Farm NGR relates to Brychgoed SN 92858 24169 provided 24/02-correct |
| If there is storage; do the grid references match the site plan? | Y |  |
| If land was previously deployed on, and waste is stored in temporary field heaps; are the storage locations in the same or different locations? | n/a | Above ground storage tanks |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | n/a |  |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a |  |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | n/a |  |
| location of all storage sites for the waste to be spread | Y |  |
| any spring(or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | n/a |  |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | Y | SPRING AT GLYNLLECH used for general farming & domestic 58m from 4848 at closest point |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | Y | River Usk SAC 107m from Bailea 16; River Usk tribs within 500m ; Nant Llech SSSI adjacent to GU 9927; |
| location of any public rights of way (shown on map) | Y | Omits 1 between Bailea 20 & 21; Amended maps provided 28/02 |
| any buildings or houses within 250m (shown on map) | Y |  |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Species - Protected Habitats - Scheduled Ancient Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Nitrate Vulnerable Zone (NVZ) - Groundwater Safeguard Zone - Hedges - Ditches | Y Some not all | PS-Afon Senni and CwmBrynych migratory routes for Atlantic salmon, eels & trout-within 500m of Bailea but not close; Afon Tawe migratory route for Atlantic salmon, eels , trout 15m from GU 3724 at closest point ; Threatened lichen within 500m of GU 3724 but not close; Threatened lichen and bryophite 127m from 9927 at closest point; PH-Lowland dry acid grassland and Lowland calcareous grassland 107m from Bailea 16; Purple moor grass and rush pastures adjacent to GU 3724; Lowland dry acid grassland and Lowland calcareous grassland in and adjacent to 4848; Purple moor grass and rush pastures bordering 9927, adjacent to 8638, close to 4848; Lowland dry acid grassland adjacent to 6133 AW-Ancient Semi Natural Woodland adjacent to Bailea 19, 20 close to 16; Ancient Semi Natural Woodland adjacent to s.e corner of GU 3724; Ancient Semi Natural Woodland adjacent to 6133, 7829,4848, 5441,4363,9927; SINC-Coed Glyn Gwennws, Pen-y-Cae within 500m of GU3724 but not close; NP-all fields within Brecon Beacons National Park ; |
| What is the slope of the fields? Lesser sloped fields not such a concern for run-off, appropriate spreading techniques and low volume of waste and PTE’s pose little risk. RFI requests non-spreading buffer zones for red areas with updated maps and/or further justification to spread. Further justification provided 24/02 Amended maps provided 28/02 with areas of steepest slope removed from spreading, mitigation in place for lesser sloped areas. Given low volume and content of waste and latest amendments to maps, the risk of run off has been appropriately addressed and potential impact mitigated by operating techniques and other measures in place. | 0-7 degrees (transparent)- Bailea field #18 7 -12 degrees (yellow)- Bailea fields # 12, 16, 21,20 Glynllerch Uchaf #3724 part of northern border,4040 western ½, all other remaining fields have areas with large extent except for 7829 with just a little sloping ground 12 degrees plus (red)- Bailea fields 12 area to NE, 16 area to NW, 19 eastern border ,20 several red areas in field Glynllerch Uchaf 4040 western, border, part of northern border with areas toward middle of field, 3724 area in northern corner , 4363 & 6133 strips across width of fields, 8638 area on northern border, 9927 area to NE |  |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | Y | Jan, Feb, July,August 21 |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | Y | Some not all |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | Y | iron, aluminium, sulphur and manganese |
| - If yes; have they been tested for? | Y |  |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a |  |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y | Bailea Jul 19, Glynllerch Uchaf Jul 21 |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | n/a |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y |  |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y |  |
| - Is the material suitable for its intended use? | Y |  |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y |  |
| - Timing of application | Y |  |
| - Amount of waste to be applied and application rate | Y |  |
| - Soil chemical properties (e.g. liming and pH) | n/a |  |
| - Soil physical properties (e.g. organic matter and soil structure) | Y |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | n/a |  |
| - Included the nutrient level in their environmental risk assessment | Y |  |
| - Stated the source of information that they used to set the nutrient level. | Y | Defra 2020 |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | Y |  |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | Y |  |
| - Is it only for operational purposes? | Y |  |
| - Have individual application rates for each waste been given? | Y |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | Y |  |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | Y |  |
| - Is the timing of application appropriate? | Y |  |
| - Have they stated when the waste will be spread? | Y |  |
| - Have they stated how often the waste will be spread? | Y |  |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients supplied match NRW calculations? | Y | Except for Strata Florida-interpretation differs from lab analysis-see RFI; Error confirmed in e-mail of 24/02, corrected, no further issue |
| Has total nutrients supplied been given in oxide format? | Y |  |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y |  |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | Y |  |
| - The nutrients supplied by the material? | Y |  |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | Y |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | Y |  |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | Y | Omits leachate but includes run-off; Included in updated SSRA 24/02 |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | Y |  |
| - Measures that will minimise or mitigate the impact will be put in place | Y |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y |  |
| Has a likely significant effect been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as information only | N |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 500 meters of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | Y |
| No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site. The closest field to be deployed upon is 107m away from the River Usk SAC so physical distance significantly reduces the risk of environmental impact and eliminates any direct pathway. Permit conditions and following COGAP best practice guidance will further reduce potential for pollution impacts. In addition the following mitigation measures will be employed : 20m non-spreading buffer zone applied to where SSSI borders fields and to watercourses that run directly into the SAC; Spreading only during approved timings (targeted periods of spreading to coincide with peak nutrient requirements) and appropriate conditions; Waste handling and storage to follow the Code of Good Agricultural Practice i.e., No spreading when ground is waterlogged, frozen, or during times of intense or prolonged rainfall; Volumes of waste to be spread are low with low potential to produce airborne dust and particulate matter; 2m minimum buffer zone adjacent to trees and hedgerows; Alum sludge will not be spread on fields with soil pH <6. |  |

Comments

Consultation responses: - comments made re slope of 4363 & 6133-to be addressed in RFI; - further comments made beyond remit of assessment for determination, fall within compliance monitoring

MyMap and location assessment: Maps saved to DMS folder under PAN-016424

Protection of habitats and ecosystems Photographs of individual fields submitted but without any further justification/evidence -to be requested in RFI-see DMS Further justification provided 24/02-see e-mail in DMS

Agricultural benefit calculations: Largely agree with our own with slight margin of difference for rounding, interpretation re DCWW Strata Florida waste to be queried in RFI Error acknowledged 24/02-amended-no further issue

Request for information: RFI drafted as per points highlighted above -to be reviewed by mentor 14/02 and sent with deadline for response of 28/02 Response and updated documents received 24/02 address some not all points in RFI-response sent 25/02-see DMS . Response and amended maps provided 28/02-all queries now addressed, RFI discharged 28/02

Other information to note: n/a

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Issue date | 28/02/2022 |
| ## Effective date | 28/02/2022 |
| ## Permitting Officer Date | Judith Green 28/02/2022 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Huw Davies 28/02/2022 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 2315 until 15.30 28/02 |
| Sign off | 10 |
| Issuing | 50 |
| Total | 2435 |