	Environmental 

      Hazard


	Risk
	  H M L
	Group         Affected
	Controls
	 Residual

    Risk
	Procedures

	Floodwater to ingress hazardous and non hazardous waste material.

	Water Course

Contamination
	     H
	Public , Nearby Habitats, Wildlife.
	Sealed containers, sand bags, flood barriers. Permanent flood defense wall in place.
	        L
	Flood Response Procedures.
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INFORMATION




Flood Mapfffffffft
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	Flood Zone 3
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	Flood Zone 2
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	Flood defences
(Not all may be shown*)
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	Areas benefiting from flood 
defences
(Not all may be shown*)
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	Main rivers


Crane Cross


Grid Reference SN 11712 03874








Pembrokeshire County Council


Site Flood Response Plan








Initial Actions on Discovering a Flood or Imminent Flood





SITE FLOOD RISK ASSESSMENT





Haverfordwest





Pembrokeshire Community Flood Plan





Identify flood, categorise as minor or major flood. (Low or High Risk)


Ring site supervisor or duty officer and notify of minor or major flood.


Evacuate public and site staff from site if major flood


Contact Emergency Services if major flood


 Contact Out of Hours Emergency Planning Team if major flood


Consult drainage plan for confirmation of system if needed. A3 Plan on reverse of this document.


Close  any open valves on any pipework.


Remove any mobile waste containers if safe to do so, particularly hazardous waste materials to higher ground or off site..


Deploy sandbags around vunerable hazardous waste containers e.g. engine oil, paints, fridges & freezers & Tv’s.


Shut any shipping / lockable  container doors to prevent water ingress


Shut and secure  any doors on all site buildings and secure with sandbags if needed.


Record flood in site diary and incident log





RECEPTORS AT RISK








                                            Environment & Locality


                                           				


Wildlife


Groundwater


Public


Local Properties & Businesses





ON SITE FLOOD EQUIPMENT








 Sandbags, telehandler, brushes, shovels








Pembrokeshire County Council Out of hours 


Emergency – 0845 6015522


Natural Resources Wales Incident Hotline – 0800 807060


Floodline – 0845 988 1188


West Wales Utilities – 0800 111999


Welsh Water – 0800 0520130














Useful Contact Numbers





Flood Map for Planning (Rivers and Sea) from Environment Agency Website


Area around Winsel Recycling Centre, Haverfordwest SA61 1XG
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