Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2010

Pembrokeshire County Council

Crane Cross Civic Amenity & Recycling Centre

Crane Cross

Devonshire Drive

Saundersfoot

Pembrokeshire

SA69 9EE

Permit number

EPR/NB3193HN

Crane Cross Civic Amenity & Recycling Centre

Permit number EPR/NB3193HN

Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows.

This is a Tier 3 bespoke permit that allows the operator to store and treat hazardous and non-hazardous household waste.  Treatment shall consist of manual sorting and separation, bulking up, crushing and compaction to enable onward transfer of wastes for recovery and disposal.  No treatment of asbestos wastes or Waste Electrical Electronic Equipment (WEEE) is permitted.  The site is permitted to accept and subsequently treat 10,000 tonnes of waste in total per year.

Relevant storage limits for hazardous waste have been included in the permit to reflect the legal waste facility operational limits; above which, the site would be operating as an installation under the Industrial Emissions Directive. (See Table S1.1). Treatment carried out at the site of non-hazardous waste is not subject to sections 5.3 or 5.4 activities under the Industrial Emissions Directive and as such no daily treatment capacity limits have been set in the permit.

Drainage from the site shall be via an oil interceptor to surface waters.  Leachate from the compaction of putrescible waste will drain to foul sewer via a sealed drainage system.  These discharges are controlled through the emission of substances not controlled by emission limits condition.

This permit does not allow the burning of any wastes, either in the open, inside buidings or in any form of incinerator.

The status log of the permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |  |  |
| --- | --- | --- |
| Description | Date | Comments |
| Application EPR/NB3193HN/A001 | Duly made 24/10/14 | Application for a Household waste amenity site taking hazardous and non-hazardous waste. |
| Further information received following request for information sent 26/10/14 | 26/10/14 | Site boundary in green and certificates for the Technically Competent Manager (TCM). |
| Permit determined EPR/NB3193HN | 30/03/15 | Tier 3 bespoke permit issued to Pembrokeshire County Council. |

End of introductory note

Permit

The Environmental Permitting (England and Wales) Regulations 2010

Permit number

EPR/NB3193HN

The Natural Resources Body for Wales (“Natural Resources Wales”)  authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2010

Pembrokeshire County Council (“the operator”),

of

County Hall

Freemans Way

Haverfordwest

Pembrokeshire

SA61 1TP

to operate waste operations at

Crane Cross Civic Amenity & Recycling Centre

Crane Cross

Devonshire Drive

Saundersfoot

Pembrokeshire

SA69 9EE

to the extent authorised by and subject to the conditions of this permit.

| Name | Date |
| --- | --- |
| Louise Bailey | 30/03/15 |

Authorised on behalf of Natural Resources Wales

Conditions

# Management

## General management

### The operator shall manage and operate the activities:

#### in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances, closure and those drawn to the attention of the operator as a result of complaints; and

#### using sufficient competent persons and resources.

### Records demonstrating compliance with condition 1.1.1 shall be maintained.

### Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

### The operator shall comply with the requirements of an approved competence scheme.

## Avoidance, recovery and disposal of wastes produced by the activities

### The operator shall take appropriate measures to ensure that:

### the waste hierarchy referred to in Article 4 of the Waste Framework Directive is applied to the generation of  waste by the activities; and

### any waste generated by the activities is treated in accordance with the waste hierarchy referred to in Article 4 of the Waste Framework Directive; and

### where disposal is necessary, this is undertaken in a manner which minimises its impact on the environment.

### The operator shall review and record at least every four years whether changes to those measures should be made and take any further appropriate measures identified by a review.

# 2	Operations

2.1	Permitted activities

### 2.1.1	The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”).

## 2.2	The site

2.2.1	The activities shall not extend beyond the site, being the land shown edged in green on the site plan at schedule 7 to this permit.

## 2.3	Operating techniques

#### 2.3.1	(a) 	The activities shall, subject to the conditions of this permit, be operated using the

#### techniques and in the manner described in the documentation specified in 	schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.

#### (b)	If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan , and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

### 2.3.2	Waste shall only be accepted if:

### (a)	it is of a type and quantity listed in schedule 2 table(s) S2.1 [, S2.2 etc]; and

### (b)	except for household waste accepted from householders, it conforms to the description in the documentation supplied by the producer and holder.

## 2.4	Technical requirements

WEEE treatment

### 2.4.1	The storage (including temporary storage) and treatment of WEEE shall be carried out in accordance with the technical requirements of Annex III of the WEEE Directive.

Hazardous waste storage and treatment

### 2.4.2	Hazardous waste shall not be mixed, either with a different category of hazardous waste or with other waste, substances or materials, unless it is authorised by schedule 1 table S1.1 and appropriate measures are taken.

# Emissions and monitoring

## Emissions of substances not controlled by emission limits

### Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.1.2	The operator shall:

#### (a)	if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

#### (b)	implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.1.3	All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

## 3.2	Odour

#### 3.2.1	Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour.

3.2.2	The operator shall:

#### (a)	if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to odour, submit to Natural Resources Wales for approval within the period specified, an odour management plan which identifies and minimises the risks of pollution from odour;

#### (b)	implement the approved odour management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

## 3.3	Noise and vibration

#### 3.3.1	Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.

3.3.2	The operator shall:

#### (a)	if notified by Natural Resources Wales that the activities are giving rise topollution outside the site due to noise and vibration, submit to Natural Resources Wales for approval within the period specified, a noise and vibration management plan which identifies and minimises the risks of pollution from noise and vibration;

#### (b)	implement the approved noise and vibration management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

# 4	Information

## 4.1	Records

### All records required to be made by this permit shall:

### be legible;

### be made as soon as reasonably practicable;

### if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

### be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

- off-site environmental effects; and

- matters which affect the condition of the land and groundwater.

4.1.2	The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales.

## 4.2	Reporting

4.2.1	The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

### 4.2.2	Within one month of the end of each quarter, the operator shall submit to Natural Resources Wales using the form made available for the purpose, the information specified on the form relating to the site and the waste accepted and removed from it during the previous quarter.

## 4.3	Notifications

#### 4.3.1	In any other case:

#### the death of any of the named operators (where the operator consists of more than one named individual);

#### any change in the operator’s name(s) or address(es); and

#### any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

### 4.3.2	Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

### Natural Resources Wales shall be notified at least 14 days before making the change; and

### the notification shall contain a description of the proposed change in operation.

## 4.3	Notifications

### 4.3.1	Natural Resources Wales shall be notified without delay following the detection of:

### any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

### the breach of a limit specified in the permit; or

### any significant adverse environmental effects.

### 4.3.2	Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

### 4.3.3	Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

### 4.3.4	Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

#### any change in the operator’s trading name, registered name or registered office address; and

#### (b)	any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

#### any change in the operator’s name or address; and

#### any steps taken with a view to the dissolution of the operator.

## 4.4	Interpretation

### 4.4.1	In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

### 4.4.2	In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone.

# Schedule 1 - Operations

| ### Table S1.1 activities |  |  |
| --- | --- | --- |
|  | ### Description of activities for waste operations | ### Limits of activities |
| ### A1 Hazardous & non-hazardous Household Civic Amenity Site with treatment | ### R13: Storage of wastes pending any of the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where it is produced) ### D14: Repackaging prior to submission to any of the operations numbered D1 to D13 ### D15: Storage pending any of the operations numbered D1 to D14 (excluding temporary storage, pending collection, on the site where it is produced) ### R3: Recycling/reclamation of organic substances which are not used as solvents ### R4: Recycling/reclamation of metals and metal compounds ### R5: Recycling/reclamation of other inorganic compounds ### D9: Physico-chemical treatment not specified elsewhere in Annex IIA which results in final compounds or mixtures which are discarded by means of any of the operations numbered D1 to D12 | ### Treatment of waste shall consist only of: ### -manual sorting; ### -separation; ### -crushing ### -bulking ### and compaction of waste into different components for disposal or recovery. ### Treatment of hazardous waste shall be limited to: ### - manual sorting ### - separation ### There shall be no treatment of asbestos wastes or Waste Electrical Electronic Equipment (WEEE) other than bulking up for onward transfer. There shall be no treatment of lead acid batteries, other than sorting and separating from other wastes and bulking up for onward transfer. ### The maximum quantity of hazardous waste that can be stored at the site (excluding hazardous waste electronic electrical equipment pending submission to manual repair or refurbishment) for recovery or disposal, shall not exceed 50 tonnes at any one time. ### All waste must be stored and treated on an impermeable surface with sealed drainage. ### Cement bonded asbestos waste shall be double bagged and stored in secure containers . ### Batteries and waste oils shall be stored in double bunded containers. No more than 50 tonnes of tyre bales (waste code 16 01 03) shall be stored at any one time. ### Waste types as specified in Table 2.1 |
|  | ### Discharge of site drainage to surface water via interceptor as shown on the sites drainage plan DRG No. CS/071529/C/502 | Drainage consisting solely of: - clean, rainfall dependant drainage from areas of the site used in connection with the storage or treatment of permitted waste only - run-off from the impermeable surface from all areas of the site used to store and/or treat waste via a suitable well maintained Class 1 interceptor to surface water. Discharge of site drainage shall be controlled though condition 3.1 and the provision of appropriate measures as set out in relevant management plans. ### No visible oil or grease shall be present in the discharge. |

| ### Table S1.2 Operating techniques |  |  |
| --- | --- | --- |
| ### Description | ### Parts | ### Date Received |
| ### Technical guidance note ‘How to comply with your environmental permit’ | ### All | ### N/A |
| ### Sector Guidance Note IPPC S5.06: Guidance for the Recovery and Disposal of Hazardous and Non Hazardous Waste | ### All | ### N/A |
| ### Application | ### Environmental Management System ### Sections: ### Drainage/interceptor/maintenance | ### 24/10/14 |
|  | ### Site drainage plan DRG No. CS/071529/C/502 |  |

# Schedule 2 - Waste types, raw materials and fuels

| ### Table S2.1 Permitted waste types and quantities for Crane Cross Civic Amenity & Recycling Centre |  |
| --- | --- |
| ### Maximum Quantities | ### No more than 10,000 tonnes of waste shall be accepted per year. |
| ### Exclusions | Wastes having any of the following characteristics shall not be accepted: - consisting solely or mainly of dusts, powders or loose fibres - sludges |
| ### Waste code | ### Description |
| 01 | WASTES RESULTING FROM EXPLORATION, MINING, QUARRYING, AND PHYSICAL AND CHEMICAL TREATMENT OF MINERALS |
| ### 01 01 | ### wastes from mineral excavation |
| ### 01 01 01 | ### wastes from mineral metalliferous excavation |
| ### 01 04 | ### wastes from physical and chemical processing of non-metalliferous minerals |
| ### 01 04 08 | ### waste gravel and crushed rocks other than those mentioned in 01 04 07 |
| ### 01 04 09 | ### waste sand and clays |
| ### 02 | ### WASTES FROM AGRICULTURE, HORTICULTURE, AQUACULTURE, FORESTRY, HUNTING AND FISHING, FOOD PREPARATION AND PROCESSING |
| ### 02 01 | ### wastes from agriculture, horticulture, aquaculture, forestry, hunting and fishing |
| ### 02 01 04 | ### waste plastics (except packaging) |
| ### 02 01 10 | ### waste metal |
| ### 13 | ### OIL WASTES AND WASTES OF LIQUID FUELS (except edible oils, and those in chapters 05, 12 and 19) |
| ### 13 02 | ### waste engine, gear and lubricating oils |
| ### 13 02 05* | ### mineral-based non-chlorinated engine, gear and lubricating oils |
| ### 13 02 06* | ### synthetic engine, gear and lubricating oils |
| ### 13 02 07* | ### readily biodegradable engine, gear and lubricating oils |
| ### 15 | ### WASTE PACKAGING; ABSORBENTS, WIPING CLOTHS, FILTER MATERIALS AND PROTECTIVE CLOTHING NOT OTHERWISE SPECIFIED |
| ### 15 02 | ### absorbents, filter materials, wiping cloths and protective clothing |
| ### 15 02 02* | ### absorbents, filter materials (including oil filters not otherwise specified), wiping cloths, protective clothing contaminated by dangerous substances |
| ### 15 02 03 | ### absorbents, filter materials, wiping cloths and protective clothing other than those mentioned in 15 02 02 |
| ### 16 | ### WASTES NOT OTHERWISE SPECIFIED IN THE LIST |
| ### 16 01 | ### end-of-life vehicles from different means of transport (including off-road machinery) and wastes from dismantling of end-of-life vehicles and vehicle maintenance (except 13, 14, 16 06 and 16 08) |
| ### 16 01 03 | ### end-of-life tyres |
| ### 16 01 07* | ### oil filters |
| ### 16 01 13* | ### brake fluids |
| ### 16 01 14* | ### antifreeze fluids containing dangerous substances |
| ### 16 01 15 | ### antifreeze fluids other than those mentioned in 16 01 14 |
| ### 16 05 | ### gases in pressure containers and discarded chemicals |
| ### 16 05 05 | ### gases in pressure containers other than those mentioned in 16 05 04 |
| ### 17 | ### CONSTRUCTION AND DEMOLITION WASTES (INCLUDING EXCAVATED SOIL FROM CONTAMINATED SITES) |
| ### 17 01 | ### concrete, bricks, tiles and ceramics |
| ### 17 01 01 | ### concrete |
| ### 17 01 02 | ### bricks |
| ### 17 01 03 | ### tiles and ceramics |
| ### 17 01 07 | ### mixtures of concrete, bricks, tiles and ceramics other than those mentioned in 17 01 06 |
| ### 17 02 | ### wood, glass and plastic |
| ### 17 02 01 | ### wood |
| ### 17 02 02 | ### glass |
| ### 17 02 03 | ### plastic |
| ### 17 03 | ### bituminous mixtures, coal tar and tarred products |
| ### 17 03 02 | ### bituminous mixtures other than those mentioned in 17 03 01 |
| ### 17 04 | ### metals (including their alloys |
| ### 17 04 01 | ### copper, bronze, brass |
| ### 17 04 02 | ### aluminium |
| ### 17 04 03 | ### lead |
| ### 17 04 04 | ### zinc |
| ### 17 04 05 | ### iron and steel |
| ### 17 04 06 | ### tin |
| ### 17 04 07 | ### mixed metals |
| ### 17 04 11 | ### cables other than those mentioned in 17 04 10 |
| ### 17 05 | ### soil (including excavated soil from contaminated sites), stones and dredging spoil |
| ### 17 05 04 | ### soil and stones other than those mentioned in 17 05 03 |
| ### 17 05 08 | ### track ballast other than those mentioned in 17 05 07 |
| ### 17 06 | ### insulation materials and asbestos-containing construction materials |
| ### 17 06 01* | ### insulation materials containing asbestos |
| ### 17 06 04 | ### insulation materials other than those mentioned in 17 06 01 and 17 06 03 |
| ### 17 06 05* | ### construction materials containing asbestos |
| ### 17 08 | ### gypsum-based construction material |
| ### 17 08 02 | ### gypsum-based construction materials other than those mentioned in 17 08 01 |
| ### 17 09 04 | ### other construction and demolition wastes |
| ### 17 09 04 | ### mixed construction and demolition wastes other than those mentioned in 17 09 01, 17 09 02 and 17 09 03 |
| ### 20 | ### MUNICIPAL WASTES (HOUSEHOLD WASTE AND SIMILAR COMMERCIAL, INDUSTRIAL AND INSTITUTIONAL WASTES) INCLUDING SEPARATELY COLLECTED FRACTIONS |
| ### 20 01 | ### separately collected fractions (except 15 01) |
| ### 20 01 01 | ### paper and cardboard |
| ### 20 01 02 | ### glass |
| ### 20 01 08 | ### biodegradable kitchen and canteen waste |
| ### 20 01 10 | ### clothes |
| ### 20 01 11 | ### textiles |
| ### 20 01 13* | ### solvents |
| ### 20 01 14* | ### acids |
| ### 20 01 15* | ### alkalines |
| ### 20 01 17* | ### photochemicals |
| ### 20 01 19 | ### pesticides |
| ### 20 01 21* | ### fluorescent tubes and other mercury-containing waste |
| ### 20 0123* | ### discarded equipment containing chlorofluorocarbons |
| ### 20 0125 | ### edible oil and fat |
| ### 20 01 26* | ### oil and fat other than those mentioned in 20 01 25 |
| ### 20 01 27* | ### paint, inks, adhesives and resins containing dangerous substances |
| ### 20 01 28 | ### paint, inks, adhesives and resins other than those mentioned in 20 01 27 |
| ### 20 01 29* | ### detergents containing dangerous substances |
| ### 20 01 30 | ### detergents other than those mentioned in 20 01 29 |
| ### 20 01 33 | ### batteries and accumulators included in 16 06 01, 16 06 02 or 16 06 03 and unsorted batteries and accumulators containing these batteries |
| ### 20 01 34 | ### batteries and accumulators other than those mentioned in 20 01 33 |
| ### 20 01 35* | ### discarded electrical and electronic equipment other than those mentioned in 20 01 21 and 20 01 23 containing hazardous components |
| ### 20 01 36 | ### discarded electrical and electronic equipment other than those mentioned in 20 01 21, 20 01 23 and 20 01 35 |
| ### 20 01 37* | ### wood containing dangerous substances |
| ### 20 01 38 | ### wood other than that mentioned in 20 01 37 |
| ### 20 01 39 | ### plastics |
| ### 20 01 40 | ### metals |
| ### 20 01 41 | ### wastes from chimney sweeping |
| ### 20 02 | ### garden and park wastes (including cemetery waste) |
| ### 20 02 01 | ### biodegradable waste |
| ### 20 02 02 | ### soil and stones |
| ### 20 02 03 | ### other non-biodegradable wastes |
| ### 20 03 | ### other municipal wastes |
| ### 20 03 01 | ### mixed municipal waste |
| ### 20 03 02 | ### waste from markets |
| ### 20 03 03 | ### street-cleaning residues |
| ### 20 03 07 | ### bulky waste |

# Schedule 3 – Emissions and monitoring

#### There are no emission limits or associated monitoring requirements

# Schedule 4 - Reporting

#### There is no reporting under this schedule

# Schedule 5 - Notification

### These pages outline the information that the operator must provide.

### Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

#### If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

## Part A

| ## Permit Number |  |
| --- | --- |
| ## Name of operator |  |
| ## Location of Facility |  |
| ## Time and date of the detection |  |

| ## (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution |  |
| --- | --- |
| ## To be notified within 24 hours of detection |  |
| ## Date and time of the event |  |
| ## Reference or description of the location of the event |  |
| ## Description of where any release into the environment took place |  |
| ## Substances(s) potentially released |  |
| ## Best estimate of the quantity or rate of release of substances |  |
| ## Measures taken, or intended to be taken, to stop any emission |  |
| ## Description of the failure or accident. |  |

| ## (b) Notification requirements for the breach of a limit |  |
| --- | --- |
| ## To be notified within 24 hours of detection unless otherwise specified below |  |
| ## Emission point reference/ source |  |
| ## Parameter(s) |  |
| ## Limit |  |
| ## Measured value and uncertainty |  |
| ## Date and time of monitoring |  |
| ## Measures taken, or intended to be taken, to stop the emission |  |

| ### Time periods for notification following detection of a breach of a limit |  |
| --- | --- |
| ### Parameter | ### Notification period |

| ## (c) Notification requirements for the detection of any significant adverse environmental effect |  |
| --- | --- |
| ## To be notified within 24 hours of detection |  |
| ## Description of where the effect on the environment was detected |  |
| ## Substances(s) detected |  |
| ## Concentrations of substances detected |  |
| ## Date of monitoring/sampling |  |

## Part B - to be submitted as soon as practicable

| ### Any more accurate information on the matters for notification under Part A. |  |
| --- | --- |
| ### Measures taken, or intended to be taken, to prevent a recurrence of the incident |  |
| ### Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission |  |
| ### The dates of any unauthorised emissions from the facility in the preceding 24 months. |  |

| ### Name* |  |
| --- | --- |
| ### Post |  |
| ### Signature |  |
| ### Date |  |

### * authorised to sign on behalf of the operator

Schedule 6 - Interpretation

“accident” means an accident that may result in pollution.

“Annex I” means Annex I to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“Annex II” means Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“authorised officer” means any person authorised by Natural Resources Wales under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“D” means a disposal operation provided for in Annex I to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2010 No.675 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission limit..

“hazardous waste” has the meaning given in the Hazardous Waste (England and Wales) Regulations 2005 No.894, the Hazardous Waste (Wales) Regulations 2005 No. 1806 (W.138), the List of Wastes (England) Regulations 2005 No.895 and the List of Wastes (Wales) Regulations 2005 No. 1820 (W.148).

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“R” means a recovery operation provided for in Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“Waste code” means the six digit code referable to a type of waste in accordance with the List of Wastes (England)Regulations 2005, or List of Wastes (Wales) Regulations 2005, as appropriate, and in relation to hazardous waste, includes the asterisk.

“Waste Framework Directive” or “WFD” means Waste Framework Directive 2008/98/EC of the European Parliament and of the Council on waste.

“WEEE” means waste electrical and electronic equipment.

“WEEE Directive” means Directive 2002/96/EC of the European Parliament and of the Council of 27th January 2003 on waste electrical and electronic equipment (WEEE) as amended by Directive 2003/108/EC of the European Parliament and of the Council of 8th December 2003 on waste electrical and electronic equipment (WEEE).

“year” means calendar year ending 31 December.

# Schedule 7 - Site plan

### END OF PERMIT