Permit Number: 
EPR/PP3539NV/V002




Operator: 

Gwynedd Council

Facility:

Cilgwyn Leachate Treatment Plant


Form Number: 
Water 11 / March 2019
Reporting of emissions to water (other than to sewer) and land for the period from 01/09/18 to 28/02/19
	Emission

Point
	Substance /

Parameter
	Emission Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4]

	W1
	BOD
	40 mg/l
	Spot Sample
	2mg/l
	As per the Environment Agency’s Technical Guidance M18 – Monitoring of Discharges to Water and Sewer
	02/10/18
	

	W1
	Ammoniacal Nitrogen
	50 mg/l
	Spot Sample
	0.14mg/l
	
	16/10/18
	

	W1
	Total Suspended Solids
	60 mg/l
	Spot Sample
	32mg/l
	
	04/09/18
	

	W1
	pH
	6 - 9
	Spot Sample
	7.5 to 8.1
	
	pH 7.5 on 16/10/18
pH 8.1 on 09/10/18
	


[1]
The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2]
Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

[3]
For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

[4]
The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
Signed …………………………………………………………….  

Date………………………..


(Authorised to sign as representative of Operator)
