## Sheet1
Site Name | Address | Permit Number | Catchment | Discharge NGR | Receiving Watercourse | Monitoring NGR | Storage Y/N (Capacity m3) | Screen Y/N (aperture) | Overflow Setting (l/s) | Asset Type | Emergency Conditions in old Permit? (Y/N/N/A) | Bespoke Operating Conditions? (Y/N) | PSKPM Doc Complete? | New Trigger Following Review | Site Map Completed?
Port Talbot Abbey | Steelworks, Port Talbot | BW0202801 | S&N | SS 75850 87095 | Swansea Bay | SS 76020 87341 | N | Y (6mm mesh) | 610 | SPS | Y | N | Yes | 5 in Bathing Season | Yes
Briton Ferry | RIVERSIDE WHARF, NR CHURCH ST, BRITON FERRY, NEATH, SA112JH | BP0283201 | S&N | SS 73353 93920 SS 73349 93842 | River Neath | SS 73464 93876 | Y (263) | Y (10mm bar) | 71.2 | SPS | Y | Y - Two outfalls, depending on tide level . De-gritting programme at Ynysmaerdy Road flow splitter (9a on WRA consent). Overflow to culvert shall only occur when flow in splitting chamber is >160l/s |  | 14 in the year
Baglan | BAGLAN SPS, SA128LD. | BP0287801 | S&N | SS 70240 88110 | Swansea Bay | SS 74020 93168 | Y (3910) | Y (6mm mesh) | 583 | SPS | Y | N | Yes | 14 in the year
Mumbles Knab Rock | NEAR 746, MUMBLES RD, MUMBLES, SWANSEA, SA3 4EL | BP0236603 | S&N | SS 63700 87130 | Swansea Bay | SS 62506 87609 | Y (1360) | Y (6mm mesh) | 189 | SPS | Y | N | Yes | 5 in Bathing Season
Brynymor Road Swansea | BRYNYMOR ROAD/WESTBURY ROAD, SWANSEA, SA4 3EZ | BP0212501 | S&N | SS 64380 92687 | Un-named Culvert | SS 64379 92691 | N | Unknown | Unknown | CSO | N/A | N |  | None - EDM Only | Yes
Swansea Alderwood Road Linden Tree | Opposite Linden Tree PH, Fairwood Road, West Cross, Swansea SA3 5LA | BP0245401 | S&N | SS 61202 89425 | Washinghouse Brook | SS 61107 89866 | N | N | Unknown | CSO | N/A | N |  | None - EDM Only | Yes
Baglan | BRITON FERRY, NEATH, SA128LD. | BP0287901 | S&N | SS 73150 93250 | River Neath | SS 74020 93168 | N | Y (6mm mesh) | 1783 | SPS | Y | N | Yes | 14 in the year
Cambrian Place CSO | CAN'T LOCATE | BP0212601 | S&N | ? | ? | ? | ? | ? | ? | ? | ? | ? |  | None - EDM Only
Bishopston STW | Brandy Cove Lane, Bishopton | BP0271801 | S&N | SS 58577 87247 | Coastal Waters at Brandy Cove | SS 58278 87817 | Y (500) | Y (6mm mesh) | 32.5 | CSO | N/A | Discharge via reed bed - no need for Op Tech though |  | ALREADY ISSUED
2 Blodwen Terrace, Penclawdd CSO | Blodwen Terrace, Penclawdd, Swansea, SA4 3YG | BW4108601 | S&N | SS 54569 95752 | Un-named Culvert | SS 54569 95754 | N | N | Unknown | CSO | N/A | N |  | None - EDM Only | Yes
Swansea East Burrows Ps Point 12 New Map | In Swansea Marina Car Park, Somerset Place, Swansea, SA1 1RR | BP0237413 | S&N | SS 66185 92901 | River Tawe | SS 66184 92911 | Y (12948) | Y (6mm mesh) | 3024 | SPS | Y | Yes - Some wording in condition 4 of current consent (storm schedule) that can be transferred into S1.1 or S3.1? | Yes | 5 in Bathing Season | Yes 2 provided - Including site map showing CSO chamber in relation to Langdon Road SPS
Swansea Queens Dock/Fabian Way O/F N | Outside No. 103, Fabian Way, Port Tennant, Swansea SA1 8PA | BP0237414 | S&N | SS 68770 92550 | Esturial Waters of Swansea Bay | SS 67975 93127 | N | Y (10mm bar) | 85 | CSO | N/A | N |  | 5 in Bathing Season
Swansea Langland Bay | EO Only | BP0305901 | S&N | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Byng Morris Close CSO | 12 Byng Morris Close, Sketty, Swansea, SA2 8L | BP0212801 | S&N | SS 62019 92356 | Tributary of the River Clyne | SS 61980 92356 | N | Y (10mm bar) | 120 | CSO | N/A | N |  | 5 in Bathing Season | Yes
Norton Road/Westcross Av Swansea | In the field off Mumbles Road, Rr of No 1 Castle Acre, SA3 5TH. | BP0237404 | S&N | SS 61487 88715 | Swansea Bay | SS 61438 88692 | N | Y (10mm bar) | 210 | CSO | N/A | N |  | 5 in Bathing Season | Yes
West Cross Inn CSO, Swansea | Opp. West Cross Inn, Mumbles Road, West Cross, Swansea, SA3 5AB | BP0237406 | S&N | SS 61551 89322 | Swansea Bay | SS 61492 89320 | N | Y (10mm bar) | 400 | CSO | N/A | N |  | 5 in Bathing Season | Yes
Liliput Lane Swansea. Sa3 5Ag. | In the garden of No.2 West Cross, Swansea, SA3 5AL | BP0237407 | S&N | SS 61685 89837 | Swansea Bay | SS 61622 89854 | N | Y (10mm bar) | 13 | CSO | N/A | N |  | 5 in Bathing Season | Yes
Rear Garden of 18 Duke St CSO |  | BP0046201 | Not Assigned | SS 77647 88371 | Un-named Culvert | SS 77651 88373 | N | Y (6mm mesh) | 6 | CSO | N/A | N |  | None - EDM Only
Georges Row Neath | GEORGE'S ROW, BRITON FERRY, NEATH, SA112LP | BP0283101 | S&N | SS 73407 94247 | River Neath | SS 73506 94216 | Y (1.7) | Y (10mm bar) | 5 | SPS | Y | N | Yes | 14 in the year | Yes
Llansaint | NR CWM FARM, FERRYSIDE, DYFED, SA175UG | BC0006102 | S&N | SN 37395 07690 | Llansaint Stream | SN 38094 08597 | Y (22) | Y (6mm mesh) | 3 | WwTW | N/A | N |  | 5 in Bathing Season | Yes
Aberystwyth - Fifth Avanue | Llanbadarn Fawr, Aberystwyth, SY23 1QT | BH0069401 | S&N | SN 59031 80701 | Afon Rheidol | SN 58981 80558 | N | Y (10mm bar) | 66 | CSO | N/A | N |  | 5 in Bathing Season | Yes
Ferryside (Nr Kidwelly) | NR HOUSE ON STILTS, FERRYSIDE, DYFED, SA17 5TT | BN0169301 | S&N | SN 37000 11177 | River Towy | SN 37204 11456 | Y (250) | Y (6mm mesh) | 9.3 | WwTW | N/A | N |  | 5 in Bathing Season | Yes
Saundersfoot The Glen |  | BP0112501 | West | [10 empty] | Not Yet Reviewed
Saundersfoot Valley Road | NR 1 VALLEY VIEW, VALLEY ROAD, SAUNDERSFOOT, SA699BX. | BP0112601 | West | SN 12229 05342 | Tributary of the Saundersfoot Stream | SN 12234 05342 | N | Y (10mm bar) | 52 | SPS | N/A - separate permit (BP0112602) | N |  | 5 in Bathing Season | Yes
Aberporth No 1 Ship Hotel | Adjacent to Fronglyd, Aberporth, SA43 2EP | BP0167301 | West | SN 25830 51370 | Nant Howni | SN 25822 51365 | Y (48) | Y (6mm mesh) | 116 | SPS | Y | N | Yes | Not Yet Reviewed
Aberporth No 2 Austins | AUSTINS, ABERPORTH, SA43 2DA | BP0167401 | West | SN 25662 51506 | Nant Gilddu | SN 25659 51514 | Y (6 hours DWF) | Y (6mm mesh) | 70 | SPS | Y | N | Yes | Not Yet Reviewed
Swansea West Cross Elmgrove Road | Adjacent to No. 17 Elmgrove Road, West Cross, Swansea, SA3 5LD | BW4108401 | S&N | SS 60900 89574 | Washinghouse Brook | SS 60864 89571 | Y (120) | Y (6mm mesh) | 38 | CSO | N/A | N |  | 5 in Bathing Season | Yes
Caswell Bay | EO Only - Unpermitted CSO | BE0022301 | S&N | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO | EO Only - Unpermitted CSO |  | None - EDM Only
Saundersfoot New Hedges | EO Only | BP0237701 | West | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | None - EDM Only
Llanelli Penyfan Playing Field |  | BW2204501 | S&N | SS 51350 99324 | River Lliedi | SS 51369 99398 | Unknown | Unknown | Unknown | CSO | N/A | N |  | None - EDM Only
Swansea Mumbles Rd/Village Lane 2 | SWANSEA MUMBLES RD/VILLAGE LANE 2, SA3 4EE | BP0237401 | S&N | SS 62024 87945 | Swansea Bay | SS 61958 87902 | N | Y (10mm bar) | 110 | CSO | N/A | N |  | 5 in Bathing Season | Yes
Barry Docks Storm | Barry Dock SPS, behind Cardiff Road Industrial Estate just off Wimbourne Road, Barry, CF63 2QW | AN0037801 | Barry | ST 13161 68173 | Barry Dock No.2 | ST 13224 68342 | N | Y (6mm mesh) | 27* | SPS | N/A | Y |  | None - EDM Only | Yes
Porthkerry (Nr Barry) | In SPS adjacent to Whitelands brook. 100 m to the East of the Old Rectory, CF62 3BZ. | AN0228901 | Barry | ST 08166 67035 | Whitelands Brook | ST 08152 67026 | Y (29) | Y (6mm mesh) | 117 | SPS | Y | N | Yes | None - EDM Only | Yes
Barry Island Dyfrig Street | Dyfrig Street, Barry Island, Barry | AN0382401 | Barry | ST 12068 67103 | Barry Dock No.1 | ST 11990 66948 | N | Y (6mm mesh) | 24 | CSO | N/a | N |  | None - EDM Only | Yes
Sketty Green CSO | ADMIN VARIATION | AB3694FF | S&N | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION |  | 14 in the year
Pembrey Danlan Park | O/S 4 Danlan Park, Pembrey, Burry Port, SA16 0UG | BW2203601 |  | SN 42562 01202 | Un-named Drain | SN 42568 01245 | Unknown | Unknown | Unknown | CSO | N/A | N |  | Not Yet Reviewed
Ganol | Glan Conwy Corner, Conwy, LL28 5LE | CG0377701 |  | SH 83660 83020 | Penrhyn Bay | SH 80600 77200 | N | Y (6mm mesh) | 500 (30240 cubic metres per day) | SPS | N/A - separate permit | Y - UV disinfection on storm discharge & Ganol Sewerage Scheme) |  | Not Yet Reviewed
Harlech Main | Harlech, LL46 2PU | CG0430301 | [11 empty] | Not Yet Reviewed
Penmaenmawr | Darbishers Bridge, A55 Conwy Road, Penmaenmawr LL34 6UL | CG0393801 |  | SH 73220 78110 | Conwy Bay | SH 73710 77980 | Y (4115) | Y (6mm mesh) | 47.3 | SPS | N/A - separate permit | N |  | Not Yet Reviewed
Deganwy Road | Marine Gardens, Deganwy, Llandudno. LL31 9BT | CG0127101 |  | SH 77500 79731 | Conwy Estuary | SH 77725 79616 | N | Y (unknown) | 65 | CSO | N/A | N |  | Not Yet Reviewed
Rhos-on-Sea Church Road | SPS, CHURCH RD, RHOS ON SEA, LLANDUDNO, LL28 4YS | CG0366401 |  | SH 83553 81389 | Penrhyn Bay | SH 83440 80910 | Y (6960) | Y (6mm mesh) | 217 | SPS | Y | Y - Ganol Sewerage Scheme |  | Not Yet Reviewed
Neyland | nr Caerfelyn Churchway Neyland Milford Haven Dyfed, SA73 1QL | BP0111601 |  | SM 95870 04810 | Milford Haven | SM 95782 05330 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Neyland - The Promenade | Opp 1 Promenade, Neyland, Milford Haven, Dyfed, SA73 1QF | BP0208601 |  | SM 95938 04965 | Milford Haven | SM 96003 05031 | Unknown | Unknown | Unknown | CSO | N/A | N |  | Not Yet Reviewed
Laugharne - Wogan Mews | Laugharne, Camarthenshire, SA33 4TB | BP0209601 |  | SN 30092 10736 | Culverted section of Mackerel Lake Stream | SN 30100 10766 | N | Y (6mm mesh) | 14.6 | CSO | N/A | N |  | Not Yet Reviewed
Llandudno Junction Tremarl | Ffordd Maelgwyn, Tremarl Industrial Estate, Llandudno Junction, LL31 9PN | CG0105301 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Penrhyn Bay SPS | Morfa Road, Penrhyn Bay, LL30 3PT | CG0141601 |  | SH 82870 81760 | Penrhyn Bay | SH 82750 81480 | Y (464) | Y (6mm mesh) | 33 | SPS | Y | Y - Ganol Sewerage Scheme |  | Not Yet Reviewed
Prestatyn Meliden Road | O/S No 2 Meliden Rd, Across from Foxes Hotel, Prestatyn, LL19 9BP | CM0173101 |  | SJ 07241 83235 | Prestatyn Gutter | SJ 06816 82583 | Unknown | Unknown | Unknown | CSO | N/A | N |  | Not Yet Reviewed
Glan Conwy | GLAN CONWY CORNER, CONWY, LL28 5LE | CG0141201 |  | SH 80148 76160 | Esturial Waters of the Afon Conwy | SH 80252 76158 | Y (170) | Y (6mm mesh) | 14 | SPS | Y | N |  | Not Yet Reviewed
Conwy Morfa Drive | MORFA DRIVE, CONWY, LL32 8EP | CG0141901 |  | SH 78000 78300 | Afon Conwy | SH 77514 78231 | Y (420) | Y (6mm mesh) | 43 | SPS | Y | N |  | Not Yet Reviewed
Penmeanmawr WwTW Penmeanmawr | Darbisher’s Bridge, Conwy Road, Penmaenmawr, LL34 6UL | CG0393901 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Prestatyn Purbeck | VICTORIA ROAD, PRESTATYN, LL19 7ST | CM0193501 |  | SJ 06019 83139 | Prestatyn Gutter | SJ 05456 83033 | Unknown | Unknown | Unknown | SPS | N/A | N |  | Not Yet Reviewed
Penmaenmawr Promenade | The Promenade (Opposite side of A55 to the Railway Station) Penmaenmawr, LL34 6LY | CG0148301 |  | SH 72241 77198 | Coastal Waters at Penmaenmawr | SH 71860 76646 | Y (unknown) | Y (6mm mesh) | 71 | SPS | Y | N |  | Not Yet Reviewed
Llanfairfechan No 1 | Village Road, Llanfairfechan, Conwy. LL30 0NH | CG0077101 |  | SH 68134 74756 | Afon Llanfairfechan | SH 68134 74761 | Unknown | Unknown | Unknown (6xDWF) | CSO | N/A | N |  | Not Yet Reviewed
Cwm Ivy | KYFTS LANE, CHERITON, LLANMADOG, GOWER, SA31DJ | BE0006402 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Neyland - Neyland Yacht Club | Neyland Yacht Club, Neyland, SA73 1PX. | BP0223901 |  | SM 9635 0474 | Milford Haven Estuary | SM 96377 04820 | N | Y (10mm bar) | 36.9 | CSO | N/A | N |  | Not Yet Reviewed
Aberporth Headland | Aberporth, SA43 2JL | BP0238301 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Swansea Fabian Way | FABIAN WAY, JERSEY MARINE VILLAGE, NEATH, SA7 9FU | BP0271501 |  | SS 72370 92910 | Neath Estuary | SS 71720 93325 | N | Y (6mm mesh) | 58 | SPS | Y | N |  | Not Yet Reviewed
Giants Grave Neath | Giants Wharf, Briton Ferry, SA11 2LP | BP0283301 |  | SS 73390 94730 | Neath Estuary | SS 73575 94790 | Y (60) | Y (10mm bar) | 17.1 | SPS | Y | N |  | Not Yet Reviewed
Windsor Road CSO | 11 (Gwynfa) Windsor Road, Porthcawl, CF36 3LR | BP0308601 |  | SS 81026 77161 | Bristol Channel | SS 81023 77160 | N | Y (6mm mesh) | 50 | CSO | N/A | N |  | Not Yet Reviewed
Llanelli Bridge At Heol Goffa | Heol Goffa Road, Llanelli, SA14 8BR | BP0319601 |  | SN 51552 01000 | Afon Lliedi | SN 51555 00988 | N | Y (10mm bar) | 35 | CSO | N/A | N |  | Not Yet Reviewed
Heol Hen CSO Llanelli | Heol Hen CSO LLANELLI, SA14 9DG. | BP0319901 |  | SS 53234 99594 | Un-named drain | SS 53285 99747 | N | Y (6mm mesh) | 91 | CSO | N/A | N |  | Not Yet Reviewed
Burry Port - Church Road | Church Road, Burry Port, Llanelli, SA16 0RY | BP0321901 |  | SN 45234 00843 | Nant Dyfatty | SN 45189 00860 | N | Y (6mm mesh) | 40 | CSO | N/A | N |  | Not Yet Reviewed
Pendard CSO | Outside Post Office, Church Hill, New Quay, Ceredigion, SA45 9NX | BP0337301 |  | SN 38881 60045 | Un-named culvert leading to New Quay Bay | SN 38875 60048 | N | Y (6mm mesh) | 9.9 | CSO | N/A | N |  | Not Yet Reviewed
Spring Gardens/Gyn Square Jnc. Newquay | Opp Dylans Chip Shop, New Quay, Ceredigion. SA45 9NZ | BP0337501 |  | SN 38926 60095 | Un-named culvert leading to New Quay Bay | SN 38918 60093 | N | Y (6mm mesh) | 18.5 | CSO | N/A | N |  | Not Yet Reviewed
New Quay Cei Bach Ph | Nr The Railway Cottage, New Quay, Dyfed, SA45 9SL | BP0354501 |  | SN 40941 59683 | Un-named drainage ditch | SN 40905 59684 | N | Y (6mm mesh) | 5 | SPS | Y | N |  | Not Yet Reviewed
Limeslade | OFF PUNCH LANE LIMESLADE COURT MUMBLES SWANSEA, SA34JW | BW4100901 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Dwygyfylchi (Nr Penmaenmawr) Headworks | PENMAENMAWR WWTW, DARBISHERS BRIDGE, CONWY ROAD, PENMAENMAWR, LL34 6UL | CG0099501 |  | SH 73531 77802 | Afon Gyrach | SH 73545 77816 | Y (unknown) | Y (10mm bar) | 550 | SPS | Y | N |  | Not Yet Reviewed
Aber | Nr Station House Abergwyngregyn Llanfairfechan, LL33 0LB | CG0113902 |  | SH 64814 73778 | Menai Strait | SH 65042 73780 | Y (66) | Y (6mm mesh) | 4 | SPS | Y | N |  | Not Yet Reviewed
Llanddulas Abergele Road | 27m From 3 Gwylfa Terrace, Abergele road, Llanddulas, LL22 8HP | CG0137801 |  | SH 89706 78525 | Irish Sea | SH 89802 78300 | Unknown | Unknown | Unknown | CSO | N/A | N |  | Not Yet Reviewed
Colwyn Bay Marine Road | Marine Hotel, Marine Road, Colwyn Bay, LL29 8PJ. | CG0139301 |  | SH 84878 79688 | Colwyn Bay | SH 84714 79476 | Y (1420) | Y (6mm mesh) | 250 | CSO | N/A | N |  | Not Yet Reviewed
Penrhyn Bay Penrhyn Hill | On the roundabout at the bottom of Penrhyn Old Road, Penrhyn Bay, LL30 3EE | CG0148101 |  | SH 82149 82205 | Penrhyn Bay | SH 81741 81571 | N | N | 32.5 | CSO | N/A | N |  | Not Yet Reviewed
Llandudno Hill View | Adjacent to No. 63 Hill View Road, Llanrhos, Llandudno LL30 1SL | CG0184201 |  | SH 79169 80195 | Un-named Culvert | SH 79155 80203 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Llanfairfechan Hospital | Bryn Neuadd Hospital, Aber Rd., Llanfairfechan, LL33 0HH | CG0184301 |  | SH 67263 74511 | Un-named drain leading to Conway Bay | SH 67374 74703 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Deganwy Beach | Outside No.45 Deganwy Beach Estate, Deganwy, Conwy, LL31 9DP | CG0184501 |  | Unknown | Unknown | SH 77650 79810 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Glanwydden SPS | Llanrhos Road, Penrhyn Bay, Llandudno, LL31 9JL | CG0184601 |  | SH 81975 80632 | Afon Wydden | SH 81969 80706 | Y (97) | Y (6mm mesh) | 25 | SPS | Y | N |  | Not Yet Reviewed
Llandudno Junction Marl Drive SPS CSO | Opposite NO.67 Marl Drive, Llandudno Junction, Conwy, LL31 9LL | CG0190901 |  | SH 79726 78263 | Afon Wydden | SH 79716 78285 | Y (1100) | Y (6mm mesh) | 50 | CSO | N/A | N |  | Not Yet Reviewed
Conwy Quay | Lower Gate Street Conwy Quay Conwy, LL32 8BE | CG0315801 |  | SH 78219 77801 | Afon Conwy | SH 78156 77768 | N | Y (6mm mesh) | 95 | SPS | Y | N |  | Not Yet Reviewed
Prestatyn Nant Hall Road Foul | FFORDD PARC BODNANT PRESTATYN, LL199XX | CG0317701 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Llanddulas Mill Street | Adjacent to No. 1 Mill Street, Llandulas, LL22 8ES | CG0356501 |  | SH 90925 78150 | River Dulas | SH 90911 78133 | Unknown | Unknown | Unknown | CSO | N/A | N |  | Not Yet Reviewed
Old Colwyn Llanelian Road | Opposite 59 Llanelian Rd, Old Colwyn, Colwyn Bay, Conwy, LL29 9UH | CG0369401 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Llandudno Junction Conwy Road | Adjacent to 112A Conway Road, Llandudno Junction, LL31 9ND | CG0379301 |  | SH 79573 77897 | Un-named Culvert | SH 79571 77886 | Y (215) | Y (10mm bar) | 200 | SPS | Y | N |  | Not Yet Reviewed
Penaenmawr CSO | Station Road, Penmaenmawr, LL34 6LS | CG0412401 |  | SH 71842 76538 | Un-named Culvert | SH 71731 76502 | N | Y (6mm mesh) | 91 | CSO | N/A | N |  | Not Yet Reviewed
Bagillt Station Road | Station Road, Bagillt CH6 6AF | CM0168701 |  | Unknown | Unknown | SJ 22180 75299 | Unknown | Unknown | Unknown | CSO | N | N |  | Not Yet Reviewed
Prestatyn Bodnant | CADNANT AVENUE, PRESTATYN, LL19 7HW | CM0193101 |  | SJ 07088 83440 | Prestatyn Gutter | SJ 07014 83507 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Flint Dee Cottages | Access track adjacent to No.56 Dee Cottages, Flint, CH6 5PT | CM0194301 |  | SJ 25071 72961 | River Dee | SJ 25024 72862 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Dyfatty Park SPS, Burry Port | Dyffatty Park Ind Est, Bury Port, Llanelli, Carmarthenshire, SA16 OHF | NPSWQD004967 |  | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only |  | EO Only
Ferryside (Nr Kidwelly) | NR GLAN TYWI FERRYSIDE DYFED, SA17 5TG | BP0113101 |  | SN 37058 11012 | Ferryside Stream | SN 37143 10844 | Unknown | Unknown | Unknown | SPS | N | N |  | Not Yet Reviewed
Gilfachreda CSO | Opp Glan Llethi, Gilfracheda, Newquay, SA45 9SW. | BP0319101 |  | SN 40944 58907 | Afon Lethi | SN 41019 58851 | Y (40) | Y (6mm mesh) | 10 | CSO | N/A | N |  | Not Yet Reviewed
Burton Ferry (Nr Neyland) | Long Island House Kiln Park Burton Milford Haven, SA731NY | BP0272401 |  | SM 97947 04840 | Milford Haven | SM 98045 04988 | Y (20) | Y (6mm mesh) | 2.5 | SPS | Y | N |  | Not Yet Reviewed
Y Maes Pwllheli CSO | North Quay, PWLLHELI, LL53 5YR | CG0450201 |  | SH 37410 34882 | Afon Rhyd-hir | SH 37398 34891 | N | Y (6mm mesh) | 100 | CSO | N/A | N |  | Not Yet Reviewed
Barry Town SPS (Long Sea Outfall) | Harbour Rd, Barry, CF62 5RA | AN0021801 | Barry | ST 10852 64346 | Bristol Channel | ST10926 66877 | Y (177) | Y (6mm mesh) | 820 | SPS | Y | Y | Yes | Not Yet Reviewed
Barry Cold Knap | nearest postal address: Flat 1S, Lakeside, Barry, CF62 6ST | AN0060901 | Barry | ST 10414 65984 | Bristol Channel | ST 10283 66182 | Y (428) | Y (6mm mesh) | 140 | SPS | N (separate permit - AN0061001) | N | N/A | 5 in Bathing Season | Yes
Barry East Bendricks | Unit 13a, Atlantic Trading Estate, Barry, CF63 3RF. | AN0243401 | Barry | ST 13264 67434 | The River Cadoxton | ST 13315 67432 | Y (800) | Y (6mm mesh) | 30 | SPS | Y | N | Yes | 5 in Bathing Season | Yes
Broad Street Clinic CSO Barry | In grassland at rear of Broad Street Clinic, Broad Street, Barry, CF62 7AL | AN0392601 | Barry | ST 11520 67859 | Un-named Culvert | ST 11537 67863 | N | Y (6mm mesh) | 750 | CSO | N/A | N | N/A | 5 in Bathing Season | Yes
Barry Nant Talwg Foul | Rear of 10, Ffordd Cwm Cidi, Barry, CF62 6LH by Tennis Courts | AE1010701 | Barry | ST 09796 68178 | Nant Talwg | ST 09802 68173 | Y (59) | Y (6mm mesh) | 123 | SPS | Y | N | Yes | 5 in Bathing Season | Yes
Barry Cwm Barry Storm | Rear of houses 51 to 69, Salisbury Road, Barry, CF62 6PD | AE2019303 | Barry | ST 10127 67548 | Barry Brook | ST 10163 67561 | Y (89) | Y (6mm mesh) | 108 | SPS | Y | N | Yes | 5 in Bathing Season | Yes
Barry Nant Talwg Way | Rear of 75, Nant Talwg Way, Barry, CF62 6LZ | AE2019305 | Barry | ST 09743 68068 | Nant Talwg | ST 09735 68083 | Y (2.5) | Y (6mm mesh) | 2 | SPS | Y | N | Yes | 5 in Bathing Season | Yes
Barry Island SPS | nearest postal residence; 2 Whites Cosy Corner, Barry, CF62 5UA. | AN0060601 | Barry | ST 11077 66733 | Barry Old Harbour | ST 11138 66781 | Y (202) | Y (6mm mesh) | 2155 | SPS | Yes | N | Yes | 5 in Bathing Season | Yes
The Knap Promenade, Barry | nearest postal address to the north: Flat 1s, Lakeside, Barry, CF62 6ST | AN0061001 | Barry | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | EO Only | N/A
Barry Westward Rise | Between 116 and 118, Westward Rise, Barry, CF62 6NQ | AN0088701 | Barry | ST 09142 67097 | Nant Talwg | ST 09393 67087 | Y (35) | Y (6mm mesh) | 12 | SPS | Y | N | Yes | 5 in Bathing Season | Yes
Pontypridd Road CSO Barry | Pontypridd Road, Barry, CF62 7NP | AN0373501 | Barry | ST 10427 67874 | Un-named Culvert leading to Barry Brook | ST 10441 67870 | N | Y (6mm mesh) | 90 | CSO | N/A | N | N/A | 5 in Bathing Season | Yes
Barry Town SPS (CSO to Harbour) | ADMIN VARIATION | AN0060501 | Barry | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | ADMIN VARIATION | N/A | 5 in Bathing Season
Barry Town SPS (Short Sea Outfall) | Adjacent to train tracks in Pumping Station. Nearest postal address: 14, Clos yr Harbwr, Barry, CF62 5HA | AN0060701 | Barry | ST 10314 65778 | Severn Estuary | ST 10926 66877 | Y (2777) | Y (6mm mesh) | 820 | SPS | N/A (separate permit - AN0021801) | Y | N/A | 5 in Bathing Season