# Schedule 5 - Notification

Part A

| Permit Number | PP31339GB |
| --- | --- |
| Name of Operator | Enovert (North) Ltd |
| Location of Installation | Bangor Road Johnstown Wrexham LL14 6ET |
| Time and date of the detection | 07/06/2019 |

| b) Notification requirements for breach of a limit |  |
| --- | --- |
| To be notified within 24 hours of detection unless otherwise specified |  |
| Emission point reference/source | BH HA Perimeter Gas Monitoring Points |
| Parameter(s) | Methane |
| Limit | CH4 >1% |
| Measured value and uncertainty | See Table 1 attached |
| Date and time of monitoring | 05/06/2019 |
| Measures taken, or intended to be taken, to stop the emission | Perimeter Gas Monitoring will continue to be monitored in accordance with Environmental Permit PP3139GB |

Part B

| Any more accurate information on the matters for notification under Part A. | Reviewing the historic Methane data since 2015, for monitoring points listed in Table 1 (below) that breached the Methane compliance in June 2019, all have demonstrated periodic elevated Methane concentrations which have been greater than compliance limit of >1%. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident |  |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission |  |
| The dates of any unauthorised emissions from the installation in the preceding 24 months. | SC5 HAF 237 – May 2019 SC5 HAF 235 – April 2019 SC5 HAF 232 – March 2019 SC5 HAF 229 – Feb 2019 SC5 HAF 227 – Jan 2019 SC5 HAF 226 – Dec 2018 SC5 HAF 222 – Nov 2018 SC5 HAF 219 – Oct 2018 |

| Name | Chris Ridgway |
| --- | --- |
| Post | Environmental Data Analyst |
| Date | 09.07.2019 |

| Sample Point | Date | CH4 (%) |
| --- | --- | --- |
| HAF GB03 | 05/06/2019 | 18.0 |
| HAF GB04a | 05/06/2019 | 22.3 |
| HAF GB04b | 05/06/2019 | 32.3 |
| HAF GB06a | 05/06/2019 | 35.4 |
| HAF GB07a | 05/06/2019 | 22.1 |
| HAF GB07b | 05/06/2019 | 17.4 |
| HAF GB08 | 05/06/2019 | 4.9 |
| HAF GB09 | 05/06/2019 | 22.9 |

Table 1: Perimeter Gas Breaches (Methane) June 2019