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Part A 
	Permit Number
	PP31339GB

	Name of Operator
	Enovert (North) Ltd

	Location of Installation
	Bangor Road
Johnstown
Wrexham
LL14 6ET

	Time and date of the detection
	07/06/2019



	b) Notification requirements for breach of a limit

	To be notified within 24 hours of detection unless otherwise specified

	Emission point reference/source
	BH HA Perimeter Gas Monitoring Points

	Parameter(s)
	Methane 

	Limit
	CH4 >1%

	Measured value and uncertainty
	See Table 1 attached

	Date and time of monitoring
	05/06/2019

	Measures taken, or intended to be taken, to stop the emission
	Perimeter Gas Monitoring will continue to be monitored in accordance with Environmental Permit PP3139GB



Part B
	Any more accurate information on the matters for notification under Part A.
	Reviewing the historic Methane data since 2015, for monitoring points listed in Table 1 (below) that breached the Methane compliance in June 2019, all have demonstrated periodic elevated Methane concentrations which have been greater than compliance limit of >1%. 

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission
	 

	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	SC5 HAF 237 – May 2019
SC5 HAF 235 – April 2019
SC5 HAF 232 – March 2019
SC5 HAF 229 – Feb 2019
SC5 HAF 227 – Jan 2019
SC5 HAF 226 – Dec 2018
SC5 HAF 222 – Nov 2018
SC5 HAF 219 – Oct 2018




	Name
	Chris Ridgway

	Post
	Environmental Data Analyst

	Date
	09.07.2019











	Sample Point
	Date
	CH4 (%)

	HAF GB03
	05/06/2019
	18.0

	HAF GB04a
	05/06/2019
	22.3

	HAF GB04b
	05/06/2019
	32.3

	HAF GB06a
	05/06/2019
	35.4

	HAF GB07a
	05/06/2019
	22.1

	HAF GB07b
	05/06/2019
	17.4

	HAF GB08
	05/06/2019
	4.9

	HAF GB09
	05/06/2019
	22.9



Table 1: Perimeter Gas Breaches (Methane) June 2019









