Gavin Griffiths                                                                          Date: 07/07/2015

Griffiths Waste Management

Former JR Steelworks

Bryntywod

Llangyfelach

Swansea

SA5 7LE

ENVIRONMENTAL PERMITTING REGULATIONS (England & Wales) (Amendment) 2013

Dear Mr. Griffiths,

Following our visit to site on Tuesday 7th July 2015 I would like to provide you with the following feedback.

As you are aware Natural Resources Wales had served a Regulation 36 Notice on Griffiths Waste Management due to continued non-compliance with the environmental permit in place. The enforcement notice (dated 10/04/2015) was served as waste was not being stored in line with the Fire Risk Assessment (a requirement of the environmental permit) for the site.

The enforcement notice stated that adjustments had to be made to ensure all wood waste stacks are separated by a horizontal distance of at least 6 meters and that this work was to be complete by 7th July 2015.

During our inspection on this date it appeared that efforts have been made to improve storage practices on site. A number of firebreaks that are compliant with the Fire Risk Assessment have been installed and the development of hardcore tracks would improve access for emergency vehicles in the event of an incident.

However, this work has not been completed and as a result this notice has not been complied with. A number of stacks were not separated by a horizontal distance of at least 6 meters. The main central body of waste which appears to be an accumulation of a number of stacks had no firebreaks. This collection of stacks measured over 89 meters in length and 55 meters in width.

Griffiths Waste Management is currently storing waste in a manner that is not compliant with the Fire Risk Assessment for the site. We are now considering an appropriate course of action to take for the failure to comply with the enforcement notice. We will also consider serving a further notice to ensure compliance with the Fire Risk Assessment and environmental permit is achieved.

Please find enclosed a Compliance Assessment Report (inspection report) summarising observations from today’s visit. If you have any questions about the inspection report or this letter then please contact me on the details below.

Yours sincerely

David Morgan

Environment Officer – South West Waste Regulatory Team

Direct dial:      03000 653 282

Direct e-mail: david.morgan@cyfoethnaturiolcymru.gov.uk