[image: image1.png]B1160000/C -4t

Rev1

Tir John Landfill Site
Area Plan

193900N

Entonmanal
i oy
o EAUL01

163800

183700N

Elcticly
sub satlon

18350N

3000697

12 andrl gas
plant compound

Tir John Landflll Site
Cells 1-4b Site Plan

12530

193800

Avea Plan Legend

Environmental Permit

Boundary (ref EAWMLI4011)

Environmental Permit
Boundary (ref TP3035LA)

—_ Approximate extent ofwaste

. Approximate extent Cels
515

Galls 1-4b Ste Plan Legend

Envionmental Permit

Area to be defilively closed

T Boundary (ref EAWML34011)

Environmental Permit
" Boundary (ref TP3035LA)

Approximate extent of waste

(Colsi-4t)

[] onmineog

Surface water attenuation
lagoon

Leachate storage reservolr

_ Approximate Call boundarles

Area to be defilively closed

catia
Area Plan

B1160000/C14b/CR_02

7






Notice of variation and consolidation with introductory note
The Environmental Permitting (England & Wales) Regulations 2010
Swansea City Waste Disposal Company Limited
Tir John Landfill (Closed Site) 
Fabian Way
Port Tennant
Swansea
SA7 9XT
Variation application number

EPR/JP3395FD/V003
Permit number

EPR/JP3395FD 

Tir John Landfill (Closed Site)
Permit number EPR/JP3395FD
Introductory note

This introductory note does not form a part of the notice.
The following notice gives notice of the variation and consolidation of an environmental permit.
This is an Environment Agency initiated variation following cessation of waste acceptance at the site.  The Operator submitted a closure report in order to progress the site into definitive closure however this has not been accepted by the Environment Agency due to a number of deficiencies. Consequently we have undertaken an Environment Agency initiated variation to include the following changes to the permit:
· Update the Waste Management Licence to modern Environmental Permitting Regulation standards;

· Update all schedules with information contained within the closure report;

· Add improvement conditions into Table S1.2 in order to progress the site towards closure; and
· Replace all conditions relating to engineering and waste acceptance for active landfills with those for closed landfills.

The schedules specify the changes made to the permit.
The status log of a permit sets out the permitting history, including any changes to the permit reference number.  
	Status log of the permit

	Description
	Date
	Comments

	Application determined 
L1 21
	30/03/85
	Permit issued to Swansea City Council.

	Transfer Application 
L1 21, SWW14L , EAWML 34011 (ERP/JP3395FD/T001)
	Determined 05/11/96
	Permit modified to Waste Management Licence and transferred to Swansea City Waste Disposal Company Limited

	Variation Application 
L1 21, SWW14L,  EAWML 34011

(EPR/JP3395FD/V002)
	Determined 31/07/00
	Variation Issued 

	Application EPR/JP3395FD/V003
(variation and consolidation)
	Duly made

06/07/12
	Agency initiated variation to vary and update the permit to modern conditions.

	Variation determined EPR/JP3395FD 
	15/03/13
	Varied and consolidated permit issued in modern condition format.


	Other Part A installation permits relating to this installation

	Operator
	Permit number
	Date of issue

	Swansea City Waste Disposal Company Limited
	EPR/TP3935LA
	12/10/07

	Infinis (Re-Gen) Limited
	EPR/BP3738LS
	30/01/07


End of introductory note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2010
The Environment Agency in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2010 varies and consolidates
Permit number

EPR/JP3395FD 
Issued to:
Swansea City Waste Disposal Company Limited (“the operator”)

whose registered office is:
The Baling Plant
Ferryboat Close
Enterprise Park
Morriston
Swansea

SA6 8QN

company registration number 02633573
to operate a regulated facility at:
Tir John Landfill (Closed Site)
Fabian Way
Port Tennant
Swansea
SA7 9XT

to the extent set out in the schedules.
The notice shall take effect from 15/03/2013
	Name
	Date

	Helen Smith
	15/03/2013


Authorised on behalf of the Environment Agency

Schedule 1 

All conditions have been varied by the consolidated permit as a result of an Environment Agency initiated variation.

Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 
	Permit


The Environmental Permitting (England and Wales) Regulations 2010

Permit number 

EPR/JP3395FD 
This is the consolidated permit referred to in the variation and consolidation notice for application EPR/JP3395FD/V003 authorising, 
Swansea City Waste Disposal Company Limited (“the operator”),
whose registered office is:
The Baling Plant
Ferrycoat Close

Entreprise Park

Morriston

Swansea

SA8 8QN
company registration number 02633573 

to operate an installation at:
Tir John Landfill (Closed Site)
Fabian Way
Port Tennant
Swansea
SA7 9XT
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Helen Smith
	15/03/2013


Authorised on behalf of the Environment Agency

Conditions 

1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances closure and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

1.1.4
The operator shall comply with the requirements of an approved competence scheme.

1.2
Energy efficiency
1.2.1
The operator shall:

(a) Review and record at least every four years whether there are suitable opportunities to improve the energy efficiency of the activities; and 

(b) Implement any appropriate measures identified by a review.

2
Operations
2.1
Permitted activities
2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”). 

2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown shaded in grey on the site plan at schedule 7 to this permit.

2.3
Operating techniques

2.3.1
(a) 
The activities shall, subject to the conditions of this permit, be operated using the 



techniques and in the manner described in the documentation specified in 
schedule 1, table S1.2, unless otherwise agreed in writing by the Environment 

Agency.

(b)
If notified by the Environment Agency that the activities are giving rise to pollution, the operator shall submit to the Environment Agency for approval within the period specified, a revision of any plan specified in schedule 1, table S1.2 or otherwise required under this permit, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by the Environment Agency.

2.4
Improvement programme

2.4.1 
The operator shall complete the improvements specified in schedule 1 table S1.3 by the date specified in that table unless otherwise agreed in writing by the Environment Agency.

2.4.2
Except in the case of an improvement which consists only of a submission to the Environment Agency, the operator shall notify the Environment Agency within 14 days of completion of each improvement.

2.5
Landfill Engineering
2.5.1
No construction of landfill infrastructure shall commence until the operator has submitted relevant construction proposals or a written request to use previous construction proposals and the Environment Agency has confirmed that it is satisfied with the construction proposals. 

2.5.2
The construction of the landfill infrastructure shall take place only in accordance with the approved construction proposals unless:

(a)
any change to the approved construction proposals would have no impact on the performance of any element of the design; or 

(b)
a change has otherwise been agreed in writing by the Environment Agency.

2.5.3
The operator shall submit a CQA Validation Report as soon as practicable following the construction of the relevant landfill infrastructure. 

2.5.4
Where pollution controls are immediately necessary to prevent an incident or accident, then conditions 2.6.1 and 2.6.2 do not apply and the relevant landfill infrastructure may be constructed, provided that the construction proposals are submitted to the Environment Agency as soon as practicable.

2.5.5
For the purpose of condition 2.6.1, the Environment Agency shall be deemed to be satisfied where it has not, within the period of four weeks from the date of receipt of the relevant construction proposals or CQA Validation Report, either:

(a)
confirmed whether or not it is satisfied; or

(b)
informed the operator that it requires further information.

2.5.6
Where the Environment Agency has required further information under condition 2.6.5(b), the Environment Agency shall be deemed to be satisfied where it has not, within the period of four weeks from the date of receipt of the further information, either:

(a) confirmed whether or not it is satisfied; or

(b) informed the operator that it requires further information.
2.6
Waste acceptance
2.6.1
No waste shall be accepted for disposal within the facility

2.6.2
Wastes shall only be accepted for recovery if: 

(a) they are listed in schedule 2, 

(b) they are not liquid waste (including waste waters but excluding sludge).

2.6.3
The operator shall visually inspect:
(a)
without unloading it, waste that is not in an enclosed container or enclosed vehicle on arrival at the landfill; and 
(b)
waste at the point of deposit; 
and shall satisfy itself that it conforms to the basic characterisation documentation submitted by the holder. 
2.6.4
The operator on accepting each delivery of waste shall provide a receipt to the person delivering it.
2.6.5
The total quantity of waste that shall be deposited in the landfill shall be limited by the final restoration contours as determined by Improvement Condition 1.3b.
2.6.6
The quantity of waste that is deposited in the landfill in any year shall not exceed the limits in schedule 1 table S1.4.
2.6.7
The operator shall maintain and implement a system which ensures that a record is made of the quantity, characteristics, date of delivery and, where practicable, origin of any waste that is received for recovery and of the identity of the producer.  Any information regarded by the operator as commercially confidential shall be clearly identified in the record.
2.7
Leachate levels
2.7.1
The limits for the level of leachate listed in schedule 3 table S3.1 shall not be exceeded. 

2.8
Closure and aftercare

2.8.1
The operator shall maintain a closure and aftercare management plan.
2.9
Landfill Gas Management

2.9.1
The operator shall take appropriate measures, including, but not limited to, those specified in any approved landfill gas management plan, to:

(a) collect landfill gas; and

(b) control the migration of landfill gas.

2.9.2
The operator shall use the collected landfill gas to produce energy. If the collected landfill gas cannot be used to produce energy, the operator shall flare or otherwise treat the gas.

2.9.3
The operator shall:

(a) if notified by the Environment Agency, submit to the Environment Agency for approval within the period specified, a revised landfill gas management plan;

(b)  implement the revised landfill gas management plan, from the date of approval, unless otherwise agreed in writing by the Environment Agency.

3
Emissions and monitoring

3.1
Emissions to water, air or land

3.1.1
There shall be no point source emissions to water, air or land except from the sources and emission points listed in schedule 3. 
3.1.2
The trigger levels for emissions into groundwater for the parameter(s) and monitoring point(s) set out in schedule 3 table S3.2 shall not be exceeded.

3.1.3
The operator shall submit to the Environment Agency a review of the Hydrogeological Risk Assessment:

(a)
between nine and six months prior to the sixth anniversary of the granting of the permit, and 

(b)
between nine and six months prior to every subsequent six years after the sixth anniversary of the granting of the permit.

3.1.4
The limits for landfill gas arising from the facility set out in schedule 3, tables S3.3 and S3.4 shall not be exceeded.

3.2 Emissions of substances not controlled by emission limits

3.2.1 Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.2.2
The operator shall:

(a)
if notified by the Environment Agency that the activities are giving rise to pollution, submit to the Environment Agency for approval within the period specified, an emissions management plan;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by the Environment Agency.

3.2.3
All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

3.3
Odour

3.3.1
Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of the Environment Agency, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour. 
3.3.2
The operator shall:

(a)
if notified by the Environment Agency that the activities are giving rise to pollution outside the site due to odour, submit to the Environment Agency for approval within the period specified, an odour management plan;

(b)
implement the approved odour management plan, from the date of approval, unless otherwise agreed in writing by the Environment Agency.

3.4
Noise and vibration
3.4.1
Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of the Environment Agency, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.

3.4.2
The operator shall:

(a)
if notified by the Environment Agency that the activities are giving rise to pollution outside the site due to noise and vibration, submit to the Environment Agency for approval within the period specified, a noise and vibration management plan;

(b)
implement the approved noise and vibration management plan, from the date of approval, unless otherwise agreed in writing by the Environment Agency.

3.5
Monitoring 

3.5.1
The operator shall, unless otherwise agreed in writing by the Environment Agency, undertake the monitoring and any other actions specified in the following tables in schedule 3 to this permit:

(a)
Leachate specified in tables S3.1 and S3.6;

(b)
Groundwater specified in tables S3.2 and S3.8;
(c)
Landfill gas specified in tables S3.3, S3.4 and S3.5; and
(e)
Surface water specified in table S3.7
3.5.2
The operator shall maintain records of all monitoring required by this permit including records of the taking and analysis of samples, instrument measurements (periodic and continual), calibrations, examinations, tests and surveys and any assessment or evaluation made on the basis of such data.

3.5.3
A topographical survey of the site referenced to ordnance datum shall be carried out:

(a)
annually, and

(b)
following closure of the landfill or part of the landfill.

The topographical survey shall be used to produce a plan of a scale adequate to show the surveyed features of the site.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

(d) be retained, unless otherwise agreed in writing by the Environment Agency, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

(i) the results of  groundwater monitoring; 

(ii) sub-surface landfill gas monitoring; 

(iii) leachate levels, quality and quantities;

(iv) landfill gas generation and collection;

(v) waste types and quantities;

(vi) the location of hazardous waste deposits; and 

(vii) the specification and as built drawings of the basal, sidewall and capping engineering systems.

4.1.2
The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by the Environment Agency. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to the Environment Agency using the contact details supplied in writing by the Environment Agency.

4.2.2 
A report or reports on the performance of the activities over the previous year shall be submitted to the Environment Agency by 31 January (or other date agreed in writing by the Environment Agency) each year.  The report(s) shall include as a minimum:

(a)
a review of the results of the monitoring and assessment carried out in accordance with this permit against the relevant assumptions, parameters and results in the risk assessments submitted in relation to this facility and any agreed amendments thereto; 

(b)
the energy consumed at the site, reported in the format set out in schedule 4 table S4.3

(c)
the annual production/treatment set out in schedule 4 table S4.2;

(d)
the topographical surveys required by condition 3.5.3 other than those submitted as part of a CQA validation report;

(e)
the volumetric difference (reported in cubic metres) between the most recent topographical survey and the previous annual topographical survey i.e. the additional volume of the landfill void that is occupied by waste;

(f)
an assessment of the settlement behaviour of the landfill body based on the difference between the most recent topographical survey and previous annual topographical survey for the areas of the landfill which did not receive waste between the surveys;
(g)
a calculation of the remaining capacity (reported in cubic metres) derived from the pre-settlement contours and the most recent topographical survey;
4.2.2
Within 28 days of the end of the reporting period the operator shall, unless otherwise agreed in writing by the Environment Agency, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

(a)
in respect of the parameters and emission points specified in schedule 4 table S4.1;

(b)
for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.4; and

(c)
giving the information from such results and assessments as may be required by the forms specified in those tables.

4.2.3
Within one month of the end of each quarter, the operator shall submit to the Environment Agency using the form made available for the purpose, the information specified on the form relating to the site and the waste accepted and removed from it during the previous quarter.

4.2.4
The operator shall, unless notice under this condition has been served within the preceding four years, submit to the Environment Agency, within six months of receipt of a written notice, a report assessing whether there are other appropriate measures that could be taken to prevent, or where that is not practicable, to minimise pollution.

4.3
Notifications
4.3.1
The Environment Agency shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or 

(c) any significant adverse environmental effects.  

4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.
4.3.3
Where the Environment Agency has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform the Environment Agency when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to the Environment Agency at least 14 days before the date the monitoring is to be undertaken.

4.3.4
The Environment Agency shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and

(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.

In any other case: 

(a) the death of any of the named operators (where the operator consists of more than one named individual);

(b) any change in the operator’s name(s) or address(es); and

(c) any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a) the Environment Agency shall be notified at least 14 days before making the change; and

(b) the notification shall contain a description of the proposed change in operation.

 4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations 
	Table S1.1 activities

	Description of specified activity and WFD Annex I and II operations 
	Limits of  activities

	D1: Deposit into or onto land (e.g. landfill)
	· No waste shall be accepted for disposal at the site.

· Management and monitoring of emissions from the closed landfill (including leachate and landfill gas). 

	R10: Land treatment resulting in benefit to agriculture or ecological improvement
	· Recovery of waste (specified within Table S2.1) for restoration above the landfill cap

	Directly Associated Activity

	Leachate management 
	Exportation of landfill leachate off site for treatment 
	Leachate arising from the closed landfill to the Tir John leachate treatment facility (EPR/TP3935LA). 

There shall be no re-circulation of leachate at the facility.

	Landfill gas utilisation
	Exportation of landfill gas off site for treatment 
	Landfill gas arising from the closed landfill to the Infinis (Re-Gen) Limited Gas Management Facility (EPR/BP3738LS)

	Landfill gas flaring
	Exportation of landfill gas off site for treatment
	Landfill gas arising from the closed landfill to the Infinis (Re-Gen) Limited Gas Management Facility (EPR/BP3738LS)

	Water discharges to controlled waters
	Discharges of site drainage from the landfill off site for storage
	Site drainage arising from the closed landfill and discharged to the Tir John surface water storage lagoon (EPR/TP3935LA)


	Table S1.2 Operating techniques

	Description
	Parts
	Date Received

	Closure Report
	Jacobs document “Environmental Permit EAWML/34011 Cells 1 to 4b Closure Report” document reference: B1160000/OP015, dated February 2012, sections: 2.1.2; 2.1.3; 2.1.4; 2.2.3; 3.1; 3.3; 3.4.2; 3.4.3; 3.6; 3.7.2; 3.7.3; 3.8; 3.9; 3.10.2; 3.10.3; 3.10.4; 3.10.5; 3.10.6; 3.11.4; 3.11.5; 4.2; 4.3; 5.


	14th February 2012

	Improvement Programme
	All reports and plans submitted and agreed with the Environment Agency as part the Improvement Programme detailed in Table S1.3.
	


	Table S1.3 Improvement programme requirements

	Reference
	Requirement
	Date

	IC1
	The operator shall produce a Hydrogeological Risk Assessment for the closed Tir John Landfill (Phase 1) in accordance with the following Environment Agency guidance:

· Horizontal Guidance Note H1 – Annex (j); 

· H1 – Technical Annex to Annex (j): Hydrogeological Risk Assessments for Landfills and the Derivation of Groundwater Control Levels and Compliance Limits.

The HRA shall have regard to the relevant comments in the letter dated 19th July 2012 (reference: L1 21  34011). 
	15/09/2015

	IC2
	The Operator shall undertake a review of the groundwater monitoring data obtained under Improvement Condition IC1.  The report  shall be forwarded to the Environment Agency for written approval and shall include include, but not be limited to the following issues:

· Based on the monitoring data, new compliance limits and control levels for groundwater parameters shall be derived for all down gradient groundwater monitoring points;

· The operator shall propose action levels for leachate quality parameters.
The above reviews shall be in  accordance with Environment Agency guidance document “H1 – Technical Annex to Annex (j): Hydrogeological Risk Assessments for Landfills and the Derivation of Groundwater Control Levels and Compliance Limits”.
	15/09/2015

	IC3a
	 The capping of the phase 1 landfill (as the area shown outlined in black on drawing reference: B1160000/C1-4b/CR_02, Rev 1) shall be undertaken and completed by the deadline specified in this table.

The final capping system shall comprise of either:

· a minimum 1 meter thick clay layer (or other low permeability material (e.g. 500mm  BES layer) emplaced in layers to achieve a hydraulic conductivity not greater than 1 x 10-9 metres per second, or; 

· a geosynthetic capping system with a hydraulic conductivity less than 1 x 10-9 metres per second;

· or a combination of both.
The Construction Quality Assurance for the capping and restoration of the phase 1 site shall be undertaken in accordance with the provisions of condition 2.5 of this permit.


	31/10/ 2016

	IC3b
	The operator shall provide a report to the Environment Agency, for written approval, which provides:

1. the design proposals for the final capping of the Phase 1 landfill. The report shall include details of  the final capping design (which will achieve the standards specified in improvement condition IC3a);

2. a phasing plan detailing the timescales for the construction of the capping system; 

3. details of a surface water management plan for the control and management of surface water during and post construction of the capping (which will include details for the control of suspended solids from the site during construction and immediate post capping period);

4. details on the volumes and types of any additional inert wastes that may be required for final capping and restoration.

The capping design shall be supported by an appropriate Stability Risk Assessment (SRA) for the Phase 1 landfill, which is to be undertaken in accordance with the following Environment Agency guidance document: “Environment Agency (2003) R&D Technical Report P1-385, The Stability of Landfill Lining Systems Report No 1 Literature Review & Environment Agency (2003) R&D Technical Report P1-385, The Stability of Landfill Lining Systems Report No 2 Recommendations”. The SRA shall also address those issues raised by the Environment Agency on the original closure report submission (see Environment Agency letter dated 19th July 2012 (reference: L1 21  34011)).
	15/03/2014

 unless otherwise agreed in writing. 

	IC4
	Upon written approval of the capping design and stability risk assessment required under Improvement Condition 3, the Operator shall submit an appropriate CQA plan for the final cap.
	4 months following the approval of IC 3b 

	IC5
	The Operator shall submit a leachate management plan to the Environment Agency for written approval which outlines proposals to improve leachate collection infrastructure at the phase 1 landfill. The leachate management plan is to include, but not be limited to the following:

· proposals for the collection and management of leachate on the southern boundary of the phase 1 landfill;

· proposals for the improved collection of leachate on the northern and eastern boundaries of the Phase 1 site; and

· proposals for the sealing of all existing leachate management and monitoring infrastructure with air tight well headworks to reduce the risk of point source emission and air ingress.
	15/03/2014

 unless otherwise agreed in writing.

	IC6
	Unless otherwise agreed in writing with the Agency the Operator shall  provide a CQA plan to the Environment Agency for written approval for the following:

· installation of one new leachate monitoring well in Cell 1b;

· installation of one new leachate monitoring well for Cell 2, and;

· refurbishment or replacement of leachate wells HWM 10 (in Cell 1a) and HWM9 (in Cell 2).

The leachate monitoring wells shall be installed within six weeks of the Environment Agency’s written approval of the CQA Plan.
	15/04/2013 

	IC7
	Unless otherwise agreed in writing with the Agency the Operator shall provide a CQA plan to the Environment Agency for written approval for the following:

· installation of the GDW 22 groundwater monitoring point;

· installation of one new groundwater monitoring point between GDW22 and GDW 21;

· installation of one new groundwater monitoring points between GDW21 and GDW 1.
The groundwater monitoring wells shall be installed within six weeks of the Environment Agency’s approval of the CQA Plan.
	15/04/2013

	IC8
	The Operator shall provide a CQA plan to the Environment Agency for written approval for the installation of LFG6, LFG2 and LFG 8 - perimeter gas monitoring points.

The perimeter gas wells shall be installed within six weeks of the Environment Agency’s written approval of the CQA Plan.
	15/04/2013

	IC9
	The operator shall provide details for the location of an additional ecological monitoring transect within Crymlyn Bog at a location on the Southern boundary of the site. 
Following approval from the Environment Agency and CCW the location shall be incorporated into the site’s monitoring programme.
	15/06/2013

	IC10
	The Operator shall forward to the Environment Agency for written approval a consolidated and updated closure report which is to include the following:

· A revised Hydrogeological Risk Assessment;

· A revised Stability Risk Assessment; 

· A revised leachate management plan; and

· A revised Landfill Gas Management Plan 

The revised closure report is to include the information obtained from improvement conditions 1 – 8.
	15/03/2015


	Table S1.4 Annual waste input limits

	Category
	Limit Tonnes/ Year

	Inert waste for engineering including cover and restoration
	Limits to be agreed in accordance with Improvement Condition IC3b.



Schedule 2 - List of permitted wastes
	Table S2.1 Permitted waste types accepted for restoration

	Waste code 1
	Description

	-
	-

	
	

	1 List of wastes to be accepted on site for restoration and engineering as per Improvement Condition IC3b


Schedule 3 – Emissions and monitoring

	Table S3.1  Leachate level limits and monitoring requirements

	Monitoring point reference/ Description
	Limit 
	Monitoring frequency
	Monitoring method

	Cell 1a: HWM10 

Cell 3: HWM7 & HWM5, 

Cell4a: HWM8, 

Cell 4b: HWM6a and HWM4

as shown on drawing reference: B1160000/C1-4_06 dated February 2012 
All additional wells to be installed under Improvement Condition IC6

	1m above cell basal liner 
	Weekly reducing to monthly upon final capping of cell, unless otherwise agreed in writing with the Environment Agency. 
	1. Accurate to + 0.01m relative to Ordnance Datum

2. Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTGN 02).


	Table S3.2  Trigger levels for emissions into groundwater and monitoring requirements

	Monitoring point reference
	Parameter
	Limit (including unit)
	Monitoring frequency
	Monitoring standard or method

	Monitoring location, parameters and limits to be agreed in writing with the Environment Agency in accordance with improvement condition IC2 of Table S1.3
	Quarterly 
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment 

Agency document “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTGN02).


	Table S3.3  Landfill gas in external monitoring boreholes – limits and monitoring requirements

	Monitoring point Ref. /description
	Parameter
	Limit (including units) 
	Monitoring frequency
	Monitoring standard or method

	LFG4, LFG6 as shown on drawing reference B1160000/C1-4/CR_06, dated February 2012
	Methane 


	1% v/v
	Monthly
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas” (LFTGN03).

	LFG5 as shown on drawing reference B1160000/C1-4/CR_06, dated February 2012
	Methane
	1.1% v/v
	
	

	LFG 8 as shown on drawing reference B1160000/C1-4/CR_06, dated February 2012
	Methane
	1.5% v/v
	
	

	LFG 1, LFG2, LFG 3,  LFG7, LFG 9 as shown on drawing reference B1160000/C1-4/CR_06 dated February 2012
	Methane
	-
	
	

	LFG 1, LFG2, LFG 3, LFG4, LFG5, LFG6,  LFG7, LFG 8, LFG 9 as shown on drawing reference B1160000/C1-4/CR_06 dated February 2012
	Carbon Dioxide
	-
	
	

	
	Oxygen
	
	
	

	
	Differential Pressure
	
	
	

	
	Temperature
	
	
	

	
	Meteorological Conditions
	
	
	

	
	Atmospheric Pressure
	
	
	

	Two external monitoring points to be agreed with the Environment Agency
	Gas chromatographic analysis
	-
	Annual
	

	Site buildings monitoring within 25 m of the waste mass

	Flammable gas
	Detectable levels
	Continuous
	-

	
	Carbon Dioxide
	-
	Monthly
	


	Table S3.4 Landfill gas from capped surfaces – limits and monitoring requirements

	Monitoring point Ref. /description
	Parameter
	Limit (including unit)
	Monitoring frequency
	Monitoring Standard or method

	Permanently capped zone
	Average Methane flux
	Where a rate of 0.001 mg/m2/second is exceeded appropriate measures must be taken to reduce the rate.
	Annually


	Flame ionisation detector walkover, flux box or as otherwise agreed in writing by the Agency1.

	Temporarily capped zone
	Average Methane flux
	Where a rate of 0.1 mg/m2/second is exceeded appropriate measures must be taken to reduce the rate.
	Annually
	Flame ionisation detector walkover, flux box or as otherwise agreed in writing by the Agency.


	Table S3.5 Landfill gas – other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method
	Other specifications

	All gas collection wells and any other (in-waste) gas monitoring points


	Methane
	Monthly unless otherwise agreed in writing with the Environment Agency
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas” (LFTGN03).
	On an annual basis the operator shall submit an up to date scale plan detailing the locations of all in-waste monitoring/ extraction points installed at the installation. Each borehole shall be referenced with a unique identifier

	
	Carbon Dioxide
	
	
	

	
	Oxygen
	
	
	

	
	Balance Gas 


	
	
	

	
	Carbon Monoxide
	
	
	

	
	Atmospheric pressure
	
	
	

	
	Differential pressure
	
	
	

	
	Meteorological Data
	
	
	

	
	Hydrogen sulphide
	Six Monthly 
	
	

	
	Water Level
	
	
	

	In-waste well location to be agreed with the Environment Agency.


	Trace Gas Analysis


	Annual
	The selection of sample point and monitoring method shall be justified in writing with reference to Environment Agency guidance document “Guidance for monitoring trace components in landfill gas” (LFTGN04).
	To be agreed in writing with the Environment Agency at least 14 days prior to taking the sample.

	Gas inlets from Phase 1 to gas utilisation plant (TIRS1100,TIRS1200,TIRS1300).
	Methane
	Monthly unless otherwise agreed in writing with the Environment Agency
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas” (LFTGN03) and “Guidance for monitoring trace components in landfill gas” (LFTGN04).
	-

	
	Carbon Dioxide
	
	
	

	
	Oxygen
	
	
	

	
	Carbon Monoxide
	
	
	

	
	Balance Gas
	
	
	

	
	Gas Flow
	
	
	

	
	Atmospheric pressure
	
	
	

	
	Differential pressure
	
	
	

	
	Meteorological Data
	
	
	

	
	Hydrogen Sulphide
	Six Monthly 
	
	

	Site buildings monitoring greater than 25 m of the waste mass

	Flammable gas (Detectable levels) & Carbon dioxide (Detectable levels)
	Monthly
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document “Guidance on the management of landfill gas” (LFTGN03).
	-

	
	
	
	
	


	Table S3.6 Leachate– other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method

	One well in each cell. Locations to be agreed with the Environment Agency
	Electrical Conductivity 
	Quarterly for first 12 month reverting to six monthly

thereafter
	In accordance with Environment Agency document “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTGN02).

	
	Ammoniacal Nitrogen 
	
	

	
	Chloride 
	
	

	
	Sodium 
	
	

	
	Temperature 
	
	

	
	pH 
	
	

	
	Potassium 
	
	

	
	Nitrite 
	
	

	
	Phenol (Monohydric) 
	
	

	
	Arsenic 
	
	

	
	BOD
	
	

	
	COD
	
	

	
	TON (oxidised- N)
	
	

	
	TOC
	
	

	
	Calcium
	
	

	
	Magnesium
	
	

	
	Alkalinity
	
	

	
	SO4
	
	

	
	Iron
	
	

	
	Manganese
	
	

	
	Cadmium
	
	

	
	Chromium
	
	

	
	Copper
	
	

	
	Nickel
	
	

	
	Lead
	
	

	
	Zinc
	
	

	
	Phenols
	
	

	
	Fluoride
	
	

	
	Mercury
	
	

	
	Nitrate 
	
	

	
	Orthophosphate 
	
	

	
	Atrazine
	
	

	
	Total petroleum hydrocarbons (using TPHWG banding) 
	Quarterly for first 12 months reverting to annual thereafter, unless otherwise agreed in writing with the Agency
	

	
	1, 2 dichloroethane 
	
	

	
	2,4,5 trichlorophenol 
	
	

	
	2,4,6 trichlorophenol 
	
	

	
	Benzene 
	
	

	
	Benzo (b) fluoranthene 
	
	

	
	Benzo(a)pyrene 
	
	

	
	Chlorobenzene 
	
	

	
	Ethyl Benzene 
	
	

	
	Indeno(1,2,3cd)pyrene 
	
	

	
	M,p-xylene 
	
	

	
	Napthalene 
	
	

	
	o-xylene 
	
	

	
	Pentachlorophenol 
	
	

	
	p-isopropyltoluene 
	
	

	
	Toluene 
	
	

	
	Tributyltin 
	
	

	
	Mecoprop 
	
	

	
	Boron
	
	

	
	Sulphate 
	
	

	
	Dichlorprop 
	
	

	
	Tributyl Phosphate
	
	

	
	Depth to Base of Monitoring Well
	
	


	Table S3.7 Surface water – other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method

	Surface Water discharges to attenuation lagoon. Location to be agreed in accordance with Improvement Condition IP3b
	Visual inspection for evidence of contamination
	Daily
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTGN02).


	
	Temperature 
	Quarterly for first three years following seeding of permanent cap, reverting to six monthly thereafter (unless otherwise agreed in writing with the Environment Agency)
	

	
	pH
	
	

	
	Dissolved Oxygen
	
	

	
	Ammoniacal Nitrogen
	
	

	
	Chloride
	
	

	
	Chemical Oxygen Demand
	
	

	
	Biological Oxygen Demand
	
	

	
	Suspended Solids
	
	

	Ecological Monitoring Transect EMT1 as shown on Drawing Reference (B1160000/OP005/02. Rev 0) dated 10th July 2009 and the new ecological monitoring transect identified by Improvement Condition IP9 submission.
	Ground level (mOD)
	Quarterly for first 12 month reverting to annually thereafter.
	Unless otherwise agreed in writing with the Environment Agency, the monitoring shall be undertaken in accordance with the Jacobs document” Ecological Monitoring Plan: Consultation Draft (Rev A), dated July 2009”.


	
	Water Level (mOD)
	
	

	
	Ammoniacal Nitrogen
	
	

	
	Nitrate
	
	

	
	Nitrite
	
	

	
	Chloride 
	
	

	
	Phosphorus (Total) 
	
	

	
	Orthophosphate
	
	

	
	pH
	
	

	
	Dissolved Oxygen
	
	

	
	Biological Oxygen Demand
	
	

	
	Sulphate
	
	


	Table S3.8 Groundwater – other monitoring requirements

	Emission point reference or source or description of point of measurement
	Parameter
	Monitoring frequency
	Monitoring standard or method

	GDW23 GDW3(S), GDW3(D) 

GDW2(S), GDW2(D) 

GDW1(S), GDW1(D), GDW22,GDW21, JB1 and JB 3 as shown on drawing b1160000/op012/cl figure 1, REV 0.
Plus additional monitoring points installed and agreed in writing with the Environment Agency in accordance with the requirements of improvement condition IP 7.
	Groundwater Level
	Monthly for first 12 months reverting to quarterly thereafter, unless otherwise agreed in writing with the Environment Agency
	Unless otherwise agreed in writing with the Environment Agency, monitoring methods used shall be in accordance with Environment Agency document  “Guidance on monitoring of landfill leachate, groundwater and surface water” (LFTGN02).


	
	Ammoniacal nitrogen
	
	

	
	COD 

	
	

	
	Redox potential (Eh) 
	
	

	
	Chloride 

	
	

	
	BOD 
	
	

	
	Dissolved oxygen (DO)
	
	

	
	Nitrate 

	
	

	
	TOC
	
	

	
	Nitrite 

	
	

	
	pH 

	
	

	
	Temperature
	
	

	
	Orthophosphate, reactive as P
	
	

	
	Electrical Conductivity
	
	

	
	Sodium
	
	

	
	Potassium
	
	

	
	Iron
	
	

	
	Manganese
	
	

	
	Mercury
	
	

	
	Arsenic
	
	

	
	Alkalinity 
	Six Monthly for first 12 months, reverting to annual thereafter.
	

	
	Calcium (dissolved) 
	
	

	
	Magnesium (dissolved) 
	
	

	
	Sulphate (dissolved) 
	
	

	
	Cadmium (dissolved) 
	
	

	
	Zinc (dissolved) 
	
	

	
	Mecoprop 
	
	

	
	Tributylphosphate
	
	

	
	Hazardous Substance suite (To be agreed with Environment Agency).
	
	

	
	Well base  
	Annual
	


Schedule 4 - Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameter
	Emission or monitoring point/reference
	Reporting period
	Period begins

	Leachate levels 

As required by condition 3.5.1
	Cell 1a: HWM10 & HWM5  

Cell 3: HWM7, 

Cell4a: HWM8, 

Cell 4b: HWM6a & HWM4 and all subsequent points installed. 
	Every 3 months
	1 January, 1 April, 1 July, 1 October

	Groundwater

Parameters as required by condition 3.5.1
	JB1, GDW23 GDW3(S), GDW3(D) 

GDW2(S), GDW2(D) 

GDW1(S), GDW1(D), GDW22,GDW21
Plus additional monitoring points installed and agreed in writing with the Environment Agency.
	Every 3 months
	1 January, 1 April, 1 July, 1 October

	Landfill gas lateral migration

Parameters as required by condition 3.5.1
	LFG 1, LFG2, LFG3, LFG4, LFG5, LFG6, LFG7, LFG8, LFG9
	Every 3 months
	1 January, 1 April, 1 July, 1 October

	Landfill gas surface emissions 

Parameters as required by condition 3.5.1
	
	Every 12 months
	1 January

	Other Landfill gas monitoring

Parameters as required by condition 3.5.1
	
	Every 3 months
	1 January, 1 April, 1 July, 1 October

	Other leachate monitoring

Parameters as required by condition 3.5.1

Hazardous substances Screen
	
	Every 3 months
	1 January, 1 April, 1 July, 1 October

	
	
	Every 12 months
	1 January 

	Other surface water monitoring

Parameters as required by condition 3.5.1
	
	Every 3 months
	1 January, 1 April, 1 July, 1 October

	Other groundwater monitoring

Parameters as required by condition 3.5.1
	
	Every 3 months
	1 January, 1 April, 1 July, 1 October


	Table S4.2: Annual production/treatment

	Leachate:

Disposed of off site;

Disposed of to any onsite effluent treatment plant;


	Cubic metres/year

	Surface water and/ or groundwater:

Disposed of off site;

Disposed of to any onsite effluent treatment plant.
	Cubic metres/year


	Table S4.3 Performance Parameters

	Parameter
	Frequency of assessment
	Annual total
	Unit

	Energy used (including for leachate treatment)
	Annually
	
	MWh of electricity


	Table S4.4 Reporting Forms

	Media/parameter
	Reporting Format
	Date of Form

	Leachate
	Form leachate 1 or other reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY

	Air
	Form Air 1 or other reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY

	Controlled water
	Form Water 1 or other reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY

	Groundwater
	Form Groundwater 1 or other reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY

	Sewer
	Form Sewer 1 or other reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY

	Landfill gas
	Form LFG 1 or other reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY

	Waste Return
	Waste Return Form RATS2E
	DD/MM/YY

	Landfill topographical surveys and interpretation
	Reporting format to be agreed in writing with the Environment Agency
	DD/MM/YY


Schedule 5 - Notification 

This page outlines the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A 
	Permit Number
	

	Name of operator
	

	Location of Facility
	

	
	

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and Time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of  release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B to be supplied as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator

Schedule 6 - Interpretation 

“Accident” means an accident that may result in pollution.

“Annually” means once every year.
“Application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

 “Authorised officer” means any person authorised by the Environment Agency under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“Background concentration” means such concentration of that substance as is present in: 

· For emissions to surface water, the surface water quality up-gradient of the site; or 

· For emissions to sewer, the surface water quality up-gradient of the sewage treatment works discharge; or

· For emissions of landfill gas, the ground or air outside the site and not attributable to the site.
“BES” means Bentonite Enriched Soils.

“Cell layout drawing” means:

(a) A drawing or drawings of the proposed new cell that illustrate(s) in sufficient detail:

i. the location of the new cell on the site;

ii. the proposed level (Above Ordnance Datum) of the base of the excavation;

iii. the proposed finished levels of all containment and leachate drainage layers;

iv. the positions of leachate management infrastructure; and

v. the positions of landfill gas infrastructure (if appropriate).

(b) A detailed written explanation of any minor design changes from the most recently approved cell that result from the new cell layout.  This would include, for example:

i. changes to slope length and gradient within the cell;

ii. new leachate or landfill gas infrastructure construction design;

iii. slope stability issues such as new basal excavation level; and/or

iv. depth of waste.

“Construction Proposals” means written information, at a level of detail appropriate to the complexity and pollution risk, on the design, specifications of materials selected, stability assessment (where relevant) and the construction quality assurance (CQA) programme in relation to the New Cell or Landfill Infrastructure.

“CQA Validation Report” means the final “as built” construction and engineering details of the New Cell or of the Landfill Infrastructure.  It must provide a comprehensive record of the construction and must include, where relevant: 

· The results of all testing required by the CQA programme - this must include the records of any failed tests with a written explanation, details of the remedial action taken, referenced to the appropriate secondary testing; 

· Plans showing the location of all tests; 

· “As-built” plans and sections of the works; 

· Copies of the site engineer’s daily records; 

· Records of any problems or non-compliances and the solution applied; 

· Any other site specific information considered relevant to proving the integrity of the New Cell or Landfill Infrastructure; 

· Validation by a qualified person that all of the construction has been carried out in accordance with the Construction Proposals.

“Emissions to land” includes emissions to groundwater.

“Emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission limit..

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2010 No.675 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“Groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“Landfill Infrastructure” means any specified element of the:

· permanent capping; 

· temporary capping (i.e. engineered temporary caps not cover materials); 

· leachate abstraction systems; 

· leachate transfer, treatment and storage systems; 

· surface water drainage systems; 

· leachate monitoring wells; 

· groundwater monitoring boreholes; 

· landfill gas monitoring boreholes; 

· landfill gas management systems;

· lining within the installation. 

within the site.

 “Liquids” means any liquid other than leachate within the engineered landfill containment system.

“LFTGN 05” means Environment Agency Guidance for monitoring enclosed landfill gas flares.

“LFTGN 07” means Environment Agency Guidance on monitoring landfill gas surface emissions.

“LFTGN 08” means Environment Agency Guidance for monitoring landfill gas engines..

“MCERTS” means the Environment Agency’s Monitoring Certification Scheme.

“Medicinal product” means any medicine licensed by the Medicines and Healthcare products Regulatory Agency (MHRA) of their predecessors under the Medicines Act 1968, section 130.

“M2” means Environment Agency Guidance Monitoring of stack emissions to air.

“New Cell” means any new cell, part of a cell or other similar new area of the site where waste deposit is to commence after issue of this permit and can comprise:

· groundwater under-drainage system; 

· permanent geophysical leak location system; 

· leak detection layer; 

· sub-grade; 

· barriers; 

· liners; 

· leachate collection system; 

· leachate abstraction system; 

· separation bund/layer; 

· cell or area surface water drainage system;

· side wall subgrade and containment systems; 

for the New Cell.

“No impact” means that the change made to the construction process will not affect the agreed design criteria, specification or performance in a way that has a negative effect.

“Pests” means Birds, Vermin and Insects.

“Quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.
“Review of the Hydrogeological Risk Assessment” means a written review of the hydrogeological risk assessment included in the Application, together with any other parts of the Application that addressed the requirements of the EP Regulations.  The review shall assess whether the activities of disposal or tipping for the purpose of disposal of waste authorised by the permit continue to meet the requirements of the EP Regulations.

“Waste code” means the six digit code referable to a type of waste in accordance with the List of Wastes (England)Regulations 2005,  or List of Wastes (Wales) Regulations 2005, as appropriate, and in relation to hazardous waste, includes the asterisk.
“Waste Framework Directive” or “WFD” means Waste Framework Directive 2008/98/EC of the European Parliament and of the Council on waste.

Where a minimum limit is set for any emission parameter, for example pH, reference to exceeding the limit shall mean that the parameter shall not be less than that limit. 

Unless otherwise stated, any references in this permit to concentrations of substances in emissions into air means the standards included in Environment Agency Guidance for Monitoring Enclosed Landfill Gas Flares LFTGN 05 or Guidance for Monitoring Landfill Gas Engine Emissions LFTGN 08.
 “Year” means calendar year ending 31 December.

Schedule 7 - Site plan

[image: image2.jpg]Environment
W Agency




END OF PERMIT

	Variation and consolidation application number  EPR/JP3395FD/V003
	Page i
-  -
- i -
- i -i
	Swansea City Waste Disposal Company Limited, Tir John Landfill (Closed Site)


PAGE  
	Variation and consolidation application number  EPR/JP3395FD/V003
	Page 2
-  -
- 2 -
- 2 -2
	Swansea City Waste Disposal Company Limited, Tir John Landfill (Closed Site)



