	Pic Up Spares
	Water Pollution Control
	Instruction Number : EI-06

Revision Number : 1 

Date : 25-03-2017



	Pic Up Spares

	

	Environmental Instruction

Water Pollution Control

(EI-02)

	

	Revision No. : 1

	Date : 25-03-2017


	Prepared by :
	Andrea Boycott

	
	

	Approved by : 
	Marc Swain

	
	


Revision History

	Revision Date
	Description
	Sections Affected
	Revised By
	Approved By

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


1.0 Purpose

Main buildings water from toilets, sinks etc is linked to sewers. Yard area is covered by interceptors that serve separate oil from contamination with waterways. These are checked daily for cracks or leakage. Fully concreted yards that stop fluids draining into soil or ground and impermeable pavements. All yards are checked daily and monthly for leakages, cracks or damage.
2.0 Scope

Daily records are kept in all yards which are also updated daily.
3.0 Procedure

Inceptors are in place to collect oil and fluids and water is then drained into storm water drains which have been correctly instructed by water board. These are checked daily and monthly
4.0 Monitoring and Checking

Daily check undertaken as shown in 
5.0 Records

(Appendix

	
	Page 2
	



