	SWP004 – Waste Acceptance Procedures

	Issue:
	1
	Date:
	06/10/2016

	Written/Revised By:
	David Alcock
	Approved By:
	Julian Jones


1. 
Purpose

1.1 To ensure that the site complies with the environmental permitting regulations.
2. 
Responsibility
2.1. It is the responsibility of the site manager to ensure this procedure is implemented & followed.
3. 
Waste Acceptance Procedures 
3.1
The site engineer shall inspect all waste received.

3.2
Any event of non-conforming materials being present this must be reported immediately to the site manager.
3.3
Non-conforming materials not covered by the environmental permit or exemptions must be rejected following the “Rejecting Waste Procedure”
3.4
Any non-conforming material, not capable of being re=processed, which is found after delivery must be quarantined and removed by an appropriate carrier to an appropriate waste licenced facility.
3.5
Ensure appropriate PPE is worn at all times.

4. 
Reporting & Records 
4.1

Incidents to be noted in the site diary and incident log book.

4.2
Any incident or breach of this procedure must be reported immediately to the site manager.
1 of 1

