	SWP013 – Noise Minimisation

	Issue:
	1
	Date:
	06/10/2016

	Written/Revised By:
	David Alcock
	Approved By:
	Julian Jones


1. 
Purpose

1.1 To ensure a nuisance is not created by operational noise.
2. 
Responsibility
2.1. It is the responsibility of site manager to ensure this procedure is implemented & followed.
3. 
Noise Control Measures 
3.1
Vehicles and plant are only to be operated within the site within normal working hours.
3.2
Vehicles must switch engines off whilst waiting to unload.
3.3
Suppression to be used on any plant operated in the site to lower noise transmission and to reduce vibration.
4. 
Reporting & Records 
4.1

Incidents of noise occurring to be noted in the site diary and incident log book.

4.2
Any incident or breach of this procedure must be reported immediately to the site manager.
1 of 1

