# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Mirianog Fach, Crosswell, Crymych, SA41 3SB operated by Mrs Georgie Tuson.

The application number is PAN-016018.

The permit number is EPR/CB3495ZG.

The permit regulates a new bespoke discharge from a Wastewater Treatment System serving a single domestic property at Mirianog Fach, Crosswell, Crymych, SA41 3SB.

The operator, Mrs Georgie Tuson, proposes a maximum of 1.0 m3/day of secondary treated domestic effluent to be discharged into a tributary of the Afon Nyfer.

The discharge will be treated in a British Standard Package Treatment Plant (Biological Filtration) with the following treatment efficiencies: COD 56 mg/l, BOD 11 mg/l, SS 16 mg/l and NH4 5.9mg/l.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail |  | Criteria met |
| --- | --- | --- | --- |
|  |  |  | Yes |
| Consultation |  |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  | ü |
| ### Responses to web publicising | There were no responses to the web publicising relating to this application. The decision was taken in accordance with our guidance. |  | ü |
| Operator |  |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  | ü |
| European Directives |  |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  | ü |
| The site |  |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the site has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. Appendix 4 was completed but the proposed discharge is not likely to damage the SSSI (Mynydd Preseli SSSI) as there is no impact pathway i.e. not hydrologically connected. We have not formally consulted on the application. The decision was taken in accordance with our guidance. |  | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | A full HRA is not required because there is no conceivable impact pathway to the SAC. This project was screened out at staged 2.3 of the OGN 200 Form the reasons are below; The discharge is being made to a tributary of the Afon Nyfer located outside of the SSSI boundary with no hydrological connectivity as the watercourse flows away from the site. The discharge point is also approximately 460m downstream of the designated site boundary. The installation of the Wastewater Treatment System (Biological Filtration) is the following effluent quality, COD 56mg/l, BOD 11 mg/l, SS 16 mg/l and NH4 5.9mg/l. This system exceeds the standards set by BS12566. The small volume of a maximum 1.0m3/day and the BS level of treatment the effluent will receive will not lead to any degradation to the water quality of the receiving watercourse. |  | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. |  | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  | ü |
| The permit conditions |  |  |  |  |
| Considerations of foul sewer |  | We agree with the operators justification for not connecting to foul sewer. | ü |  |
| Operator Competence |  |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  | ü |
| Environment Wales Act 2016 |  |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a water discharge activity permit under EPR2016. |  | ü |