Environmental Permitting (England and Wales) Regulations 2016

Regulation 36

ENFORCEMENT NOTICE TO TAKE SPECIFIED STEPS IN RELATION TO A BREACH/ANTICIPATED BREACH OF PERMIT CONDITION(S)

To:	T.M. Wiberg

1304 Carmarthern Road

Fforestfach

Swansea

SA5 4BP

Environmental permit: EPR/GP3193MV

Regulated facility: M&R Commercials Plots P & W St Davids Road, Nant Y Felin, Swansea Industrial Park, Fforestfach, Swansea SA5 4HG

Natural Resources Wales considers that the following conditions of the environmental permit are being contravened:

1.1 - General Management

    - The operator shall manage and operate the activities:

- In accordance with a written management system that identifies and minimises the risk of pollution, including those arising from operations, maintenance, accidents, incidents, nonconformances, closure and those drawn to the attention of the operator as a result of complaints; and

- Using sufficient competent persons and resources.

    - Records demonstrating compliance with rule 1.1.1 shall be maintained.

Because

The Accident Management Plan within the Enviromental Management Sytem requires a drainage plan of the the whole site.  You have been asked to investigate the drainage of the whole site and provide a copy of the drainage report to Natural Resources Wales.   You have failed to fully complete this task.

3.4 Fire

3.4.1	The operator shall manage and operate the activities in accordance with a written fire prevention plan using the current, relevant fire prevention plan guidance.

Because

The rule set for the Standard Rules SR2011No3 has been amended and requires the production of a written fire prevention plan and a copy provided to Natural Resources Wales.  You have not provided a copy of a fire prevention plan.

You are required to take the steps set out in Schedule 1 by the date specified in order to remedy the contraventions.

Date: .........................................       Signed: .................................................................

J Willington

Team Leader SW Waste Team

Natural Resources Wales

Llys Afon

Hawthorn Rise

Haverfordwest

Pembrokeshire

SA61 2BQ

Please see over for notes.

Environmental Permitting (England and Wales) Regulations 2016

Regulation 36

Notes:

General

- Failure to comply with this notice is an offence under Regulation 38(3) of the Environmental Permitting (England and Wales) Regulations 2016 and may result in legal action being taken against you.

- Without prejudice to the requirements of this notice, failure to comply with a condition of an environmental permit is an offence and may result in legal action being taken against you.

- You may wish to seek independent legal advice.

Appeal provisions

You are entitled to appeal against this notice under Regulation 31(1)(f) of the Environmental Permitting (England and Wales) Regulations 2016.  Notice of appeal must be made within two months of the date of this notice.  An appeal does not affect the requirements of this notice.

You must send written notice of the appeal and the documents listed below to:

The Planning Inspectorate

Crown Building

Cathays Park

CARDIFF

CF10 3NQ

Tel: 029 2082 3866

Email: wales@pins.gsi.gov.uk

Website: http://www.planningportal.gov.uk/planning/appeals

At the same time you must send a copy of the appeal notice and documents to Natural Resources Wales.

The required documents are:

- A statement of the grounds of appeal

- A copy of any relevant application

- A copy of any relevant environmental permit

- A copy of any relevant correspondence between the appellant and the regulator

- A copy of any decision or notice which is the subject matter of the appeal

- A statement indicating whether you wish the appeal to be in the form of a hearing or dealt with by way of written representations.

You may withdraw an appeal by notifying The Planning Inspectorate in writing and sending a copy of that notification to Natural Resources Wales.  Further information about making an appeal and the forms that you will need are available from The Planning Inspectorate detailed above.

Legislation note

In this document “Natural Resources Wales” means the Natural Resources Body for Wales established by Article 3 of the Natural Resources Body for Wales (Establishment) Order 2012.  On 01 April 2013 the Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

Environmental Permitting (England and Wales) Regulations 2016

Regulation 36

| SCHEDULE 1 STEPS TO BE TAKEN |  |  |
| --- | --- | --- |
| Condition number | Steps to be taken | By date |
| 1.1.1 & 1.1.2 | Site drainage must be assessed by a suitably qualified person to determine the pathway from leaks and spillages, surface water and fire fighting water. A drainage report of the whole site must include permeability and fall of the ground, noting the drains and where they drain to | 01 May 2018 |
| 3.4.1 | Provide a written fire prevention plan using the current, relevant fire prevention plan guidance. Please see link for fire prevention and mitigation guidance: https://naturalresources.wales/guidance-and-advice/environmental-topics/consultations/our-own-consultations-closed/informal-consultation-fire-prevention-mitigation-plan-guidance-waste-management/?lang=en | 01 May 2018 |