Deborah Attewell

Lorey Metals                                                                                                                Date: 09/12/2014

Unit 8

Ferryboat Close

Swansea

SA6 8QN

Dear Debbie,

Following my visit to site yesterday I would like to provide you with the following feedback.

The purpose of the visit to site yesterday was to assess compliance with the Regulation 36 Notice that has been served on you. As you are aware the notice was served as a result of the ongoing non-compliance with the environmental permit (EAWML 900020) at Lorey Metals, Unit 8, Ferryboat Boat Close, Swansea, SA6 8QN.

The notice required a number of steps to be taken to achieve compliance with the notice and environmental permit. The scheduled step required to be completed by yesterday (8th December 2014) was to “remove all waste from areas of the site where there is unmade ground and there is no sealed drainage system”.

I can confirm that this request was not met and you have failed to comply with this step of the notice. During the site visit yesterday large volumes of scrap metal were being stored on unmade ground. There was also signs of land contamination with a number of pools of water/oil present on site.

As with my last visit to assess compliance with scheduled steps of the notice (20th October 2014) we will now consider an appropriate line on action to take.

Please be aware that the final step to be taken on the notice is to “install a sealed drainage system with impermeable surfaces to all areas of the site where waste is stored”. Natural Resources Wales officers will visit the site on 2nd February 2015 to assess compliance with this step of the notice. We will then review the notice in its entirety and then decide what enforcement action will be taken.

You must ensure that all waste is removed from areas of the site where there is no impermeable surface and sealed drainage system. You must also ensure any areas of the site that store waste benefits from an impermeable surface and sealed drainage system.

If you have any questions regarding this letter or the enforcement notice in place please contact me on the details below.

Yours sincerely

David Morgan

Environment Officer – Swansea Environment Management Team

Direct dial:      01792 325651

Direct e-mail: david.morgan@cyfoethnaturiolcymru.gov.uk