Rest

Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016

South West Wood Products Limited

Alexandra Docks

East Way Road

Newport

NP20 2NP

Permit number

EPR/QB3093HE

Alexandra Docks

Permit number EPR/QB3093HE

Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows.

This is a tier 3 bespoke permit for the storage and treatment of waste wood prior to recovery, and the storage of baled Refuse Derived Fuel (RDF).

Treatment operations are limited to manual sorting, bulking up, shredding, chipping, and screening of wood and metal waste. No treatment of the baled RDF is permitted other than bulking up for onward transport. All treatment is for recovery only.

Permitted waste types are wood, metal and baled Refuse Derived Fuel (RDF).

The maximum quantity of waste accepted and processed on site shall not exceed 150,000 tonnes per year.

Relevant storage and treatment capacity thresholds have been included in the permit to reflect the legal waste facility operational limits; above which, the site would be operating as an Industrial Emissions Directive installation. (See Table S1.1 for relevant limits.)

Drainage from areas of the site used in connection with the storage and/or treatment of waste shall be collected in a sealed sump, controlled by the use of a drain bung, before being tankered off-site. Drainage liquid collected in the sealed sump may also be used for dust suppression on the site, where suitable. This discharge and re-use is controlled via the ‘emissions of substances not controlled by emission limits’ condition, relevant measures incorporated in Table S1.2 (Operating techniques) and the operator’s environment management systems.

Clean surface water from roofs, or from areas of the site that are not being used in connection with storing and treating waste, may be discharged directly to surface waters, or to groundwater by seepage through the soil via a soakaway.

All emissions from the activity which are not controlled via actual emission limits, are controlled through the ‘emission of substances not controlled by emission limits condition’ and any all relevant process requirements set out in Tables S1.1 and S1.2.

The burning of any wastes, either in the open, inside buildings or in any form of incinerator is not permitted.

The status log of the permit sets out the permitting history, including any changes to the permit reference number.

| Status log of the permit |  |  |
| --- | --- | --- |
| Description | Date | Comments |
| Permit issued EPR/PB3333DH (EAWML 400181) | 17/10/13 | Tier 3 bespoke permit for a waste transfer station for the storage and bulking up of wood waste for onward transport issued to Bowergy B V. |
| Variation determined EPR/PB3333DH/V002 | 15/10/14 | Varied permit to include storage of RDF and increase the throughput to 140,000 tonnes a year. |
| Transfer determined EPR/QB3093HE/T001 | 05/03/15 | Full transfer of permit to South Wales Wood Recycling Limited complete. |
| Variation determined EPR/QB3093HE/V002 | 20/05/15 | Varied permit to treat waste wood for recovery prior to being transported off site issued |
| Part Transfer determined EPR/QB3093HE/T003 | 22/01/18 | Part transfer from South Wales Wood Recycling Limited to Associated British Ports issued (EPR/AB3699FY) |
| Transfer determined EPR/QB3093HE/T004 | 08/11/18 | Transfer of permit in full to South West Wood Products Limited. |
| Variation application EPR/QB3093HE/V005 | Duly Made 26/03/19 | Operator led variation to: - increase throughput to 150,000 tonnes per annum - add EWC code 19 12 02 and 19 12 03 The permit has also been consolidated. |
| Additional information received in response to Schedule 5 notice | 16/04/19 | Consisting of: - amended Fire Prevention and Mitigation Plan - amended site layout plan |
| Variation issued EPR/QB3093HE | 07/05/19 | Varied and consolidated permit issued. |

End of introductory note

Permit

The Environmental Permitting (England and Wales) Regulations 2016

Permit number

EPR/QB3093HE

The Natural Resources Body for Wales (“Natural Resources Wales”) authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016

South West Wood Products Limited (“the operator”),

whose registered office is

Clifton Moor

Clifton

Penrith

Cumbria

CA10 2EY

company registration number 06880439

to operate waste operations at

Alexandra Docks

East Way Road

Newport

NP20 2NP

to the extent authorised by and subject to the conditions of this permit.

| Name | Date |
| --- | --- |
| Huw Davies | 07/05/2019 |

Authorised on behalf of Natural Resources Wales

Conditions

# Management

## General management

### The operator shall manage and operate the activities:

#### in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances, closure and those drawn to the attention of the operator as a result of complaints; and

#### using sufficient competent persons and resources.

### Records demonstrating compliance with condition 1.1.1 shall be maintained.

### Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it kept at or near the place where those duties are carried out.

### The operator shall comply with the requirements of an approved competence scheme.

## Avoidance, recovery and disposal of wastes produced by the activities

### The operator shall take appropriate measures to ensure that:

### the waste hierarchy referred to in Article 4 of the Waste Framework Directive is applied to the generation of waste by the activities; and

### any waste generated by the activities is treated in accordance with the waste hierarchy referred to in Article 4 of the Waste Framework Directive; and

### where disposal is necessary, this is undertaken in a manner which minimises its impact on the environment.

### The operator shall review and record at least every four years whether changes to those measures should be made and take any further appropriate measures identified by a review.

# 2	Operations

2.1	Permitted activities

### 2.1.1	The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”).

## 2.2	The site

2.2.1	The activities shall not extend beyond the site, being the land shown edged in green on the site plan at schedule 7 to this permit.

## 2.3	Operating techniques

#### 2.3.1	(a)	The activities shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.

#### (b)	If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan, and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

### 2.3.2	Waste shall only be accepted if:

### (a)	it is of a type and quantity listed in schedule 2 table(s) S2.1 [, S2.2 etc.]; and

### (b)	it conforms to the description in the documentation supplied by the producer and holder.

## 2.4	Improvement programme

### 2.4.1	The operator shall complete the improvements specified in schedule 1 table S1.3 by the date specified in that table unless otherwise agreed in writing by Natural Resources Wales.

### 2.4.2	Except in the case of an improvement which consists only of a submission to Natural Resources Wales, the operator shall notify Natural Resources Wales within 14 days of completion of each improvement.

# 3 	Emissions and monitoring

## 3.1	Emissions of substances not controlled by emission limits

### Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.1.2	The operator shall:

#### (a)	if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

#### (b)	implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

## 3.2	Odour

#### 3.2.1	Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour.

3.2.2	The operator shall:

#### (a)	if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to odour, submit to Natural Resources Wales for approval within the period specified, an odour management plan which identifies and minimises the risks of pollution from odour;

#### (b)	implement the approved odour management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

## 3.3	Noise and vibration

#### 3.3.1	Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.

3.3.2	The operator shall:

#### (a)	if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to noise and vibration, submit to Natural Resources Wales for approval within the period specified, a noise and vibration management plan which identifies and minimises the risks of pollution from noise and vibration;

#### (b)	implement the approved noise and vibration management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

## 3.4	Pests

3.4.1	The activities shall not give rise to the presence of pests which are likely to cause pollution, hazard or annoyance outside the boundary of the site. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved pests management plan, have been taken to prevent or where that is not practicable, to minimise the presence of pests on the site.

3.4.2	The operator shall:

(a)	if notified by Natural Resources Wales, submit to Natural Resources Wales for approval within the period specified, a pests management plan which identifies and minimises risks of pollution, hazard or annoyance from pests;

(b)	implement the pests management plan, from the date of approval, unless otherwise agreed in writing by Natural resources Wales.

## 3.5	Fire

3.5.1	The operator shall manage and operate the activities in accordance with a written fire prevention plan using the current, relevant fire prevention plan guidance.

3.5.2	The operator shall:

(a)	if notified by Natural Resources Wales that the activities could cause a fire risk, submit to Natural Resources Wales a fire prevention plan which identifies and minimises the risks of fire;

(b)	Operate the activity in accordance with the fire prevention plan, from the date of submission, unless otherwise agreed in writing by Natural Resources Wales.

# 4	Information

## 4.1	Records

### All records required to be made by this permit shall:

### be legible;

### be made as soon as reasonably practicable;

### if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

### be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

- off-site environmental effects; and

- matters which affect the condition of the land and groundwater.

4.1.2	The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales.

## 4.2	Reporting

4.2.1	The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

### 4.2.2	Within one month of the end of each quarter, the operator shall submit to Natural Resources Wales using the form made available for the purpose, the information specified on the form relating to the site and the waste accepted and removed from it during the previous quarter.

## 4.3	Notifications

### 4.3.1	Natural Resources Wales shall be notified without delay following the detection of:

### any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

### the breach of a limit specified in the permit; or

### any significant adverse environmental effects.

### 4.3.2	Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

### 4.3.3	Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

### 4.3.4	Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

#### any change in the operator’s trading name, registered name or registered office address; and

#### (b)	any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

#### any change in the operator’s name or address; and

#### any steps taken with a view to the dissolution of the operator.

#### In any other case:

#### the death of any of the named operators (where the operator consists of more than one named individual);

#### any change in the operator’s name(s) or address(es); and

#### any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

### 4.3.5	Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

### Natural Resources Wales shall be notified at least 14 days before making the change; and

### the notification shall contain a description of the proposed change in operation.

## 4.4	Interpretation

### 4.4.1	In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

### 4.4.2	In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone.

Schedule 1 - Operations

| ### Table S1.1 activities |  |  |
| --- | --- | --- |
| ### Activity reference | ### Description of activities for waste operations | ### Limits of activities |
| ### A1: ### waste transfer station and RDF storage facility | ### R13: ### Storage of waste pending any of the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where it is produced) ### R3: Recycling/reclamation of organic substances which are not used as solvents ### R4: Recycling/reclamation of metals and metal compounds ### R5: Recycling/reclamation of other inorganic compounds | ### All storage and treatment of waste shall take place on an impermeable surface with drainage to sealed sump. ### Drainage liquid from the sealed sump may be re-used for dust suppression on the site where suitable. ### Treatment operations shall be limited to: ### - manual sorting ### - bulking up ### - shredding ### - chipping ### - screening ### of permitted waste only. ### Pre-treatment of non-hazardous waste for incineration or co-incineration for the purpose of recovery shall not exceed 75 tonnes per day at the site (under the R3 activity). ### There shall be no treatment of Refuse Derived Fuel (RDF) waste (19 12 10) except the bulking up of baled RDF ready for onward transport. ### Bailed RDF waste shall be stored in a building or outside, on an impermeable surface with sealed drainage. ### Maximum amount of RDF waste stored on site shall not exceed 5,000 tonnes at any one time. ### Only waste types as specified in Table S2.1 shall be accepted. |

| ### Table S1.2 Operating techniques |  |  |
| --- | --- | --- |
| ### Description | ### Parts | ### Date Received |
| ### Guidance note ‘How to comply with your environmental permit’ | ### All relevant parts as set out in the document | ### N/A |
| ### Pollution Prevention Guidelines - Incident Response Planning: PPG 21 | ### All relevant parts as set out in the document | ### N/A |
| ### Pollution Prevention Guidelines - Managing Fire Water and Major Spillages: PPG18 | ### All relevant parts as set out in the document | ### N/A |
| Application ### – supporting documents ### (EPR/PB3333DH/A001) | ### Environmental Management System Summary (Issued March 2013, Version 1.0) submitted in response to question 3d, Part B2 of the application form - Table 7 Accident/incident plan (all parts) | ### 02/04/13 ### (received in Natural Resources Wales – via original submission to the Environment Agency on 28/03/13) |
|  | ### Non-Technical Summary (Issued March 2013) submitted ### in response to question 6c, Part B2 of the application form: - ENVIRONMENTAL CONTROLS & PRECAUTIONS- Section 2. Fire Prevention (all parts) |  |
|  | ### Dust Risk Assessment (Submission Version 28/03/13) submitted in response to question 7, Part B2 of the application form: - Section 4. Mitigation: Table 2: Dust Mitigation Measures |  |
|  | ### Environmental Incident Response Plan (Issued March 2013, Version 1.0) - All parts |  |
| ### Application variation - ### supporting documents ### (EPR/PB3333DH/V002) | ### RDF Management & Monitoring Plan (Issued April 2014, Version: 1.2) submitted in response to question 2b, Part C2 of the application form: - Section 1. Stock Rotation System - Section 2. RDF Wrapping Monitoring System - Section 3. Storage Areas/ Containers Including Drainage - Section 4. Audit trail Monitoring - Section 5. Fire Plan | ### 11/04/14 |
| ### Application variation - ### response to the Schedule 5 notice ### (EPR/PB3333DH/V002) | ### Email response received on 25th August 2014 - Bowergy Newport Schedule 5 Notice response V1250814 - RDF Management & Monitoring Plan, Version 1.3, August 2014 - Environmental Incident Response Plan, V1.2, 250814 August 2014 - Bowergy Newport Fire Response Plan, V1.0, 250814 | ### 25/08/14 |
| ### Application variation – supporting documents ### (EPR/QB3093HE/V002) | ### Appendix 3: Dust Management and Monitoring Methodology, ref 10921 DMMM v1.0 ### 3.1.3 - Physical Mitigation Measures - 3.1.3.2 Process Equipment - 3.1.3.3 Dust Suppression Netting - 3.1.4 Water Dust Suppression System ### 3.2 Monitoring - 3.2.1 Monitoring Stations - 3.2.2 Ongoing Site Inspections ### 3.3 Complaints | 16/01/15 |
| ### Application variation - responses to Schedule 5 notice ### (EPR/QB3093HE/V002) | - SWWR RA wood processing (updated January 2011 version) - Environmental Risk Assessment – Waste Operation: Treatment and Export Waste Wood | ### 22/04/15 |
| ### Sector Guidance Note IPPC S5.06: Guidance for the Recovery and Disposal of Hazardous and Non-Hazardous Waste | ### All relevant sections | ### N/A |
| ### Fire prevention and mitigation plan guidance - Waste | ### All relevant sections | ### N/A |
| ### Fire prevention and mitigation plan for activities permitted prior to the issue of EPR/QB3093HE/V005 | ### All relevant sections | ### In line with IPC 1 |
| ### Application variation - responses to Schedule 5 notice ### (EPR/QB3093HE/V005) | ### Fire Prevention and Mitigation Plan. Document Reference: 2158A/FPMP v1.4. Sections: - 2.3 daily acceptance tonnages- metal wastes only - 2.20 form of metal to be stored - 2.26 metal waste storage times - Table 1: Pile Sizes- metal wastes only - 2.28 separation distances- metal wastes only - 2.29 storage quantity- metal wastes only - 2.32 stock rotation of metal storage pile - 3.41 seasonality of metal wastes - Drawing LMM/029/01 Rev B – Permit Plan | ### 16/04/19 |

| ### Table S1.3 Improvement programme requirements |  |  |
| --- | --- | --- |
| ### Reference | ### Requirement | ### Date |
| ### IPC1 | ### The operator shall submit a written Fire prevention and mitigation plan to Natural Resources Wales. ### The Fire prevention and mitigation plan must be produced in line with the standards set out in Fire prevention and mitigation plan guidance – Waste. ### This Fire prevention and mitigation plan should address activities permitted prior to the issue of EPR/QB3093HE/V005 | ### 3 months after permit issue (EPR/QB3093HE/T003 issued 22/01/18) or otherwise agreed in writing with Natural Resources Wales |

# Schedule 2 - Waste types, raw materials and fuels

| ### Table S2.1 Permitted waste types and quantities for wood waste transfer station and RDF storage facility |  |
| --- | --- |
| ### Maximum quantity | ### The maximum quantity for waste to be accepted on site shall not exceed 150,000 tonnes per year. |
| ### Exclusions | ### Notwithstanding the waste types set out in this table, wastes having any of the following characteristics shall not be accepted: - hazardous wastes - wastes consisting solely or mainly of dusts, powders or loose fibres - wastes which are odour producing or likely to be odorous (including green waste) - wastes in liquid form |
| ### Waste code | ### Description |
| ### 02 | ### WASTES FROM AGRICULTURE, HORTICULTURE, AQUACULTURE, FORESTRY, HUNTING, AND FISHING, FOOD PREPARATION AND PROCESSING |
| ### 02 01 | ### wastes from agriculture, horticulture, aquaculture, forestry, hunting and fishing |
| 02 01 03 | wood and bark only |
| 02 01 07 | wood and bark |
| ### 03 | ### WASTES FROM PROCESSING AND THE PRODUCTION OF PANELS AND FURNITURE, PULP, PAPER AND PRODUCTION |
| ### 03 01 | ### wastes from wood processing and the productions of panels and furniture |
| 03 01 01 | waste bark and cork |
| 03 01 05 | sawdust, shavings, cuttings, wood, particle board and veneer other than those mentioned in 03 1 04 |
| 03 03 | wastes from pulp, paper, and cardboard production and processing |
| 03 03 01 | waste bark and wood |
| ### 15 | ### WASTE PACKAGING |
| 15 01 | packaging |
| 15 01 03 | wooden packaging |
| ### 17 | ### CONSTRUCTION AND DEMOLITION WASTE (INCLUDING EXCAVATED SOIL FROM CONTAMINATED SITES) |
| 17 02 | wood, glass and plastic |
| 17 02 01 | wood |
| 17 09 | other construction and demolition waste |
| 17 09 04 | mixed construction and demolition wastes other than those mentioned in 17 09 01, 17 09 02 and 17 09 03 (consisting of wood only) |
| 19 | WASTES FROM WASTE MANAGEMENT FACILITIES, OFF SITE WASTE WATER TREATMENT PLANTS AND PREPARATION OF WATER INTENDED FOR HUMAN CONSUMPTION/INDUSTRIAL WASTE |
| 19 12 | waste from the mechanical treatment of wastes (for example sorting, crushing, compacting, pelletising) not otherwise specified |
| 19 12 02 | ferrous metal |
| 19 12 03 | non-ferrous metal |
| 19 12 07 | wood other than that mentioned in 19 12 06 |
| 19 12 10 | combustible waste (refuse derived fuel) (pre-baled only) |
| 20 | MUNICIPAL WASTES (HOUSEHOLD WASTE AND SIMILAR COMMERCIAL, INDUSTRIAL AND INSTITUTIONAL WASTES) INCLUDING SEPARATELY COLLECTED FRACTIONS |
| 20 01 | separately collected fractions |
| 20 01 38 | wood other than that mentioned in 20 01 37 |
| 20 02 | garden and park waste |
| 02 02 01 | biodegradable waste (consisting of wood and bark only) |

#### Schedule 3 – Emissions and monitoring

#### There are no emission limits or associated monitoring requirements.

# Schedule 4 - Reporting

#### There is no reporting under this schedule.

# Schedule 5 - Notification

### These pages outline the information that the operator must provide.

### Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

#### If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

## Part A

| ## Permit Number |  |
| --- | --- |
| ## Name of operator |  |
| ## Location of Facility |  |
| ## Time and date of the detection |  |

| ## (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution |  |
| --- | --- |
| ## To be notified within 24 hours of detection |  |
| ## Date and time of the event |  |
| ## Reference or description of the location of the event |  |
| ## Description of where any release into the environment took place |  |
| ## Substances(s) potentially released |  |
| ## Best estimate of the quantity or rate of release of substances |  |
| ## Measures taken, or intended to be taken, to stop any emission |  |
| ## Description of the failure or accident. |  |

| ## (b) Notification requirements for the breach of a limit |  |
| --- | --- |
| ## To be notified within 24 hours of detection unless otherwise specified below |  |
| ## Emission point reference/ source |  |
| ## Parameter(s) |  |
| ## Limit |  |
| ## Measured value and uncertainty |  |
| ## Date and time of monitoring |  |
| ## Measures taken, or intended to be taken, to stop the emission |  |

| ### Time periods for notification following detection of a breach of a limit |  |
| --- | --- |
| ### Parameter | ### Notification period |

| ## (c) Notification requirements for the detection of any significant adverse environmental effect |  |
| --- | --- |
| ## To be notified within 24 hours of detection |  |
| ## Description of where the effect on the environment was detected |  |
| ## Substances(s) detected |  |
| ## Concentrations of substances detected |  |
| ## Date of monitoring/sampling |  |

## Part B - to be submitted as soon as practicable

| ### Any more accurate information on the matters for notification under Part A. |  |
| --- | --- |
| ### Measures taken, or intended to be taken, to prevent a recurrence of the incident |  |
| ### Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission |  |
| ### The dates of any unauthorised emissions from the facility in the preceding 24 months. |  |

| ### Name* |  |
| --- | --- |
| ### Post |  |
| ### Signature |  |
| ### Date |  |

### * authorised to sign on behalf of the operator

Schedule 6 - Interpretation

“accident” means an accident that may result in pollution.

“Annex II” means Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“authorised officer” means any person authorised by Natural Resources Wales under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“emissions to land” includes emissions to groundwater.

“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission or background concentration limit.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“groundwater protection zones 1 and 2” have the meaning given in the document titled Groundwater Protection: Policy and Practice" published by the Environment Agency in 2006.

“hazardous property” has the meaning in Annex lll of the Waste Framework Directive.

“hazardous substance” means a substance classified as hazardous as a consequence of fulfilling the criteria laid down in parts 2 to 5 of Annex I to Regulation (EC) No 1272/2008.

“hazardous waste” has the meaning given in the Hazardous Waste (Wales) Regulations 2005 (as amended).

“impermeable surface” means a surface or pavement constructed and maintained to a standard sufficient to prevent the transmission of liquids beyond the surface.

“MCERTS” means the Environment Agency’s Monitoring Certification Scheme.

“Pests” means Birds, Vermin and Insects.

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“R” means a recovery operation provided for in Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“Waste code” means the six digit code referable to a type of waste in accordance with the list of wastes established by Commission Decision 2000/532/EC as amended from time to time (the ‘List of Wastes Decision’) and in relation to hazardous waste, includes the asterisk.

“Waste Framework Directive” or “WFD” means Waste Framework Directive 2008/98/EC of the European Parliament and of the Council on waste.

“year” means calendar year ending 31 December.

Schedule 7 - Site plan

END OF PERMIT