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	Consent no
	NRWWIA303

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru Cyfyngedig


Linea

Fortran Road

St Mellons

CARDIFF 

CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 


	FROM: PONTSTICILL RESERVOIR, PONTSTICILL, MERTHYR TYDFIL, CF48 2UN

	

	AT: NATIONAL GRID REFERENCE SO 06049 11752

	

	TO: TAF FECHAN

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA303-01

	

	This consent is issued on the 6th day of April 2022
This consent takes effect on the 30th day of May 2022
This consent shall cease to have effect on the 14th day of November 2022
Signed: Melissa Broad


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Pontsticill Reservoir, Pontsticill, Merthyr Tydfil, CF48 2U.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 06049 11752, marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The rate of the Discharge shall not exceed 7,800 litres per second.
COMPOSITION

6.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
7.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water.
FLOODING

8.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

9.
The Discharge shall only be made between 30th day of May 2022 and the 14th day of November 2022.
ANNEX 1- PLAN No. NRWWIA303
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