[image: image2.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales






Notice of variation and consolidation with introductory note

The Environmental Permitting (England & Wales) Regulations 2016


Dŵr Cymru Cyfyngedig

Sandy Lane SPS Storm Overflow
Celyn Crescent
Saltney
Flintshire
CH4 8UL
Variation application number

PAN-015063
Permit number

CG0418001


Sandy Lane SPS Storm Overflow
Permit Number CG0418001
Introductory note

This introductory note does not form a part of the permit

The following notice gives notice of the variation and consolidation of an environmental permit.

The permit has been varied to include event duration monitoring as part of the AMP environmental improvement programme.
The schedules specify the changes made to the permit.
The status log of the permit sets out the permitting history, including any changes to the permit reference number. It is not backdated before 6 April 2010.
	Status Log of the permit

	Detail
	Date
	Comments

	Regulator-initiated variation

Application PAN-015063
	Duly Made

04/03/2022
	AMP programme EDM variation.

	Variation Issued

CG0418001
	06/04/2022
	Varied permit issued to Dŵr Cymru Cyfyngedig.


End of Introductory Note

	Notice of variation and consolidation 


The Environmental Permitting (England and Wales) Regulations 2016

The Natural Resources Body for Wales (“Natural Resources Wales”) in exercise of its powers under regulation 20 of the Environmental Permitting (England and Wales) Regulations 2016 varies and consolidates
Permit number

CG0418001
Issued to
Dŵr Cymru Cyfyngedig (“the operator”)
whose registered office is
Linea 

Fortran Road 

St Mellons 

Cardiff 

CF3 0LT
company registration number 02366777
to operate a water discharge activity at
Sandy Lane SPS Storm Overflow
Celyn Crescent
Saltney
Flintshire
CH4 8UL
to the extent set out in the schedules.

The notice shall take effect from 06/04/2022.
	Name
	Date

	Emma Jones
	06/04/2022


Authorised on behalf of Natural Resources Wales
Schedule 1
All the conditions have been varied as a result of a regulator-initiated variation.
Schedule 2 – consolidated permit

Consolidated permit issued as a separate document. 

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number

CG0418001
This is the consolidated permit referred to in the variation and consolidation notice for application PAN-015063 authorising 

Dŵr Cymru Cyfyngedig (“the operator”)
whose registered office is
Linea 

Fortran Road 

St Mellons 

Cardiff 

CF3 0LT
company registration number 02366777

to operate a water discharge activity at

Sandy Lane SPS Storm Overflow
Celyn Crescent
Saltney
Flintshire
CH4 8UL
to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Emma Jones
	06/04/2022


Authorised on behalf of Natural Resources Wales
Conditions

1 Management

1.1 General management
The operator shall manage and operate the activities:

in accordance with a written management system that identifies and minimises risks of pollution so far as is reasonably practicable, including those risks arising from operations, maintenance, accidents, incidents, non-conformances and those drawn to the attention of the operator as a result of complaints; and

using sufficient competent persons and resources.

Records demonstrating compliance with condition 1.1.1 shall be maintained. 
Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of the permit.

2 Operations

Permitted activities

The only activities authorised by the permit are the activities specified in schedule 1 table S1.1.
The site 

The discharge activities shall take place at the discharge point marked on the site plan at schedule 7 to this permit, and as listed in table S3.2; and the operating techniques that are the subject of conditions prefixed by 2.3, shall be applied at the location shown, or otherwise described, in schedule 7.
Operating techniques
For activity A2 referenced in schedule 1, table S1.1, the activity shall, subject to the conditions of this permit, be operated using the techniques and in the manner described in the documentation specified in schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.

For the discharge specified in table S3.3:

The discharge shall only occur when and only for as long as either:

(i)  the flow passed forward is equal to or greater than the overflow setting indicated due to rainfall and/or snow melt or
                                  (ii)  the hydraulic capacity of the sewer network downstream of the combined sewer overflow is reached due to rainfall and/or snow melt and the level of storm sewage in the sewer at the combined sewer overflow is greater than the weir level of the overflow structure which is specified as an overflow setting in table S3.3. 

The capacity of the sewer network downstream of the combined sewer overflow shall not be altered in any way which would lead to a significant increase in the frequency or volume of the discharge. 

Off-line storm storage must be fully utilised before a discharge occurs. It shall only fill when the flow passed forward is equal to or greater than the overflow setting indicated due to rainfall and/or snow melt and shall be emptied and its contents returned to the continuation flow as soon as reasonably practicable. The minimum off-line storm storage required is specified in table S3.3. 

On-line storm storage must be fully utilised before a discharge occurs. It shall only fill with the excess flows due to rainfall and/or snow melt. The storage shall be emptied and its contents returned to the continuation flow as soon as reasonably practicable. The minimum on-line storm storage required is specified in table S3.3. 
The discharge shall not be comminuted or macerated and shall have passed through screens as specified and shall not contain a significant quantity of solid matter with a particle size greater than any indicated. All screenings shall be removed from the discharge. 

Where a mechanically cleaned screen is installed, a telemetry alarm system shall be installed and maintained, as far as reasonably practicable, so as to give the operator immediate notification of a failure of the screen cleaning mechanism, unless otherwise agreed in writing by Natural Resources Wales. The operator shall take all appropriate measures to return the screen cleaning mechanism to normal operation as soon as reasonably practicable after receipt of notification of the failure. 
3 Emissions and monitoring

3 Emissions to water

3 The limits given in schedule 3 table S3.1 shall not be exceeded.

Monitoring 

The operator shall, unless otherwise agreed in writing by Natural Resources Wales, undertake the monitoring specified in the following tables in schedule 3 to this permit:

point source emissions specified in tables S3.1 and S3.4.
The operator shall maintain records of all monitoring required by this permit.

An accessible monitoring point shall be provided and maintained to enable the emissions monitoring programme to be carried out at the monitoring point specified in table S3.4 of schedule 3 and shown marked on the site plan in schedule 7. 

The operator shall take appropriate measures to ensure that the event recorder remains fully operational at all times within the reference period specified in table S3.1. Any failures shall be remedied as soon as reasonably practicable.

4 Information

Records

All records required to be made by schedule 3, 4 and 5 to this permit shall:

be legible;

be made as soon as reasonably practicable;

if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and

be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 10 years from the date when the records were made. 
The operator shall maintain convenient access, in either electronic or hard copy, to the records, plan and management system required to be maintained by this permit. 
Reporting

The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.

Within the time period after the end of the reporting period specified in schedule 4 table S4.1 the operator shall, unless otherwise agreed in writing by Natural Resources Wales, submit reports of the monitoring and assessment carried out in accordance with the conditions of this permit, as follows:

in respect of the parameters and monitoring points specified in schedule 4 table S4.1;

for the reporting periods specified in schedule 4 table S4.1 and using the forms specified in schedule 4 table S4.2; and

giving the information from such results and assessments as may be required by the forms specified in those tables.
Notifications

Natural Resources Wales shall be notified as soon as reasonably practicable following detection, within the site of the regulated facility of any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution. Any other significant adverse environmental effects, which may have been caused by the activity, shall also be notified to Natural Resources Wales as soon as reasonably practicable following detection.

The information provided under condition 4.3.1 shall be supported by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules:

Where the operator is a registered company:

any change in the operator’s trading name, registered name or registered office address; and

any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

4 any change in the operator’s name or address; and

any steps taken with a view to the dissolution of the operator.

Interpretation

In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.

In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “as soon as reasonably practicable”, in which case it may be provided by telephone.

Schedule 1 – Operations 
	Table S1.1 Activities

	Activity reference
	Description of activity
	Limits of specified activity

	A1
	Discharge of storm sewage via Point of Discharge
	N/A 

	A2
	Discharge of sewage in emergency via Point of Discharge
	An emergency shall be defined as the period when the sewage pumping station is inoperative as a result of one or more of the following, which is not due to the act or default of the operator, its agents, representatives, officers, employees or servants;

· electrical power failure; 

· mechanical breakdown of duty and standby pumps;

· rising main failure;

· blockage of the downstream sewer.


	Table S1.2 Operating techniques

	Activity reference
	Description of documentation
	Parts
	Date Received

	A2
	Pumping station key protection measures
	All
	04/03/2022


Schedule 2 – Waste types, raw materials and fuels

Schedule 2 not in use.

Schedule 3 – Emissions and monitoring
	Table S3.1 Point Source emissions to water (other than sewer) – emission limits and monitoring requirements

	Effluent and discharge point
	Parameter  
	Limit (including unit)
	Reference Period
	Limit of effective range
	Monitoring frequency
	Compliance Statistic

	A1 Storm sewage via Point of Discharge

	Discharge start and end times 
	N/A
	N/A
	N/A
	Whenever a discharge occurs
	N/A

	
	Block-counted spills
	N/A
	1st January to 31st December inclusive 
	N/A
	15 minutes
	N/A

	
	Event recorder status operational 
	N/A
	N/A
	N/A
	15 minutes
	N/A


	A2 Sewage in an emergency via Point of Discharge
	Discharge start and end times
	N/A


	N/A


	N/A


	Whenever a discharge occurs
	N/A




	Table S3.2 Discharge points

	Effluent Name
	Discharge Point
	Discharge point NGR
	Receiving water / Environment

	A1 Storm sewage
	Point of Discharge
	SJ 37802 64636
	Balderton Brook

	A2 Sewage in an emergency
	Point of Discharge
	SJ 37802 64636
	Balderton Brook


	Table S3.3 Storm sewage discharge settings

	Effluent and discharge point 
	Description of discharge
	Overflow setting l/s
	Maximum size of solid matter
	Screen aperture size
	Minimum storage capacity m3 

	A1 Storm sewage via Point of Discharge
	Storm sewage
	190
	No greater than 6 mm in more than 1 dimension


	6 mm x 6 mm 


	512


	Table S3.4 Monitoring points

	Effluent and discharge point
	Monitoring type
	Monitoring point NGR
	Monitoring point reference

	A1 Storm sewage via Point of Discharge
	Effluent sampling
	SJ 37778 64633
	Point of Overflow

	A1 Storm sewage via Point of Discharge
	Event duration monitoring
	SJ 37778 64633
	

	A2 Sewage in an emergency via Point of Discharge
	Effluent sampling
	SJ 37778 64633
	


Schedule 4 – Reporting

Parameters, for which reports shall be made, in accordance with conditions of this permit, are listed below.

	Table S4.1 Reporting of monitoring data

	Parameter
	Monitoring point reference
	Reporting period
	Period begins

	Event recorder status operational
	Point of Overflow
	Annually

Report to be submitted within 2 months
	1st January

	CSO performance, including total number of block-counted spills 
	
	Annually

Report to be submitted within 2 months
	1st January

	Duration of total spills
	
	Annually

Report to be submitted within 2 months
	1st January

	Storm sewage discharge start and end times
	
	Reports to be provided to Natural Resources Wales upon request 
	As specified by Natural Resources Wales

	Operation of the emergency overflow
	
	Reports to be provided to Natural Resources Wales upon request 

Report to be submitted within 28 days unless otherwise specified in writing by Natural Resources Wales
	Upon request by Natural Resources Wales

	Emergency discharge start and end times
	
	Reports to be provided to Natural Resources Wales upon request 

Report to be submitted within 28 days unless otherwise specified in writing by Natural Resources Wales
	Upon request by Natural Resources Wales


	Table S4.2 Reporting forms

	Parameter
	Reporting format

	Combined sewer overflow performance including number and duration of block-counted spills 
	Annual summary report or other form as agreed in writing by Natural Resources Wales



	Storm sewage discharge start and end times 
	Form as agreed in writing by Natural Resources Wales 

	Event recorder status


	Annual summary report or other form as agreed in writing by Natural Resources Wales

Percentage of time in the recording period that event duration monitoring equipment is operational

	Investigation into the operation of the overflow 
	Electronic format as agreed in writing by Natural Resources Wales. 

	Operation of the emergency overflow
	Annual summary report or other form as agreed in writing by Natural Resources Wales

	Emergency discharge start and end times
	Spill event, time and duration reporting format spreadsheet or other form as agreed in writing by Natural Resources Wales


Schedule 5 – Notification 

These pages outline the information that the operator must provide. 

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A
	Permit Number
	CG0418001

	Name of operator
	Dŵr Cymru Cyfyngedig

	Location of Facility
	Sandy Lane SPS Storm Overflow, Celyn Crescent, Saltney, Flintshire, CH4 8UL

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 7 days of detection unless otherwise agreed in writing by Natural Resources Wales

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released/type or nature of sewage released
	

	Best estimate of the quantity or rate of release of substances and/or duration of discharge
	

	Best estimate of the environmental impact of the discharge
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


Part B – to be submitted as soon as reasonably practicable unless otherwise agreed in writing by Natural Resources Wales
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident/breach/exceedance
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator

Schedule 6 – Interpretation 

“accident” means an accident that may result in pollution.

“annually” means once every year.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“block-counted spill” one or more overflow events within a period of 12 hours or less will be considered to be one spill, one or more overflow events extending over a period of greater than 12 hours up to 36 hours will be considered to be 2 spills. Each subsequent 24-hour duration counts as 1 additional spill and the whole of the 24-hour block is included. 

“event recorder" a recorder which records the start time and end time of individual overflow events 
“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the permitted activities, which are not controlled by an emission limit.

“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“minimum screen capacity flow” means the minimum flow passed through the screens to the outfall when the screen bypass operates. 

“monitoring frequency” as used in Table S3.1 in the context of event duration monitoring is the temporal interval at which a change in state between no discharge and discharge is to be detected.
“Natural Resources Wales” means the Natural Resources Body for Wales established by article 3 of the Natural Resources Body for Wales (Establishment) Order 2012. The Natural Resources Body for Wales (Functions) Order 2013 transferred the relevant functions of the Countryside Council for Wales, and functions of the Environment Agency and the Forestry Commission in Wales to the Natural Resources Body for Wales.

“overflow” for the purposes of schedule 7, overflow means the weir or orifice or other control which directs excess flow away from the continuation sewer when the flow exceeds the overflow setting due to rainfall and/or snowmelt. 

“overflow event” any individual operation, of any duration, of the event recorder or any recorded discharge of sewage from the outfall.
“overflow setting” means the minimum flow passed forward to the continuation sewer when the overflow operates.
“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“significant pollution” means a high-level impact incident as indicated by NRW incident classification system.
“significant spill” any spill that has not been demonstrated to have been, or measured as being, less than 50 m3 in volume.

“SOAF” means Storm Overflow Assessment Framework.
“year” means calendar year ending 31 December.

“Formula A” is defined as (PG+I+E) + 1360P + 2E litres/day.  Where P = population served, G = water consumption per head per day (litres/head/day) I = infiltration (litres/day) E = trade effluent flow to sewer (litres/day)

Schedule 7 – Site plan
[image: image1.png]



© Crown Copyright and database right 2022. Ordnance Survey licence number 100019741.

END OF PERMIT

Variation Application:

PAN-015063
Page ii

