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Facility:		Asgard Renewables Ltd		Form Number:	Air1 / 15/03/16
Reporting of emissions to air for the period from DD/MM/YYYY to DD/MM/YYYY
	Emission Point
	Substance / Parameter
	Emission Limit Value
	Reference Period
	Result [1]
	Test
Method [2]
	Sample
Date and Times [3]
	Uncertainty
[4]

	Exhausts of CHP engines
	Oxides of Nitrogen (NO and NO2, expressed as NOx)
	500 mg/m3
	Hourly average
	
	BS EN 14792
	
	

	Exhausts of CHP engines
	Carbon monoxide
	1,400 mg/m3
	Hourly average
	
	BS EN 15058
	
	

	Exhausts of CHP engines
	Sulphur dioxide
	350 mg/m3
	Hourly average
	
	BS EN 14791
	
	

	Exhausts of CHP engines
	Total Volatile Organic Compounds (VOCs)
	1,000 mg/m3
	Hourly average
	
	BS EN 12619:1999 or BS:EN 13526:2002 depending on concentration
	
	

	Emergency flare
	Oxides of Nitrogen (NO and NO2, expressed as NOx)
	No limit set
	-
	
	-
	
	

	Pressure relief valves
	Biogas
	No limit set
	
	
	-
	
	

	
	
	
	
	
	
	
	

	Biofilter
	No parameter set
	No limit set
	-
	
	-
	
	

	
	
	
	
	
	
	
	




[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.



Signed …………………………………………………………….		Date ………………………..
	(Authorised to sign as representative of Operator)


Permit Number:	EPR/AB3097FU			Operator:		Asgard Renewables Limited

Facility:		Asgard Renewables Ltd		Form Number:	Performance1 / 15/03/16
Reporting of other performance indicators for the period DD/MM/YYYY to DD/MM/YYYY
	Parameter
	
	Units
	

	
	
	
	

	Biogas produced by the anaerobic digestion facility (annually)
	m3
	

	Operational time of emergency flare (annually)
	% of operational time
	

	Amount of biogas combusted by the CHP engines per day
	tonnes/day
	



	Operator’s comments:









Signed …………………………………………………………….		Date ………………………..
	(Authorised to sign as representative of Operator)
