Permit Number: LP3737SW / VP3539XK




Operator: Deeside Power
Installation: Deeside Power Station



Form Number: 
Water 1 / Deeside

Reporting of emissions to water (other than to sewer) for the period from …1/4/21… to …30/6/21….
	Emission

Point
	Substance /

Parameter
	Emission

Limit Value
	Reference Period
	Result [1]
	Test

Method [2]
	Sample

Date and Times [3]
	Uncertainty

[4][5]

	W1
	The only discharges to WI are rainwater run-off and site drains as permitted to W2a and W2b.

These are now reported as compliance with specified conditions in the permit for W2a and W2b discharges

	W2a
	pH maximum
	-
	Instantaneous
	NO DISCHARGE
	BS6068-2.50
	Diverted to W1 as agreed to provide better retention and control as agreed with NRW
	N/A

	W2a
	pH minimum
	-
	Instantaneous
	NO DISCHARGE
	BS6068-2.50
	
	

	W2a
	Oil (and grease)
	-
	Instantaneous
	NO DISCHARGE
	Visual
	
	

	W2b
	pH maximum
	-
	Instantaneous
	Mixed with W2a
	BS6068-2.50
	
	

	W2b
	pH minimum
	-
	Instantaneous
	Mixed with W2a
	BS6068-2.50
	
	

	W2b
	Oil (and grease)
	-
	Instantaneous
	Mixed with W2a
	Visual
	
	


1. The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

2. Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.

3. For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.   

4. The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
5. The result given is a best estimate based on available data.
Signed ……………………C Brooks……………………………………….  

Date…7/7/21…….  


(Authorised to sign as representative of Operator)

