Part A

| Permit Number | PP3139GB |
| --- | --- |
| Name of Operator | Enovert North Limited |
| Location of Installation | Bangor Road Johnstown Wrexham LL14 6ET |
| Time and date of the detection | When data entered onto database |
| b) Notification requirements for breach of a limit |  |
| To be notified within 24 hours of detection unless otherwise specified |  |
| Emission point reference/source | Leachate Head Limit: >2m Sample Point; Date; Leachate Head (m). HAF LMP2AR; 29/11/2021; 30.92. HAF LC3; 29/11/2021; 2.40 (Transducer). HAF LMP4b; 29/11/2021; 17.46. HAF LC4 HAF LC4; 29/11/2021 29.11.2021; 19.41 2.31 (Transducer). |
| Parameter(s) |  |
| Limit |  |
| Measured value and uncertainty |  |
| Date and time of monitoring |  |
| Measures taken, or intended to be taken, to stop the emission | The leachate remains contained and no emission from the site is occurring. |

Part B

| Any more accurate information on the matters for notification under Part A. | In November 2376 m3 of leachate was tankered off site for treatment. We believe the dip meter reading from LC4, obtained on 29.11.21, was a false reading due to ingress at a higher level. The transducer data showed that the level was between 1.8mtr and 3.2mtr all month, we will take more dips to confirm this. Our electrical contractors Peel pumps are due out w/c 13/12 to resolve issues we are having with LMP2AR and MP1b As stated in the previous S5’s the manual dips in LMP4a and LMP4b are thought to be due to perched levels, however unfortunately we are unable to obtain a manual dip for LMP4a this month. Transducer readings have been provided for Cell 3, where access is unsafe for the monitoring technician. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | As above. |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission | Not applicable as no pollution has been caused because no emission is believed to be occurring. |
| The dates of any unauthorised emissions from the installation in the preceding 24 months. | Please see previous notifications. |
| Name* | Elizabeth Forrest |
| Post | Environmental Data Analyst |
| Date | 07.12.2021 |

* authorised to sign on behalf of Enovert North Ltd