Schedule 5 Notification                         HAF302 – 07.12.2021
Part A 
	Permit Number
	PP31339GB

	Name of Operator
	Enovert North Ltd

	Location of Installation
	Hafod Quarry, Bangor Road, Johnstown, Wrexham, LL14 6ET

	Time and date of the detection 
	When data entered into Enovert database

	(b) Notification requirements for the breach of a limit (within 24 hours unless otherwise agreed)

	Emission point reference/ source
	BH HA Perimeter Gas Monitoring Points 
Methane (%) 
CH4 >1% 
See Table 1 below. Uncertainty is +/- 0.5%

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	Perimeter Gas Monitoring will continue in accordance with the Environmental Permit.


Part B (to be supplied as soon as practicable)
	Any more accurate information on the matters for notification under Part A.
	A review of the historic methane data for the boreholes that breached the compliance limit this month, reveal that these boreholes have frequently demonstrated elevated methane concentrations which have been well documented.

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	Upon review and collation of the latest perimeter gas results, there were 8 breaches in November of the Methane compliance limit.
Breaches where the methane to carbon dioxide ratio is much greater than or much less than 1.5 is very unlikely to be landfill gas. Much of the gas seen is believed to be mine gas.
This is discussed at length in the 2020 annual report. It is stated that “Methane from the underlying coal measures was identified at the site during early preoperational investigations.”
The extra monitoring gas wells GBA to GBJ are not listed in the permit and thus do not have limits set therefore are not included in the schedule 5.

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	We will most likely apply to vary these permit limits in due course.


	The dates of any unauthorised emissions from the installation in the preceding 24 months.
	Please see previous notifications.

	Name*
	Elizabeth Forrest

	Post
	Environmental Data Analyst

	Date
	07.12.21


* authorised to sign on behalf Enovert North Ltd







	Sample Point
	Date
	CH4 (%)

	HAF GB02
	29/11/2021
	3.7

	HAF GB04a
	29/11/2021
	15.5

	HAF GB04b
	29/11/2021
	34.8

	HAF GB06a
	29/11/2021
	40.1

	HAF GB07a
	29/11/2021
	18.8

	HAF GB07b
	29/11/2021
	2.2

	HAF GB09
	29/11/2021
	13.2

	HAF GB12
	29/11/2021
	1.6






Table 1: Perimeter Gas Breaches (Methane) November 2021
