## SW1
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 1
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A |  | 2019-01-01: 7.97; 2019-02-01: 7.94; 2019-03-01: 8.39; 2019-04-01: 8.77
Temperature | M,Q,A | °C | 2019-01-01: 8.2; 2019-02-01: 8.7; 2019-03-01: 8.5; 2019-04-01: 8.4
Conductivity | M,Q,A | uS | 2019-01-01: 377.4; 2019-02-01: 237,6; 2019-03-01: 277.8; 2019-04-01: 357.6
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: 7.16; 2019-02-01: 6.3; 2019-03-01: 6.19; 2019-04-01: 5.79
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarter;y | Monthly
Date of Sampling |  |  | 2019-01-01: 15.01.19; 2019-02-01: 11.02.19; 2019-03-01: 05.03.19; 2019-04-01: 02.04.19; 2019-05-01: 01.05.19; 2019-06-01: 05.06.19
Laboratory Measurements
pH | M,Q,A |  | 2019-01-01: 8.29; 2019-02-01: 8.03; 2019-03-01: 8.09; 2019-04-01: 8.28; 2019-05-01: 8.2; 2019-06-01: 8.27
Conductivity | M,Q,A | uS | 2019-01-01: 336; 2019-02-01: 202; 2019-03-01: 229; 2019-04-01: 315; 2019-05-01: 230; 2019-06-01: 329
Dissolved Oxygen | M,Q,A | mg/l
BOD total+ATU | M,Q,A | mg/l | 2019-01-01: <1.00; 2019-02-01: <1.00; 2019-03-01: <1.00; 2019-04-01: <1.00; 2019-05-01: <1.00; 2019-06-01: 1.25
Suspended Solids (105C) | M,Q,A | mg/l | 2019-01-01: <3.00; 2019-02-01: 3.6; 2019-03-01: 8.4; 2019-04-01: 4; 2019-05-01: <3.00; 2019-06-01: <3.00
Alkalinity total | M,Q,A | mg/l | 2019-01-01: 107; 2019-02-01: 62; 2019-03-01: 70; 2019-04-01: 91; 2019-05-01: 69; 2019-06-01: 98
Ammoniacal Nitrogen | M,Q,A | mg/l | 2019-01-01: <0.0300; 2019-02-01: <0.0300; 2019-03-01: <0.0300; 2019-04-01: <0.0300; 2019-05-01: <0.0300; 2019-06-01: <0.0300
Total Oxidised Nitrogen | M,Q,A | mg/l | 2019-02-01: 0.36
Nitrite | M,Q,A | mg/l | 2019-02-01: <0.00400
Nitrate | M,Q,A | mg/l | 2019-02-01: <0.360; 2019-05-01: N/R
Chloride | M,Q,A | mg/l | 2019-01-01: 7.1; 2019-02-01: 6.3; 2019-03-01: 7; 2019-04-01: 7.5; 2019-05-01: 8; 2019-06-01: 7.8
Sulphate | Q,A | mg/l | 2019-02-01: 35.4; 2019-05-01: 38.9
Sulphide | Q,A | mg/l | 2019-02-01: <0.01; 2019-05-01: <0.01
Total Organic Carbon | M,Q,A | mg/l | 2019-01-01: N/R; 2019-02-01: 0.9; 2019-03-01: 1; 2019-04-01: 0.7; 2019-05-01: <0.7; 2019-06-01: 1
Cadmium | M,Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Chromium | Q,A | ug/l | 2019-02-01: <0.5; 2019-05-01: <0.5
Lead | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Copper | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Nickel | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Zinc | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Iron | Q,A | ug/l | 2019-02-01: <30; 2019-05-01: <30
Orthophosphate, reactive as P | Q,A | mg/l | 2019-02-01: <0.0100
Potassium | Q,A | mg/l | 2019-02-01: 5.55; 2019-05-01: 5.88
Sodium | Q,A | mg/l | 2019-02-01: 6.69; 2019-05-01: 7.44
Calcium | Q,A | mg/l | 2019-02-01: 13.4; 2019-05-01: 15.5
Magnesium | Q,A | mg/l | 2019-02-01: 12.9; 2019-05-01: 14.3
Manganese | Q,A | ug/l
Chemical Oxygen Demand | M,Q,A | mg/l | 2019-01-01: <10.0; 2019-02-01: <10.0; 2019-03-01: <10.0; 2019-04-01: <10,.0; 2019-05-01: <10.0; 2019-06-01: <10.0
1,2-dichloroethane | Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | mg/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | mg/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | mg/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l

## SW2
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 2
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A |  | 2019-01-01: 7.88; 2019-02-01: 7.66; 2019-03-01: 8.55; 2019-04-01: 7.5
Temperature | M,Q,A | °C | 2019-01-01: 9.4; 2019-02-01: 8.3; 2019-03-01: 8.7; 2019-04-01: 9.8; 2019-06-01: DRY
Conductivity | M,Q,A | uS | 2019-01-01: 97.5; 2019-02-01: 85.56; 2019-03-01: 87.56; 2019-04-01: 95.75
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: 5.28; 2019-02-01: 5.6; 2019-03-01: 6.43; 2019-04-01: 6.63
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  |  | 2019-01-01: 15.01.19; 2019-02-01: 12.02.19; 2019-03-01: 05.03.19; 2019-04-01: 02.04.19; 2019-05-01: 01.05.19; 2019-06-01: 05.06.19
Laboratory Measurements
pH | M,Q,A |  | 2019-01-01: 7.36; 2019-02-01: 6.91; 2019-03-01: 6.84; 2019-04-01: 7.02; 2019-05-01: 6.9
Conductivity | M,Q,A | uS | 2019-01-01: 69; 2019-02-01: 57; 2019-03-01: 52; 2019-04-01: 66; 2019-05-01: 53
Dissolved Oxygen | M,Q,A | mg/l
BOD total+ATU | M.Q.A | mg/l | 2019-01-01: <1.00; 2019-02-01: <1.00; 2019-03-01: <1.00; 2019-04-01: <1.00; 2019-05-01: <1.00; 2019-06-01: DRY
Suspended Solids (105C) | M,Q,A | mg/l | 2019-01-01: 8.9; 2019-02-01: 3.3; 2019-03-01: 7.3; 2019-04-01: 3.4; 2019-05-01: 7.7
Alkalinity total | M,Q,A | mg/l | 2019-01-01: 9; 2019-02-01: <5.00; 2019-03-01: <5.00; 2019-04-01: 9; 2019-05-01: <5.00
Ammoniacal Nitrogen | M,Q,A | mg/l | 2019-01-01: <0.0300; 2019-02-01: <0.0300; 2019-03-01: <0.0300; 2019-04-01: <0.0300; 2019-05-01: <0.0300
Total Oxidised Nitrogen | M,Q,A | mg/l | 2019-02-01: 0.5
Nitrite | M,Q,A | mg/l | 2019-02-01: <0.00400
Nitrate | M,Q,A | mg/l | 2019-02-01: <0.500; 2019-05-01: NoResult
Chloride | M,Q,A | mg/l | 2019-01-01: 8.9; 2019-02-01: 8.7; 2019-03-01: 7.5; 2019-04-01: 9.2; 2019-05-01: 7.7
Sulphate | Q,A | mg/l | 2019-02-01: <10; 2019-05-01: <10
Sulphide | Q,A | mg/l | 2019-02-01: <0.01; 2019-05-01: <0.01
Total Organic Carbon | M,Q,A | mg/l | 2019-01-01: <0.7; 2019-02-01: 0.8; 2019-03-01: 1; 2019-04-01: 0.8; 2019-05-01: <0.7
Cadmium | M,Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Chromium | Q,A | ug/l | 2019-02-01: <0.5; 2019-05-01: <0.5
Lead | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Copper | Q,A | ug/l | 2019-02-01: 1.22; 2019-05-01: 1.34
Nickel | Q,A | ug/l | 2019-02-01: 1.55; 2019-05-01: 1.49
Zinc | Q,A | ug/l | 2019-02-01: 9.99; 2019-05-01: 7.47
Iron | Q,A | ug/l | 2019-02-01: <30; 2019-05-01: <30
Orthophosphate, reactive as P | Q,A | mg/l | 2019-02-01: <0.0100
Potassium | Q,A | mg/l | 2019-02-01: 0.798; 2019-05-01: 0.637
Sodium | Q,A | mg/l | 2019-02-01: 5.16; 2019-05-01: 4.86
Calcium | Q,A | mg/l | 2019-02-01: 2.82; 2019-05-01: 2.96
Magnesium | Q,A | mg/l | 2019-02-01: 1.66; 2019-05-01: 1.39
Manganese | Q,A | ug/l
Chemical Oxygen Demand | M,Q,A | mg/l | 2019-01-01: <10.0; 2019-02-01: <10.0; 2019-03-01: <10.0; 2019-04-01: <10.0; 2019-05-01: <10.0
1,2-dichloroethane | Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | mg/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | mg/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | mg/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l

## SW3
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 3
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A |  | 2019-01-01: 7.65; 2019-02-01: 7.37; 2019-03-01: 8.3; 2019-04-01: 6.97; 2019-06-01: 7.75
Temperature | M,Q,A | °C | 2019-01-01: 8.7; 2019-02-01: 8.5; 2019-03-01: 8.5; 2019-04-01: 9.3; 2019-06-01: 12.5
Conductivity | M,Q,A | uS | 2019-01-01: 267.5; 2019-02-01: 187.5; 2019-03-01: 277.5; 2019-04-01: 277.5; 2019-06-01: 263.7
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: 6.43; 2019-02-01: 5.91; 2019-03-01: 6.54; 2019-04-01: 5.78; 2019-06-01: 5.25
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  |  | 2019-01-01: 15.01.19; 2019-02-01: 12.02.19; 2019-03-01: 05.03.19; 2019-04-01: 02.04.19; 2019-05-01: 01.05.19; 2019-06-01: 05.06.19
Laboratory Measurements
pH | M,Q,A |  | 2019-01-01: 8.07; 2019-02-01: 7.66; 2019-03-01: NoResults; 2019-04-01: 8.03; 2019-05-01: 7.86; 2019-06-01: 8.01
Conductivity | M,Q,A | uS | 2019-01-01: 221; 2019-02-01: 137; 2019-03-01: NoResults; 2019-04-01: 218; 2019-05-01: 162; 2019-06-01: 217
Dissolved Oxygen | M,Q,A | mg/l
BOD total+ATU | M,Q,A | mg/l | 2019-01-01: <1.00; 2019-02-01: <1.00; 2019-03-01: NoResults; 2019-04-01: <1.00; 2019-05-01: <1.00; 2019-06-01: <1.00
Suspended Solids (105C) | M,Q,A | mg/l | 2019-01-01: <3.00; 2019-02-01: 3.9; 2019-03-01: NoResults; 2019-04-01: <3.00; 2019-05-01: <3.00; 2019-06-01: <3.00
Alkalinity total | M,Q,A | mg/l | 2019-01-01: 63; 2019-02-01: 37; 2019-03-01: NoResults; 2019-04-01: 61; 2019-05-01: 43; 2019-06-01: 62
Ammoniacal Nitrogen | M,Q,A | mg/l | 2019-01-01: <0.0300; 2019-02-01: <0.0300; 2019-03-01: NoResults; 2019-04-01: <0.0300; 2019-05-01: <0.0300; 2019-06-01: <0.0300
Total Oxidised Nitrogen | M,Q,A | mg/l | 2019-02-01: 0.38
Nitrite | M,Q,A | mg/l | 2019-02-01: <0.00400
Nitrate | M,Q,A | mg/l | 2019-02-01: <0.380; 2019-05-01: NoResult
Chloride | M,Q,A | mg/l | 2019-01-01: 8.9; 2019-02-01: 7.7; 2019-03-01: NoResults; 2019-04-01: 9.2; 2019-05-01: 8.4; 2019-06-01: 8.8
Sulphate | Q,A | mg/l | 2019-02-01: 21.5; 2019-05-01: 28.6
Sulphide | Q,A | mg/l | 2019-02-01: <0.01; 2019-05-01: <0.01
Total Organic Carbon | M,Q,A | mg/l | 2019-01-01: <0.7; 2019-02-01: 372; 2019-03-01: 0.9; 2019-04-01: <0.7; 2019-05-01: <0.7; 2019-06-01: 0.7
Cadmium | M,Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Chromium | Q,A | ug/l | 2019-02-01: <0.05; 2019-05-01: <0.5
Lead | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Copper | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Nickel | Q,A | ug/l | 2019-02-01: 2; 2019-05-01: 2.1
Zinc | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Iron | Q,A | ug/l | 2019-02-01: 30.3; 2019-05-01: 34.5
Orthophosphate, reactive as P | Q,A | mg/l | 2019-02-01: <0.0100
Potassium | Q,A | mg/l | 2019-02-01: 1.85; 2019-05-01: 2.27
Sodium | Q,A | mg/l | 2019-02-01: 5.1; 2019-05-01: 5.5
Calcium | Q,A | mg/l | 2019-02-01: 11.2; 2019-05-01: 14.1
Magnesium | Q,A | mg/l | 2019-02-01: 7.13; 2019-05-01: 8.51
Manganese | Q,A | ug/l
Chemical Oxygen Demand | M,Q,A | mg/l | 2019-01-01: <10.0; 2019-02-01: <10.0; 2019-03-01: NoResults; 2019-04-01: <10.0; 2019-06-01: <10.0
1,2-dichloroethane | Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | mg/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | mg/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | mg/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l

## SW4
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 4
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A |  | 2019-01-01: 7.87; 2019-02-01: 7.49; 2019-03-01: 8.52; 2019-04-01: 8.7; 2019-06-01: 8.57
Temperature | M,Q,A | °C | 2019-01-01: 8.9; 2019-02-01: 8.7; 2019-03-01: 9.1; 2019-04-01: 10.8; 2019-06-01: 15,5
Conductivity | M,Q,A | uS | 2019-01-01: 231.7; 2019-02-01: 197.4; 2019-03-01: 210.6; 2019-04-01: 245.5; 2019-06-01: 265.5
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: 5.86; 2019-02-01: 6.19; 2019-03-01: 6.55; 2019-04-01: 6.11; 2019-06-01: 3.55
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  |  | 2019-01-01: 15.01.19; 2019-02-01: 12.02.19; 2019-03-01: 05.03.19; 2019-04-01: 02.04.19; 2019-05-01: 01.05.19; 2019-06-01: 05.06.,19
Laboratory Measurements
pH | M,Q,A |  | 2019-01-01: 8.07; 2019-02-01: 7.79; 2019-03-01: 7.78; 2019-04-01: 7.99; 2019-05-01: 7.9; 2019-06-01: 8.04
Conductivity | M,Q,A | uS | 2019-01-01: 191; 2019-02-01: 159; 2019-03-01: 136; 2019-04-01: 187; 2019-05-01: 152; 2019-06-01: 202
Dissolved Oxygen | M,Q,A | mg/l
BOD total+ATU | M,Q,A | mg/l | 2019-01-01: <1.00; 2019-02-01: <1.00; 2019-03-01: <1.00; 2019-04-01: <1.00; 2019-05-01: <1.00; 2019-06-01: 1.18
Suspended Solids (105C) | M,Q,A | mg/l | 2019-01-01: <3.00; 2019-02-01: 4; 2019-03-01: 5.9; 2019-04-01: 23.5; 2019-05-01: <3.00; 2019-06-01: <3.00
Alkalinity total | M,Q,A | mg/l | 2019-01-01: 62; 2019-02-01: 46; 2019-03-01: 40; 2019-04-01: 58; 2019-05-01: 45; 2019-06-01: 66
Ammoniacal Nitrogen | M,Q,A | mg/l | 2019-01-01: <0.0300; 2019-02-01: <0.0300; 2019-03-01: <0.0300; 2019-04-01: <0.0300; 2019-05-01: <0.0300; 2019-06-01: <0.0300
Total Oxidised Nitrogen | M,Q,A | mg/l | 2019-02-01: 0.28
Nitrite | M,Q,A | mg/l | 2019-02-01: <0.00400
Nitrate | M,Q,A | mg/l | 2019-02-01: <0.280; 2019-05-01: NoResult
Chloride | M,Q,A | mg/l | 2019-01-01: 8; 2019-02-01: 6.9; 2019-03-01: 7.4; 2019-04-01: 8.6; 2019-05-01: 7.9; 2019-06-01: 8.6
Sulphate | Q,A | mg/l | 2019-02-01: 26; 2019-05-01: 20.6
Sulphide | Q,A | mg/l | 2019-02-01: <0.01; 2019-05-01: <0.01
Total Organic Carbon | M,Q,A | mg/l | 2019-01-01: <0.7; 2019-02-01: 0.7; 2019-03-01: <0.7; 2019-04-01: <0.7; 2019-05-01: <0.7; 2019-06-01: 0.7
Cadmium | M,Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Chromium | Q,A | ug/l | 2019-02-01: <0.5; 2019-05-01: <0.5
Lead | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Copper | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Nickel | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Zinc | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Iron | Q,A | ug/l | 2019-02-01: <30; 2019-05-01: <30
Orthophosphate, reactive as P | Q,A | mg/l | 2019-02-01: <0.0100
Potassium | Q,A | mg/l | 2019-02-01: 1.85; 2019-05-01: 1.88
Sodium | Q,A | mg/l | 2019-02-01: 6.3; 2019-05-01: 6.06
Calcium | Q,A | mg/l | 2019-02-01: 12.2; 2019-05-01: 12.2
Magnesium | Q,A | mg/l | 2019-02-01: 8.77; 2019-05-01: 8.18
Manganese | Q,A | ug/l
Chemical Oxygen Demand | M,Q,A | mg/l | 2019-01-01: <10.0; 2019-02-01: <10.0; 2019-03-01: <10.0; 2019-04-01: <10.0; 2019-05-01: <10.0; 2019-06-01: <10.0
1,2-dichloroethane | Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | mg/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | mg/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | mg/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l

## SW5
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 5
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A |  | 2019-01-01: 8.74; 2019-02-01: 8.17; 2019-03-01: 8.02; 2019-04-01: 9.57; 2019-06-01: 8.1
Temperature | M,Q,A | °C | 2019-01-01: 8.2; 2019-02-01: 7.7; 2019-03-01: 6.1; 2019-04-01: 6.66; 2019-06-01: 17.3
Conductivity | M,Q,A | uS | 2019-01-01: 377.6; 2019-02-01: 217.5; 2019-03-01: 197,6; 2019-04-01: 388.6; 2019-06-01: 273.7
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: 6.55; 2019-02-01: 5.88; 2019-03-01: 5.35; 2019-04-01: 9.7; 2019-06-01: 6.41
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  |  | 2019-01-01: 15.01.19; 2019-02-01: 12.02.19; 2019-03-01: 05.03.19; 2019-04-01: 02.04.19; 2019-05-01: 01.05.19; 2019-06-01: 05.06.19
Laboratory Measurements
pH | M,Q,A |  | 2019-01-01: 9.02; 2019-02-01: 7.84; 2019-03-01: 7.46; 2019-04-01: 8.95; 2019-05-01: 7.4; 2019-06-01: 7.72
Conductivity | M,Q,A | uS | 2019-01-01: 333; 2019-02-01: 161; 2019-03-01: 145; 2019-04-01: 347; 2019-05-01: 192; 2019-06-01: 228
Dissolved Oxygen | M,Q,A | mg/l
BOD total+ATU | M,Q,A | mg/l | 2019-01-01: 2.2; 2019-02-01: 2.02; 2019-03-01: 2.05; 2019-04-01: 2.59; 2019-05-01: 12.7; 2019-06-01: 8.12
Suspended Solids (105C) | M,Q,A | mg/l | 2019-01-01: <3.00; 2019-02-01: 8.8; 2019-03-01: 7.8; 2019-04-01: 21.4; 2019-05-01: 11.4; 2019-06-01: 28.6
Alkalinity total | M,Q,A | mg/l | 2019-01-01: 151; 2019-02-01: 62; 2019-03-01: 53; 2019-04-01: 146; 2019-05-01: 63; 2019-06-01: 84
Ammoniacal Nitrogen | M,Q,A | mg/l | 2019-01-01: <0.0300; 2019-02-01: <0.0300; 2019-03-01: <0.0300; 2019-04-01: <0.0300; 2019-05-01: <0.0300; 2019-06-01: <0.0300
Total Oxidised Nitrogen | M,Q,A | mg/l | 2019-02-01: <0.200
Nitrite | M,Q,A | mg/l | 2019-02-01: <0.00400; 2019-05-01: NoResult
Nitrate | M,Q,A | mg/l | 2019-02-01: <0.200
Chloride | M,Q,A | mg/l | 2019-01-01: 6.7; 2019-02-01: 7.7; 2019-03-01: 7.5; 2019-04-01: 8.9; 2019-05-01: 18.6; 2019-06-01: 8.4
Sulphate | Q,A | mg/l | 2019-02-01: 15.6; 2019-05-01: 11.5
Sulphide | Q,A | mg/l | 2019-02-01: <0.01; 2019-05-01: <0.01
Total Organic Carbon | M,Q,A | mg/l | 2019-01-01: 1.7; 2019-02-01: 2.6; 2019-03-01: 3; 2019-04-01: 8.3; 2019-05-01: 5.7; 2019-06-01: 9.4
Cadmium | M,Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: 0.482
Chromium | Q,A | ug/l | 2019-02-01: <0.5; 2019-05-01: 1.54
Lead | Q,A | ug/l | 2019-02-01: <2; 2019-05-01: 4.03
Copper | Q,A | ug/l | 2019-02-01: <1; 2019-05-01: 9.52
Nickel | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Zinc | Q,A | ug/l | 2019-02-01: <5; 2019-05-01: 295000
Iron | Q,A | ug/l | 2019-02-01: <30; 2019-05-01: 452
Orthophosphate, reactive as P | Q,A | mg/l | 2019-02-01: <0.0100
Potassium | Q,A | mg/l | 2019-02-01: 4.29; 2019-05-01: 5.32
Sodium | Q,A | mg/l | 2019-02-01: 5.76; 2019-05-01: 472
Calcium | Q,A | mg/l | 2019-02-01: 14.9; 2019-05-01: 19.9
Magnesium | Q,A | mg/l | 2019-02-01: 8.38; 2019-05-01: 8.35
Manganese | Q,A | ug/l
Chemical Oxygen Demand | M,Q,A | mg/l | 2019-01-01: 105; 2019-02-01: <10.0; 2019-03-01: <10.0; 2019-04-01: 31; 2019-05-01: 37; 2019-06-01: 56
1,2-dichloroethane | Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | mg/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | mg/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | mg/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l

## SW6
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 6
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A
Temperature | M,Q,A | °C | 2019-01-01: DRY; 2019-02-01: Dry; 2019-03-01: Dry; 2019-04-01: Dry; 2019-05-01: DRY; 2019-06-01: DRY
Conductivity | M,Q,A | uS
Dissolved Oxygen | M,Q,A | mg/l
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling
Laboratory Measurements
pH | M,Q,A
Conductivity | M,Q,A | uS
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: DRY; 2019-02-01: Dry; 2019-03-01: Dry; 2019-04-01: Dry; 2019-05-01: DRY; 2019-06-01: DRY
BOD total+ATU | M,Q,A | mg/l
Suspended Solids (105C) | M,Q,A | mg/l
Alkalinity total | M,Q,A | mg/l
Ammoniacal Nitrogen | M,Q,A | mg/l
Total Oxidised Nitrogen | M,Q,A | mg/l
Nitrite | M,Q,A | mg/l
Nitrate | M,Q,A | mg/l
Chloride | M,Q,A | mg/l
Sulphate | Q,A | mg/l
Sulphide | Q,A | mg/l
Total Organic Carbon | M,Q,A | mg/l
Cadmium | M,Q,A | mg/l
Chromium | Q,A | mg/l
Lead | Q,A | mg/l
Copper | Q,A | mg/l
Nickel | Q,A | mg/l
Zinc | Q,A | mg/l
Iron | Q,A | mg/l
Orthophosphate, reactive as P | Q,A | mg/l
Potassium | Q,A | mg/l
Sodium | Q,A | mg/l
Calcium | Q,A | mg/l
Magnesium | Q,A | mg/l
Manganese | Q,A | mg/l
Chemical Oxygen Demand | M,Q,A | mg/l
1,2-dichloroethane | Q,A | ug/l
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | ug/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | ug/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | ug/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l

## SW8
Amgen Rhondda Ltd. - Nant-y-Gwyddon Landfill Site
Best Practice Surface Water Sampling 2019
Location: SW 8
Determinands | Suite | Units | 2019-01-01 | 2019-02-01 | 2019-03-01 | 2019-04-01 | 2019-05-01 | 2019-06-01 | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01
Field Measurements
P.H. | M,Q,A |  | 2019-01-01: 7.79; 2019-02-01: 7.78; 2019-03-01: 7.68; 2019-04-01: 8.77
Temperature | M,Q,A | °C | 2019-01-01: 6.3; 2019-02-01: 10.2; 2019-03-01: 7.9; 2019-04-01: 10.2; 2019-06-01: DRY
Conductivity | M,Q,A | uS | 2019-01-01: 335.7; 2019-02-01: 277.5; 2019-03-01: 269.6; 2019-04-01: 437.8
Dissolved Oxygen | M,Q,A | mg/l | 2019-01-01: 6.11; 2019-02-01: 5.48; 2019-03-01: 5.98; 2019-04-01: 5.8
Suite |  | Units | Monthly | Quarterly | Monthly | Monthly | Quarterly | Monthly | Annual | Monthly | Monthly | Monthly | Quarterly | Monthly
Date of Sampling |  |  | 2019-01-01: 22.01.19; 2019-02-01: 12.02.19; 2019-03-01: 05.03.19; 2019-04-01: 02.04.19; 2019-05-01: 01.05.19; 2019-06-01: 05.06.19
Laboratory Measurements
pH | M,Q,A |  | 2019-01-01: 7.9; 2019-02-01: 7.82; 2019-03-01: 7.89; 2019-04-01: 8.08; 2019-05-01: 7.97
Conductivity | M,Q,A | uS | 2019-01-01: 290; 2019-02-01: 212; 2019-03-01: 235; 2019-04-01: 378; 2019-05-01: 257
Dissolved Oxygen | M,Q,A | mg/l
BOD total+ATU | M,Q,A | mg/l | 2019-01-01: <1.00; 2019-02-01: <1.00; 2019-03-01: <1.00; 2019-04-01: <1.00; 2019-05-01: <1.00
Suspended Solids (105C) | M,Q,A | mg/l | 2019-01-01: <3.00; 2019-02-01: <3.00; 2019-03-01: 21.7; 2019-04-01: <3.00; 2019-05-01: <3.00; 2019-06-01: DRY
Alkalinity total | M,Q,A | mg/l | 2019-01-01: 106; 2019-02-01: 79; 2019-03-01: 85; 2019-04-01: 110; 2019-05-01: 90
Ammoniacal Nitrogen | M,Q,A | mg/l | 2019-01-01: <0.0300; 2019-02-01: <0.0300; 2019-03-01: <0.0300; 2019-04-01: <0.0300; 2019-05-01: <0.0300
Total Oxidised Nitrogen | M,Q,A | mg/l | 2019-02-01: 0.51
Nitrite | M,Q,A | mg/l | 2019-02-01: <0.00400
Nitrate | M,Q,A | mg/l | 2019-02-01: <0.510; 2019-05-01: NoResults
Chloride | M,Q,A | mg/l | 2019-01-01: 7; 2019-02-01: 6.2; 2019-03-01: 6.8; 2019-04-01: 7.4; 2019-05-01: 8.2
Sulphate | Q,A | mg/l | 2019-02-01: 27.9; 2019-05-01: 35.5
Sulphide | Q,A | mg/l | 2019-02-01: <0.01; 2019-05-01: <0.01
Total Organic Carbon | M,Q,A | mg/l | 2019-01-01: 1.7; 2019-02-01: 1.2; 2019-03-01: 3.1; 2019-04-01: 1.4; 2019-05-01: 0.8
Cadmium | M,Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Chromium | Q,A | ug/l | 2019-02-01: <0.5; 2019-05-01: <0.5
Lead | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Copper | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Nickel | Q,A | ug/l | bar: 2019-02-01; 2019-05-01
Zinc | Q,A | ug/l | 2019-02-01: 11.5; 2019-05-01: <5
Iron | Q,A | ug/l | 2019-02-01: <30; 2019-05-01: <30
Orthophosphate, reactive as P | Q,A | mg/l | 2019-02-01: <0.0100
Potassium | Q,A | mg/l | 2019-02-01: 5.54; 2019-05-01: 7.04
Sodium | Q,A | mg/l | 2019-02-01: 7.06; 2019-05-01: 9.61
Calcium | Q,A | mg/l | 2019-02-01: 15.5; 2019-05-01: 17.6
Magnesium | Q,A | mg/l | 2019-02-01: 13.1; 2019-05-01: 16.7
Manganese | Q,A | ug/l
Chemical Oxygen Demand | M,Q,A | mg/l | 2019-01-01: <10.0; 2019-02-01: <10.0; 2019-03-01: <10.0; 2019-04-01: <10.0; 2019-05-01: <10.0
1,2-dichloroethane | Q,A | ug/l | 2019-02-01: <0.1; 2019-05-01: <0.1
Acetone | A | ug/l
Acrylonitrile | A | ug/l
Arsenic | A | ug/l
Benzene | A | ug/l
Anionic Detergents and Surfactants | A | mg/l
Dimethoxymethane | A | ug/l
2 Methyl prop-l-ol | A | ug/l
Formaldehyde | A | mg/l
Mercury | A | ug/l
Methanol | A | ug/l
Phenols | A | mg/l
Propan-2-ol | A | ug/l
Acetonitrile | A | ug/l
Ethanol | A | ug/l
Toluene | A | ug/l
Trichloroethene | A | ug/l
Butan-1-ol | A | ug/l
Butan-2-ol | A | ug/l
Methyl ethyl ketone | A | ug/l
n-propanol | A | ug/l
1,1,1,-Trichloroethane | A | ug/l
Carbon Tetrachloride | A | ug/l
Tetrachloroethene | A | ug/l
Ethyl Benzene | A | ug/l
M&P Xylene | A | ug/l
O-Xylene | A | ug/l
Total Xylenes | A | ug/l
Ethyl acrylate | A | ug/l
Styrene | A | ug/l
Ethyl acetate | A | ug/l