## Perimeter_Gas
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Field Technicians Comments
TIRGP001 | 2022-01-26 | 0 | 4.5 | 15.6 | 0 | 1 | 1034 | -8.49
TIRGP002 | 2022-01-26 | 0 | 4.9 | 15.6 | 0 | 2 | 1035 | 0.07
TIRGP003 | 2022-01-26 | 0 | 4.5 | 20.6 | 0 | 1 | 1035 | -0.04
TIRGP004 | 2022-01-26 | 0 | 0.1 | 21.7 | 0 | 1 | 1035 | -0.02
TIRGP005 | 2022-01-26 | 0 | 0.6 | 21 | 0 | 2 | 1035 | 0.09
TIRGP006 | 2022-01-26 | 0 | 0.1 | 21.6 | 0 | 1 | 1034 | 0
TIRGP007 | 2022-01-26 | 0 | 0.9 | 20.5 | 0 | 1 | 1034 | 0.05
TIRGP008 | 2022-01-26 | 0 | 8 | 13.7 | 0 | 1 | 1034 | -0.04
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Field Technicians Comments
TIRGP001 | 2022-02-23 | 0 | 0.1 | 21.8 | 0 | 0 | 1021 | 5.78
TIRGP002 | 2022-02-23 | 0 | 5.7 | 13.8 | 0 | 1 | 1021 | -0.49
TIRGP003 | 2022-02-23 | 0 | 3.4 | 12.7 | 0 | 1 | 1022 | 0
TIRGP004 | 2022-02-23 | 0 | 0.1 | 21.9 | 0 | 0 | 1022 | -0.02
TIRGP005 | 2022-02-23 | 0 | 0.3 | 21.7 | 0 | 0 | 1021 | 0
TIRGP006 | 2022-02-23 | 0 | 0.2 | 21.5 | 0 | 0 | 1020 | 0.09
TIRGP007 | 2022-02-23 | 0 | 0.6 | 20.9 | 0 | 1 | 1021 | 0
TIRGP008 | 2022-02-23 | 0.5 | 10.1 | 10.2 | 0 | 0 | 1021 | -0.09
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Field Technicians Comments
TIRGP001 | 2022-03-16 | 0 | 0.1 | 21.5 | 0 | 1 | 1018 | 0.95
TIRGP002 | 2022-03-16 | 0 | 3.4 | 14.6 | 0 | 1 | 1018 | 0.04
TIRGP003 | 2022-03-16 | 0 | 2.5 | 17.7 | 0 | 1 | 1017 | -139.97
TIRGP004 | 2022-03-16 | [7 empty] | No access
TIRGP005 | 2022-03-16 | 0 | 1.2 | 19.9 | 0 | 1 | 1018 | 0.12
TIRGP006 | 2022-03-16 | 0 | 0.6 | 20.7 | 0 | 2 | 1018 | 0.05
TIRGP007 | 2022-03-16 | 0 | 0.2 | 21.1 | 0 | 1 | 1018 | 0.05
TIRGP008 | 2022-03-16 | 0 | 6.4 | 16.4 | 0 | 1 | 1018 | 0.02

## Groundwater
Sample Point | Date | Data Comments | Ammoniacal-N (mg/l) | Arsenic (ug/l) | Bio Oxygen Demand (mg/l) | Chem Oxygen Demand (mg/l) | Chloride (mg/l) | Conductivity (uS/cm) | Dissolved Oxygen (mg/l) | Iron (mg/l) | Manganese (ug/l) | Mercury (ug/l) | Nitrate (mg/l) | Nitrite (mg/l) | Orthophosphate (mg/l) | pH | Potassium (mg/l) | Redox (mV) | Sodium (mg/l) | Temperature (degC) | Total Organic Carbon (mg/l) | Dip to water (m) | Water to mAOD | Alkalinity (mg/l) | Cadium (ug/l) | Calcium (mg/l) | Magnesium (mg/l) | Mecoprop (ug/l) | Sulphate (mg/l) | TributylPhosphate (ug/l) | Zinc (mg/l)
GDW01(D) | 2022-01-12 |  | 2 | 8.17 | 3.5 | 7300 | 51 | 700 | < 1 | 0.011 | 340 | < 0.005 | 0.24 | < 0.005 | 0.09 | 7.5 | 21 | 160.9 | 54 | 5.2 | 1.57 | 2.39 | 7.95 | Annual Data
GDW01(S) | 2022-01-12 |  | 1.3 | 18.3 | 4.8 | 2800 | 45 | 650 | < 1 | 0.017 | 160 | < 0.005 | 0.35 | < 0.005 | 0.086 | 7.7 | 20 | 148.4 | 52 | 5.2 | 1.72 | 2.35 | 7.99
GDW02(D) | 2022-01-12 |  | 5.4 | 10.7 | 20 | 520 | 29 | 960 | < 1 | 0.019 | 3100 | < 0.005 | 0.07 | < 0.005 | < 0.062 | 7.2 | 25 | 177.8 | 66 | 5.2 | 3.58 | 2.18 | 7.99
GDW02(S) | 2022-01-12 |  | 18 | 2.43 | 7.8 | 430 | 180 | 2100 | < 1 | 0.098 | 740 | < 0.005 | 0.02 | < 0.005 | 0.063 | 6.9 | 53 | 180.3 | 200 | 5.2 | 5.36 | 2.13 | 8.04
GDW03(D) | 2022-01-12 |  | 12 | 0.72 | 6.8 | 400 | 27 | 500 | < 1 | 0.066 | 880 | < 0.005 | 0.09 | < 0.005 | < 0.062 | 6.4 | 4.8 | 56.9 | 20 | 5.2 | 5.52 | 2.72 | 7.08
GDW03(S) | 2022-01-12 |  | 23 | 3.55 | 1.6 | 78 | 28 | 790 | 2.4 | 0.087 | 1600 | < 0.005 | 0.02 | 0.009 | 0.44 | 7.5 | 20 | 169.7 | 40 | 5.2 | 4.98 | 2.87 | 6.93
GDW21 | 2022-01-26 |  | 26 | 2.65 | 1.5 | 210 | 240 | 1000 | <1 | 0.49 | 130 | 0.0061 | 0.35 | 0.009 | 0.22 | 7.5 | 52 | 61.1 | 190 | 4.9 | 3.85 | 5.01 | 5.54
GDW23 | 2022-01-12 |  | 0.075 | 0.4 | < 1 | 64 | 20 | 310 | 2.5 | 0.04 | 2200 | < 0.005 | 0.06 | < 0.005 | 0.065 | 6.9 | 3.1 | 162.5 | 15 | 5.2 | 1.11 | 7.43 | 11.37
GDW24(D) | 2022-01-12 |  | 47 | 1.92 | < 1 | 15 | 100 | 1500 | 1.3 | 0.18 | 480 | < 0.005 | 0.06 | < 0.005 | 0.67 | 6.9 | 53 | 163.7 | 95 | 5.2 | 3.45 | 4.12 | 5.79
GDW24(S) | 2022-01-12 |  | 44 | 3.59 | < 1 | 53 | 110 | 1500 | 2.1 | 0.1 | 640 | < 0.005 | 0.05 | < 0.005 | 0.1 | 6.9 | 51 | 162 | 98 | 5.2 | 2.61 | 4.01 | 5.9
GDW25 | 2022-01-12 |  | 13 | 5.14 | 34 | 4200 | 190 | 2500 | 1.1 | 0.023 | 400 | < 0.005 | 0.07 | < 0.005 | 0.67 | 7.1 | 54 | 161.5 | 210 | 5.2 | 19.7 | 3.37 | 6.87
GDW26 | 2022-01-12 |  | 10 | 0.59 | 1.3 | 29 | 63 | 840 | 1 | 0.059 | 460 | < 0.005 | 0.07 | < 0.005 | < 0.062 | 7 | 29 | 125.5 | 75 | 5.2 | 2.36 | 4.2 | 5.91
TIR JB1 | 2022-01-12 |  | 0.22 | 0.43 | < 1 | 35 | 19 | 350 | 1 | 0.02 | 78 | < 0.005 | 0.21 | 0.007 | 0.064 | 7.6 | 3.6 | 129.5 | 12 | 5.2 | 1.31 | 2.67 | 7.83
TIR JB3(D) |  | Lost when capping
TIR JB3(S) |  | Lost when capping

## Groundwater_Annual(Haz Sub) (hidden)
Parameter | GDW01(D) | GDW01(S) | GDW02(D) | GDW02(S) | GDW03(D) | GDW03(S) | GDW21 | GDW23 | GDW24(D) | GDW24(S) | TIR GDW25 | TIR GDW26 | TIR JB1
1,1 Dichloroethylene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,1,1,2-Tetrachloroethene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,1,1-Trichloroethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,1,2-Trichloroethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,1-dichloroethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,1-Dichloropropene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2,3-Trichlorobenze (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2,3-Trichloropropane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2,4 trimethylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2,4-Trichlorobenze (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
1,2-Dibromo-3-Chloro (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2-Dibromoethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2-Dichlorobenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2-Dichloroethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,2-Dichloropropane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,3,5 trimethylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,3-Dichlorobenzene (ug/l) | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2
1,3-Dichloropropane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,3-Dinitrobenzene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
1,4-Dichlorobenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
1,4-Dinitrobenzene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2- Nitroaniline (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2,2-dichlororopane+1 (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
2,3,4,6-Tetrachloropane (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2,3,5,6-tetrachloropane (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2,4,5-Trichlorophenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2,4,6-Trichlorophenol (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
2,4-Dichlorophenol (ug/l) | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
2,4-Dimethylphenol (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
2,4-Dinitrotoluene (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2,6-Dichlorophenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
2,6-Dimethylphenol (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
2,6-Dinitrotoluene (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2-Chloronaphthalene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2-Chlorophenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2-Chlorotoluene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
2-Methylnaphthalene (ug/l) | < 1 | 2 | < 1 | < 1 | < 1 | < 1 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
2-Methylphenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
3 Nitroaniline (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
3&4-Methylphenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
4,4-DDE (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
4,4-DDT (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
4-Bromophenyl phenyl (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
4-Chloro-3-methyl ph (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
4-Chlorophenyl phenl (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
4-Chlorotoluene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
4-Nitroaniline (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
4-Nitrophenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Acenaphthene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | 0.05 | < 0.01 | 0.04 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Acenaphthylene (ug/l) | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
aldrin (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
alpha-BHC (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Ametryn (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Aniline (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
anthracene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.02 | < 0.01 | < 0.01 | < 0.01 | < 0.01
atrazine (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
azinphos-methyl (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Azobenzene ug/l (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Bentazone (ug/l) | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02
Benzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
benzo(a)anthracene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
benzo(a)pyrene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
benzo(b)fluoranthene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.02 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
benzo(ghi)perylene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
benzo(k)fluoranthene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Benzyl Alcohol ug/l (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
beta-BHC | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Bis (2-chloroethoxy) (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Bis (2-chloroisoprop (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Bis (2-ethylhexyl) p (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | 12 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Bolstar (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Bromobenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Bromochloromethane (ug/l) | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4
Bromodichloromethane (ug/l) | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4 | < 4
Bromoform (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Butly benzyl phthala (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Carbazole ug/l (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Carbon Tetrachloride (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Chlopyrifos (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Chlorobenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Chloroform (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Chloromethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Chlortoluron (ug/l) | < 0.2 | < 0.1 | < 0.1 | < 0.2 | < 0.1 | < 0.5 | < 0.4 | 4.9 | < 0.4 | < 0.2 | < 0.2 | < 0.2 | < 0.1
chrysene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
cis-1,2-dichloroethyelene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Cis-1,3-Dichloroprop (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Cyanide total ug/l (ug/l) | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40 | < 40
delta-BHC (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Demeton-O (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Demeton-s-methyl (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
diazinon (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
dibenzo(a,h)anthrace (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Dibenzofuron (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Dibromochloromethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Dibromomethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Dichlorprop (ug/l) | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02 | < 0.02
dichlorvos (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Dieldrin (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Diethyl Phthalate (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Dimethyl Phthalate (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Di-n-butyl phthalate (ug/l) | 2.7 | 130 | 150 | 130 | 230 | 530 | < 2.0 | 7.6 | 3.5 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Di-n-Octyl phthalate (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Diphenylamine ug/l (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Disulfoton (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Diuron (ug/l) | < 0.2 | < 0.1 | < 0.1 | < 0.2 | < 0.1 | < 0.5 | < 0.4 | < 0.4 | < 0.4 | < 0.2 | < 0.2 | < 0.2 | < 0.1
Endosulphan I (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Endosulphan II (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Endosulphan sulphate (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Endrin (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Endrin aldehyde (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Endrin ketone (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
EPH Range>C10-C40 aq (ug/l) | < 10 | 44 | 43 | 53 | 530 | 160 | 48 | 29 | 48 | < 10 | 19 | 37 | 5800
Ethoprop (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Ethyl benzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Fensulfothion (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
fenthion (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
fluoranthene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.04 | < 0.01 | 0.02 | < 0.01 | < 0.01 | < 0.01 | < 0.01
fluorene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.03 | < 0.01 | 0.02 | < 0.01 | < 0.01 | < 0.01 | < 0.01
gamma-BHC (Lindane) (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Gamma-Chlordane ug/l (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Heptachlor (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Heptachlor epoxide (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
hexachlorobenzene (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
hexachlorobutadiene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Hexachlorocyclopenta (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
indeno(1,2,3-cd)pyre (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Isopropylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Isoproturon (ug/l) | < 0.2 | < 0.1 | < 0.1 | < 0.2 | < 0.1 | < 0.5 | < 0.4 | < 0.4 | < 0.4 | < 0.2 | < 0.2 | < 0.2 | < 0.1
Linuron (ug/l) | < 0.2 | < 0.1 | < 0.1 | < 0.2 | < 0.1 | < 0.5 | < 0.4 | < 0.4 | < 0.4 | < 0.2 | < 0.2 | < 0.2 | < 0.1
m,p-xylenes (ug/l) | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2 | < 2
Merphos (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Methoxychloride (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Methylene Chloride (ug/l) | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27 | < 27
Methylparathion (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
mevinphos (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Monuron (ug/l) | < 0.2 | < 0.1 | < 0.1 | < 0.2 | < 0.1 | < 0.5 | < 0.4 | < 0.4 | < 0.4 | < 0.2 | < 0.2 | < 0.2 | < 0.1
Naled (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Naphthalene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
n-butylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
n-propylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
o-xylene (ug/l) | < 1 | 2 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
PAH (Sum of EPA 16) (ug/l) | < 0.20 | < 0.20 | < 0.20 | < 0.20 | < 0.20 | < 0.20 | 0.31 | < 0.20 | < 0.20 | < 0.20 | < 0.20 | < 0.20 | < 0.20
PCB - 052 (ug/l) | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
PCB - 101 (ug/l) | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3
PCB - 138 (ug/l) | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
PCB - 153 (ug/l) | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
PCB - 180 (ug/l) | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2 | < 0.2
PCB 118 + PCB 123 (ug/l) | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6 | < 0.6
PCB 28 + PCB 31 (ug/l) | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3 | < 0.3
PCB 7 Total (ug/l) | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
p-cresol ug/l (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
Pentachlorophenol (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
phenanthrene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.06 | < 0.01 | 0.03 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Phenol (ug/l) | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.50 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10 | < 0.10
Phorate (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
p-Isopropyltoluene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Prometon (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Prometryn (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Propazine (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
pyrene (ug/l) | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | 0.03 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01 | < 0.01
Ronnel (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Secbumeton (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
sec-butylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Simazine (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Stirofos (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Styrene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Symetryn (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Terbuthylazine (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Terbutryn (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
tert-butylbenzene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Tetrachloroethylene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Tokuthion (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | 2.4 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Toluene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Trans-1,2 Dichlorethane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Trans-1,3 Dichloropropane (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
Tributyl tin (TBT) (ug/l) | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Trichlorinate (ug/l) | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 2.0 | < 10.0 | < 2.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0
Trichloroethene (ug/l) | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1 | < 1
triphenyl tin (ug/l) | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0 | < 1.0

## Leachate_Quality
Sample Point | Date | Data Comments | Alkalinity (mg/l) | Ammoniacal-N (mg/l) | Arsenic (mg/l) | Bio Oxygen Demand (mg/l) | Cadmium (ug/l) | Calcium (mg/l) | Chem Oxygen Demand (mg/l) | Chloride (mg/l) | Chromium (mg/l) | Conductivity (uS/cm) | Copper (mg/l) | Fluoride (mg/l) | Iron (mg/l) | Lead (mg/l) | Magnesium (mg/l) | Manganese (ug/l) | Mercury (ug/l) | Nickel (mg/l) | Nitrate (mg/l) | Nitrite (mg/l) | Orthophosphate (mg/l) | pH | Potassium (mg/l) | Sodium (mg/l) | Sulphate (mg/l) | Temperature (degC) | Total Organic Carbon (mg/l) | Tot Oxidised Nitrogen (mg/l) | Zinc (mg/l) | Boron (mg/l) | 1,2,4 trimethylbenzene (ug/l) | 1,2-Dichloroethane (ug/l) | 2,4,5-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenol (ug/l) | Atrazine (ug/l) | Benzene (ug/l) | Benzo(a)pyrene (ug/l) | Benzo(b)fluoranthene (ug/l) | Benzo(ghi)perylene (ug/l) | Benzo(k)fluoranthene (ug/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Dibutyl tin (ug/l) | Dichloroprop (ug/l) | Ethyl benzene (ug/l) | indeno(1,2,3-cd)pyrene (ug/l) | m,p-xylenes (ug/l) | Mecoprop (ug/l) | Molybdenum (ug/l) | Monohydric Phenols (mg/l) | MTBE (ug/l) | Naphthalene (ug/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | p-Isopropyltoluene (ug/l) | Tetrabutyltin (ug/l) | Toluene (ug/l) | Tributyl Phosphate (ug/l) | Tributyl tin (ug/l) | Triphenyl tin (ug/l) | Triphenylphosphate (ug/l)
TIR HWM4A | Six Monthly Data | [30 empty] | Annual Data
TIR HWM5A
TIR HWM6A
TIR HWM7
TIR HWM8A
TIR HWM9A
TIR HWM10
TIR HWM13
TIR LCH DRAIN

## Leachate_Dips
Well | Date | Dip to leachate (m) | Leachate head (m) | Leachate level (mAOD) | Data Comments
TIR HWM4A | 2022-01-18 | 10.41 | 0.82 | 10.46
TIR HWM4A | 2022-01-27 | 10.37 | 0.86 | 10.5
TIR HWM4A | 2022-02-24 | 10.43 | 0.8 | 10.44
TIR HWM4A | 2022-02-28 | 10.4 | 0.83 | 10.47
TIR HWM4A | 2022-03-17 | 10.41 | 0.82 | 10.46
TIR HWM4A | 2022-03-25 | 10.4 | 0.83 | 10.47
TIR HWM5A | 2022-01-18 | 8.03 | 1.76 | 13.83
TIR HWM5A | 2022-01-27 | 7.98 | 1.81 | 13.88
TIR HWM5A | 2022-02-24 | 8 | 1.79 | 13.86
TIR HWM5A | 2022-02-28 | 8.1 | 1.69 | 13.76
TIR HWM5A | 2022-03-17 | 7.91 | 1.88 | 13.95
TIR HWM5A | 2022-03-25 | 7.93 | 1.86 | 13.93
TIR HWM6A | 2022-01-18 | 7.28 | 3.34 | 12.92
TIR HWM6A | 2022-01-27 |  |  |  | Blocked
TIR HWM6A | 2022-02-24 |  |  |  | Blocked
TIR HWM6A | 2022-02-28 |  |  |  | Blocked
TIR HWM6A | 2022-03-17 |  |  |  | Blocked
TIR HWM6A | 2022-03-25 |  |  |  | Blocked
TIR HWM7 | 2022-01-18 | 7.92 | 1.13 | 12.89
TIR HWM7 | 2022-01-27 | 7.81 | 1.24 | 13
TIR HWM7 | 2022-02-24 | 7.8 | 1.25 | 13.01
TIR HWM7 | 2022-02-28 | 7.95 | 1.1 | 12.86
TIR HWM7 | 2022-03-17 | 7.8 | 1.25 | 13.01
TIR HWM7 | 2022-03-25 | 7.77 | 1.03 | 13.04
TIR HWM8A | 2022-01-18 | 7.56 | 0.49 | 11.92
TIR HWM8A | 2022-01-27 | 7.52 | 0.53 | 11.96
TIR HWM8A | 2022-02-24 | 7.53 | 0.52 | 11.95
TIR HWM8A | 2022-02-28 | 7.57 | 0.48 | 11.91
TIR HWM8A | 2022-03-17 | 7.55 | 0.5 | 11.93
TIR HWM8A | 2022-03-25 | 7.56 | 0.49 | 11.92
TIR HWM9A | 2022-01-18 | 9.57 | 3.05 | 11.85
TIR HWM9A | 2022-01-27 | 9.51 | 3.11 | 11.91
TIR HWM9A | 2022-02-24 |  |  |  | Dry
TIR HWM9A | 2022-02-28 | 9.64 | 2.98 | 11.78
TIR HWM9A | 2022-03-17 | 9.63 | 2.99 | 11.79
TIR HWM9A | 2022-03-25 | 9.64 | 2.98 | 11.78
TIR HWM10 | 2022-01-18 |  |  |  | Blocked
TIR HWM10 | 2022-01-27 |  |  |  | Blocked
TIR HWM10 | 2022-02-24 |  |  |  | Blocked
TIR HWM10 | 2022-02-28 |  |  |  | Blocked
TIR HWM10 | 2022-03-17 |  |  |  | Blocked
TIR HWM10 | 2022-03-25 |  |  |  | Blocked
TIR HWM11 | 2022-01-18 | 9.4 | 1.45 | 11.07
TIR HWM11 | 2022-01-27 | 9.42 | 1.43 | 11.05
TIR HWM11 | 2022-02-24 | 8.36 | 2.49 | 12.11
TIR HWM11 | 2022-02-28 | 8.61 | 2.24 | 11.86
TIR HWM11 | 2022-03-17 | 9.34 | 1.51 | 11.13
TIR HWM11 | 2022-03-25 | 8.61 | 2.24 | 11.86
TIR HWM12 | 2022-01-18 | 7.8 | 2.12 | 11.69
TIR HWM12 | 2022-01-27 | 8.24 | 1.68 | 11.25
TIR HWM12 | 2022-02-24 | 3.74 | 6.18 | 15.75
TIR HWM12 | 2022-02-28 | 3.97 | 5.95 | 15.52
TIR HWM12 | 2022-03-17 | 7.94 | 1.98 | 11.55
TIR HWM12 | 2022-03-25 | 7.95 | 1.97 | 11.54
TIR HWM13 | 2022-01-18 | 8.86 | 0.14 | 10.26
TIR HWM13 | 2022-01-27 | 8.61 | 0.39 | 10.51
TIR HWM13 | 2022-02-24 | 8.68 | 0.32 | 10.44
TIR HWM13 | 2022-02-28 | 8.66 | 0.34 | 10.46
TIR HWM13 | 2022-03-17 | 8.65 | 0.35 | 10.47
TIR HWM13 | 2022-03-25 | 7.9 | 1.1 | 11.22

## ECO_Trans_Annual
Sample Point | Date | Ammoniacal N (mg/l) | Bio Oxygen Demand (mg/l) | Calcium (mg/l) | Chloride (mg/l) | Dissolved Organic Carbon (mg/l) | Dissolved Oxgyen (mg/l) | Nitrate (mg/l) | Nitrite (mg/l) | pH | Phosphorous (mg/l) | Orthophosphate (mg/l) | Sulphate (mg/l) | Data Comments
TIR ETM1 (1a) | 2022-03-01 | 36 | 8.3 | 95 | 120 | 4.56 | < 1 | 0.15 | < 0.005 | 7.3 | 0.85 | < 0.062 | 2.43
TIR ETM1 (1b) | 2022-03-01 | 21 | 7.1 | 98 | 190 | 3.15 | 1.1 | 0.11 | 0.1 | 7.5 | 3.8 | < 0.062 | 4.75
TIR ETM1 (2a) | 2022-03-01 | 27 | 24 | 100 | 160 | 4.85 | < 1 | 0.12 | < 0.005 | 7 | 0.4 | 0.07 | 4.26
TIR ETM1 (2b) | 2022-03-01 | 14 | 2.4 | 77 | 110 | 3.06 | < 1 | 0.13 | 0.0073 | 7.2 | 2.3 | < 0.062 | 2.07
TIR ETM1 (3a) | 2022-03-01 | 18 | 23 | 120 | 110 | 4.83 | < 1 | 0.11 | < 0.005 | 7.2 | 3 | < 0.062 | 4.25
TIR ETM1 (3b) | 2022-03-01 | [12 empty] | Dry
TIR ETM1 (4a) | 2022-03-01 | 5.1 | 16 | 120 | 79 | 5.75 | < 1 | 0.11 | < 0.005 | 7.4 | 2.9 | 0.13 | 3.75
TIR ETM1 (4b) | 2022-03-01 | 2.3 | 2 | 240 | 270 | 4.37 | < 1 | 0.12 | < 0.005 | 7.1 | 2 | < 0.062 | 1.89
TIR ETM1 (5a) | 2022-03-01 | 0.24 | 1.2 | 140 | 83 | 5.16 | 1 | 0.09 | 0.02 | 7.4 | 0.78 | < 0.062 | 3.65
TIR ETM1 (5b) | 2022-03-01 | 24 | 44 | 49 | 350 | 26.2 | < 1 | 0.29 | 0.0058 | 7.3 | 3.8 | 9.9 | 6.74
TIR ETM1 (6a) | 2022-03-01 | 0.036 | 1.2 | 130 | 100 | 7.48 | 1.2 | 0.12 | < 0.005 | 7.3 | 1.1 | < 0.062 | 2.37
TIR ETM1 (6b) | 2022-03-01 | 1.7 | 3 | 110 | 440 | 28.2 | 1 | 0.26 | < 0.005 | 7.3 | 0.51 | 0.34 | 3.77
TIR ETM2 (1a) | 2022-03-01 | 9.3 | 2.4 | 100 | 49 | 11.3 | < 1 | 0.15 | < 0.005 | 7.1 | 0.38 | < 0.062 | 16.6
TIR ETM2 (1b) | 2022-03-01 | 50 | 60 | 92 | 55 | 20.1 | < 1 | 0.15 | < 0.005 | 7.3 | 3.8 | 7.1 | 4.27
TIR ETM2 (2a) | 2022-03-01 | 11 | 3 | 100 | 57 | 13.3 | < 1 | 0.13 | < 0.005 | 7.1 | 0.26 | 0.17 | 9.14
TIR ETM2 (2b) | 2022-03-01 | 29 | 5.6 | 130 | 79 | 10 | < 1 | 0.13 | 0.0072 | 7.4 | 0.47 | < 0.062 | 4.1
TIR ETM2 (3a) | 2022-03-01 | 3.9 | 3.4 | 92 | 45 | 6.35 | < 1 | 0.13 | 0.075 | 7.2 | 0.18 | < 0.062 | 16.9
TIR ETM2 (3b) | 2022-03-01 | 12 | 3.6 | 20 | 130 | 106 | < 1 | 3.16 | U/S | 6.7 | 0.9 | 1.5 | 9.18
TIR ETM2 (4a) | 2022-03-01 | 1.2 | 3 | 100 | 50 | 8.65 | < 1 | 0.15 | < 0.005 | 6.9 | 0.12 | < 0.062 | 12.7
TIR ETM2 (4b) | 2022-03-01 | 4.6 | 5.8 | 5.6 | 91 | 104 | < 1 | 1.87 | U/S | 6.7 | 0.047 | U/S | 8.52
TIR ETM2 (5a) | 2022-03-01 | 1.5 | 43 | 82 | 39 | 7.9 | < 1 | 0.09 | < 0.005 | 7.2 | 0.25 | < 0.062 | 17.2
TIR ETM2 (5b) | 2022-03-01 | 0.65 | 7.2 | 57 | 41 | 16 | < 1 | 0.23 | < 0.005 | 6.8 | 0.16 | 0.32 | 13.3
TIR ETM2 (6a) | 2022-03-01 | 0.025 | 3.3 | 69 | 31 | 8.17 | < 1 | 0.15 | < 0.005 | 7 | 0.084 | 0.082 | 10.8
TIR ETM2 (6b) | 2022-03-01 | 85 | 270 | 67 | 48 | 1720 | < 1 | 0.18 | 0.0075 | 6.5 | 13 | 40 | 11.9
TIR ETM5 (1a) | 2022-03-01 | 37 | < 1 | 110 | 86 | 2.99 | < 1 | 0.07 | 0.02 | 7.3 | 1.4 | < 0.062 | 1.65
TIR ETM5 (1b) | 2022-03-01 | 23 | 7.6 | 52 | 79 | 2.6 | < 1 | 0.06 | 0.055 | 7.5 | 4.9 | 0.54 | 2.31
TIR ETM5 (2a) | 2022-03-01 | 29 | 26 | 130 | 99 | 7.04 | < 1 | 0.06 | < 0.005 | 7.2 | 2.7 | 0.35 | 1.9
TIR ETM5 (2b) | 2022-03-01 | 35 | 26 | 100 | 160 | 2.88 | < 1 | 3.93 | 0.051 | 7.4 | 6.2 | 0.13 | 5.08
TIR ETM5 (3a) | 2022-03-01 | 20 | 5.7 | 110 | 92 | 6.48 | < 1 | 0.11 | 0.021 | 7.2 | 1.2 | 0.1 | 3.47
TIR ETM5 (3b) | 2022-03-01 | 3 | 38 | 220 | 210 | 3.6 | < 1 | 0.13 | 0.0092 | 7 | 1.3 | < 0.062 | 2.06
TIR ETM5 (4a) | 2022-03-01 | 1.6 | 2.6 | 190 | 130 | 6 | 1.6 | 0.12 | 0.013 | 6.9 | 2 | < 0.062 | 3.16
TIR ETM5 (4b) | 2022-03-01 | 0.085 | 3.4 | 200 | 520 | 33.5 | < 1 | 0.25 | < 0.005 | 7.5 | 0.15 | < 0.062 | 4.55
TIR ETM5 (5a) | 2022-03-01 | 0.62 | 2.7 | 170 | 160 | 8.21 | < 1 | 0.06 | < 0.005 | 7 | 0.87 | < 0.062 | 2.33
TIR ETM5 (5b) | 2022-03-01 | 1.2 | 7.9 | 150 | 260 | 22.5 | < 1 | 0.13 | 0.05 | 7.3 | 0.48 | 0.4 | 3.92
TIR ETM5 (6a) | 2022-03-01 | < 0.015 | 4.7 | 33 | 210 | 22.9 | < 1 | 0.15 | < 0.005 | 6.4 | 0.14 | < 0.062 | 4.02
TIR ETM5 (6b) | 2022-03-01 | < 0.015 | 1.1 | 19 | 290 | 28 | 1.1 | 0.23 | < 0.005 | 5.6 | 0.064 | < 0.062 | 4.09
TIR ETM6 (1a) | 2022-03-01 | 0.062 | 1.1 | 82 | 62 | 5.8 | < 1 | 0.15 | < 0.005 | 6.8 | 1.4 | 0.088 | 12.1
TIR ETM6 (1b) | 2022-03-01 | 2.7 | 8.6 | 15 | 140 | 16.3 | < 1 | 0.25 | < 0.005 | 5.8 | 1.3 | 0.26 | 4.8
TIR ETM6 (2a) | 2022-03-01 | 0.036 | 5.8 | 47 | 66 | 4.62 | < 1 | 0.11 | 0.043 | 6.2 | 0.86 | < 0.062 | 5.12
TIR ETM6 (2b) | 2022-03-01 | 9 | 6.9 | 32 | 130 | 19.5 | < 1 | 0.19 | < 0.005 | 6.3 | 3.1 | 5.2 | 4.43
TIR ETM6 (3a) | 2022-03-01 | 0.14 | 1.1 | 62 | 43 | 6.7 | 1 | 0.11 | < 0.005 | 6.6 | 1.9 | < 0.062 | 5.46
TIR ETM6 (3b) | 2022-03-01 | 0.11 | 1.4 | 8.7 | 110 | 18 | < 1 | 0.14 | < 0.005 | 5.8 | 0.38 | 0.38 | 3.31
TIR ETM6 (4a) | 2022-03-01 | 0.048 | 3.2 | 23 | 41 | 4.76 | < 1 | 0.08 | < 0.005 | 6 | 3 | < 0.062 | 2.57
TIR ETM6 (4b) | 2022-03-01 | 0.37 | 1.3 | 9.5 | 76 | 32.4 | < 1 | 0.25 | < 0.005 | 6.3 | 1.2 | 1.8 | 6.06
TIR ETM6 (5a) | 2022-03-01 | 0.099 | 3.1 | 25 | 51 | 6.16 | < 1 | 0.06 | < 0.005 | 6.1 | 1.8 | < 0.062 | 2.36
TIR ETM6 (5b) | 2022-03-01 | 0.32 | 9 | 10 | 130 | 26.6 | < 1 | 0.23 | < 0.005 | 5.6 | 0.19 | < 0.062 | 4.56
TIR ETM6 (6a) | 2022-03-01 | 0.073 | 3.6 | 15 | 59 | 15.5 | < 1 | 0.22 | < 0.005 | 6.3 | 2.3 | 0.087 | 3.16
TIR ETM6 (6b) | 2022-03-01 | 0.028 | 1.3 | 38 | 31 | 12.5 | < 1 | 0.14 | < 0.005 | 6.5 | 0.28 | 0.14 | 6.3
TIR ETM7 (1a) | 2022-03-01 | 0.069 | 1 | 17 | 19 | 6.83 | < 1 | 0.29 | < 0.005 | 6.7 | 2.2 | 0.064 | 3.14
TIR ETM7 (1b) | 2022-03-01 | 0.34 | 1.3 | 49 | 15 | 3.83 | < 1 | 0.01 | < 0.005 | 7.4 | 4.3 | 0.42 | 3.54
TIR ETM7 (2a) | 2022-03-01 | 0.12 | 2.6 | 20 | 17 | 8.14 | < 1 | 0.29 | < 0.005 | 6.5 | 1.4 | < 0.062 | 2.14
TIR ETM7 (2b) | 2022-03-01 | 40 | 2 | 72 | 25 | 3.7 | < 1 | 0.02 | < 0.005 | 7.6 | 3.4 | < 0.062 | 1.33
TIR ETM7 (3a) | 2022-03-01 | 4.5 | 2.2 | 18 | 18 | 10.1 | < 1 | 0.12 | < 0.005 | 6.5 | 4 | 0.074 | 2.99
TIR ETM7 (3b) | 2022-03-01 | 33 | 3.8 | 85 | 52 | 3.86 | < 1 | 0.11 | < 0.005 | 7.7 | 2.8 | 0.075 | 0.976
TIR ETM7 (4a) | 2022-03-01 | 0.057 | 1 | 27 | 18 | 5.13 | < 1 | 0.05 | < 0.005 | 6.8 | 1.5 | < 0.062 | 3.22
TIR ETM7 (4b) | 2022-03-01 | 3.8 | 2.8 | 140 | 82 | 4.01 | < 1 | 0.14 | 0.096 | 7.8 | 3.6 | < 0.062 | 4.11
TIR ETM7 (5a) | 2022-03-01 | 0.042 | < 1 | 53 | 48 | 6.98 | < 1 | 0.09 | < 0.005 | 7 | 1.2 | < 0.062 | 1.48
TIR ETM7 (5b) | 2022-03-01 | 1.7 | 2 | 170 | 180 | 4.51 | < 1 | 0.05 | 0.0065 | 7.3 | 1.5 | 0.19 | 1.16
TIR ETM7 (6a) | 2022-03-01 | 1 | 2.7 | 48 | 25 | 5.39 | < 1 | 0.01 | 0.0069 | 7 | 2.2 | < 0.062 | 1.57
TIR ETM7 (6b) | 2022-03-01 | 0.12 | 2.6 | 130 | 93 | 3.67 | < 1 | 0.04 | < 0.005 | 6.8 | 1.9 | < 0.062 | 1.15
U/S - Analysis could not be completed due to sample matrix.

## Gas Field Data
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Balance Gas (%) | Atm Pressure (mbar) | Relative Pressure (mbar) | Comment
TIRW1211 | 2022-01-28 10:43 | 10.3 | 8 | 16.9 | 0 | 0 | 64.8 | 1036 | -0.05
TIRW1211 | 2022-02-16 12:24 | 1.8 | 7.5 | 18.7 | 0 | 0 | 72 | 998 | -0.28
TIRW1211 | 2022-03-30 13:23 | 36 | 17.7 | 8.3 | 1 | 2 | 38 | 1006 | 1.48
TIRW1212 | 2022-01-28 10:44 | 0.9 | 4 | 21.2 | 0 | 0 | 73.9 | 1036 | -0.02
TIRW1212 | 2022-02-16 12:24 | 14.1 | 14.5 | 6.9 | 0 | 0 | 64.5 | 998 | -0.03
TIRW1212 | 2022-03-30 13:24 | 72.4 | 25.8 | 0.8 | 3 | 2 | 1 | 1005 | -1.38
TIRW12A1 | 2022-01-28 10:48 | 3.2 | 6.5 | 18.7 | 0 | 0 | 71.6 | 1035 | -0.07
TIRW12A1 | 2022-02-16 12:29 | 68.3 | 34.7 | 0.2 | 1 | 0 | 0 | 998 | -0.57
TIRW12A1 | 2022-03-30 13:29 | 64 | 32.6 | 0.7 | 2 | 2 | 2.7 | 1005 | -0.02
TIRW12A2 | 2022-01-28 10:46 | 71.7 | 29 | 1 | 1 | 0 | 0 | 1035 | -23.22
TIRW12A2 | 2022-02-16 12:27 | 73.1 | 27.7 | 1 | 0 | 0 | 0 | 997 | -20.89
TIRW12A2 | 2022-03-30 13:26 | 64.1 | 26.8 | 1.7 | 2 | 2 | 7.4 | 1005 | -17.6
TIRW12A7 | 2022-01-28 11:36 | 0.2 | 0.9 | 22.3 | 0 | 0 | 76.6 | 1037 | -0.02
TIRW12A7 | 2022-02-16 13:12 | 8.4 | 7.9 | 13.2 | 1 | 0 | 70.5 | 998 | 1.71
TIRW12A7 | 2022-03-30 14:21 | 0.6 | 13.2 | 17.1 | 4 | 4 | 69.1 | 1006 | 0.44

## Ecotransects_Annual (hidden)
Sample Point | Date | Ammoniacal-N (mg/l) | BOD (mg/l) | Calcium (mg/l) | Cl (mg/l) | Conductivity (uS/cm) | DOC (mg/l) | DO (mg/l) | NO2 (mg/l) | NO3 (mg/l) | Orthophosphate (mg/l) | pH | Phosphorus Total(mg/l) | Redox (mV) | SO4 (mg/l) | TDS (g/l) | Temperature (degC)
TIR ETM1 (1a)
TIR ETM1 (1b)
TIR ETM1 (2a)
TIR ETM1 (2b)
TIR ETM1 (3a)
TIR ETM1 (4a)
TIR ETM1 (4b)
TIR ETM1 (5a)
TIR ETM1 (5b)
TIR ETM1 (6a)
TIR ETM1 (6b)
TIR ETM5 (1a)
TIR ETM5 (1b)
TIR ETM5 (2a)
TIR ETM5 (2b)
TIR ETM5 (3a)
TIR ETM5 (3b)
TIR ETM5 (4a)
TIR ETM5 (4b)
TIR ETM5 (5a)
TIR ETM5 (5b)
TIR ETM5 (6a)
TIR ETM5 (6b)