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	EPR Compliance Assessment Report
	Report ID: BV0759IC/0242933

 


	This form will report compliance with your permit as determined by an NRW officer

	Site
	Cardiff Rod and Bar Mill EA/EPR/BV0759IC/V002
	Permit Ref
	BV0759IC

	Operator/ Permit holder
	Celsa Manufacturing UK Ltd 
	

	Date
	30/06/2015 
	Time in
	12:00
	Out
	13:00

	What parts of the permit were assessed
	2.2.2.4, 2.10.1

	Assessment
	Check monitoring/sampling
	EPR Activity:
	Installation
	X
	Waste Op
	
	Water Discharge
	

	Recipient’s name/position
	Richard Lewis, Environment Manager

	Officer’s name
	Richard Taylor
	Date issued
	30/06/2015


	Section 1 - Compliance Assessment Summary

	This is based on the requirements of the permit under the Environmental Permitting Regulations.  A detailed explanation and any action you may need to take are given in the “Detailed Assessment of Compliance” (section 3).  This summary details where we believe any non-compliance with the permit has occurred, the relevant condition and how the non-compliance has been categorised using our Compliance Classification Scheme (CCS).  CCS scores can be consolidated or suspended, where appropriate, to reflect the impact of some non-compliances more accurately.  For more details of our CCS scheme, contact your local office.

	Permit Conditions and Compliance Summary                    
	Condition(s) breached

	a) Permitted activities 
	1. Specified by permit
	N
	
	

	b) Infrastructure
	1.
Engineering for prevention & control of pollution
	N
	
	

	
	2. Closure & decommissioning
	N
	
	

	
	3.
Site drainage engineering (clean & foul)
	N
	
	

	
	4. Containment of stored materials
	N
	
	

	
	5. Plant and equipment
	N
	
	

	c) General management
	1. Staff competency/ training
	N
	
	

	
	2. Management system & operating procedures
	C4
	
	2.10.1

	
	3. Materials acceptance
	N
	
	

	
	4. Storage handling, labelling, segregation
	N
	
	

	d) Incident  management
	1. Site security
	N
	
	

	
	2. Accident, emergency & incident planning
	N
	
	

	e) Emissions

	1. Air
	N
	
	

	
	2. Land & Groundwater
	N
	
	

	
	3. Surface water
	C3
	
	2.2.2.4

	
	4. Sewer
	N
	
	

	
	5. Waste
	N
	
	

	f) Amenity
	1. Odour
	N
	
	

	
	2. Noise
	N
	
	

	
	3. Dust/fibres/particulates
	N
	
	

	
	4. Pests, birds & scavengers
	N
	
	

	
	5. Deposits on road
	N
	
	

	g) Monitoring and records, maintenance and reporting
	1. Monitoring of emissions & environment
	C3
	
	2.2.2.4

	
	2. Records of activity, site diary, journal & events
	N
	
	

	
	3. Maintenance records
	N
	
	

	
	4. Reporting & notification
	N
	
	

	h) Resource efficiency
	1. Efficient use of raw materials
	N
	
	

	
	2. Energy
	N
	
	

	KEY:  C1, C2, C3, C4 = CCS breach category ( * suspended scores are marked with an asterisk),
A = Assessed (no evidence of non-compliance), N = Not assessed, NA = Not Applicable, O = Ongoing non-compliance – not scored

	
	
	
	
	

	Number of breaches recorded 
	3
	Total compliance score

(see section 5 for scoring scheme)
	8.1


	If the Total No Breaches is greater than zero, then please see Section 3 for details of our proposed enforcement response 


	Section 2 – Compliance Assessment Report Detail

	This section contains a report of our findings and will usually include information on:

	· the part(s) of the permit that were assessed (e.g. maintenance, training, combustion plant, etc)

· where the type of assessment was ‘Data Review’ details of the report/results triggering the assessment

· any non-compliances identified 

· any non-compliances with directly applicable legislation 
· details of any multiple non-compliances 
	· information on the compliance score accrued inc. details of suspended or consolidated scores.

· details of advice given
· any other areas of concern 

· all actions requested
· any examples of good practice.

· a reference to photos taken

	This report should be clear, comprehensive, unambiguous and normally completed within 14 days of an assessment.




	 

The purpose of this CAR form is to acknowledge the receipt of Celsa Rod and Bar Mill, permit BV0759 W1 returns for Apr and May 2015 inclusive.
 

Breach of permit condition 2.2.2.4, suspended solids. Site sent a schedule 1 part A and part B notification to NRW on 19th June 2015 which detailed an exceedence of suspended solids to groundwater monitored at W1 discharge point taken on 27th May 2015. The measured amount was 136mg/l against a maximum permitted allowance of 80mg/l. This has been scored as a breach of permit condition 2.2.2.4 and been given a category 3 status as a pollution incident with a minor environmental effect.
Result, Cat 3 breach.
 

Site also sent monitoring data for April and May. April’s contained x3 breaches of permit limits for Total hydrocarbon in oil, (10.3 mg/l against a maximum 5mg/l); Suspended solids, (150mg/l against a maximum 80 mg/l); and Free Chlorine, (1.57 mg/l against a maximum 0.1 mg/l). Site sent a schedule 1 part A notification on 14th May following up with a part b on 28th May. This detailed the 3x breaches of water quality permitted at W1, but stated that no emission actually took place at the time.
Breach of pc 2.2.2.4. NRW accepts the explanation that no actual emission took place at the time, therefore no breaches of the emission limits could have occurred. However, no follow up sample was taken for analysis, and the declaration that the site took the sample from an affective holding pool, means that the sample was not taken from the W1 outlet, or was a representative sample. This means that the site has not submitted qualitative data for the month of April as stated in the site permit at 2.2.2.4 - where the frequency of monitoring is ‘monthly’. Consequently this breaches permit condition 2.10.2 for not providing the required data for the month of April 2015 (March and May have subsequently been submitted). No actual environmental effect normally means a Cat 4 breach, however, in this case, an elevated Cat 3 breach has been awarded after consultation with CCS scoring guidance because of three additional factors. 1. The x3 elevated levels measured carried the potential to cause minor environmental effects individually. 2, the site has not submitted representative data for April, instead, non-representative data was effectively submitted. 3. This was a foreseeable incident which could have been avoided if the correct sampling procedure would have been followed.
Result, Cat 3 breach.
 

Breach of pc 2.10.1. Site also breaches permit condition 2.10.1 where the site has not ensured the monitoring of the water emission has occurred under the frequency and standards laid down in permit table 2.2.2.4. This is seen as a management issue where no actual pollution has taken place, but it is classed as a breach of permit with a score of cat 4 awarded. 
Result, Cat 4 breach.
 

NRW accepts that a new water quality management contractor is employed on site to carry out the monitoring requirements, however, the omission of data for Apr 2015 and the failure to take the sample whilst discharging to the East bute dock has highlighted problems with the present management of water sampling at the site. NRW understands that there will be a period of adjustment needed for Celsa to work effectively with the new contractor, but cannot allow potential water pollution incidents pass without regulatory action. At the same time, we trust the management of the water sampling to be properly in place at the next submission. That said, the subsequent actions by Celsa to identify the root of the problem and implement the necessary changes is commendable. These were reported to NRW in the Schedule 1 part A and B submissions sent by the site.
The water quality Management procedure, plus the new ’monthly trade effluent procedure’ will be subject to the next site audit. NRW understands that there may be teething problems with the integration of the new contractor, we are duty bound as the regulator to impose the above penalties. NRW does not offer any additional management conditions other than those proposed in the schedule 1 notification from 28th May 2015, but hopes the site returns back to full environmental compliance for the next W1 return due.
 

Summary of Performance over the last 24 months.
CAR form dates – please note, breaches occurring in 2014 and recorded on a 2015 CAR form are recorded as breaches for 2014.
 

1. 29 Jun 2015 – pc 2.2.2.4 Cat 3 – W1 Suspended solids
2. 29 Jun 2015 – pc 2.2.2.4 Cat 3 – Failure to submit representative  Apr W1 return
3. 29 Jun 2015 – pc 2.10.1 Cat 4 – W1, Failure to manage the W1 sampling
4. 24 Apr 2015 - pc 2.10.1 Cat 4 – W1, no actual pollution, but a breach of the reported limits
5. 12 Mar 2015 -pc 2.2.2.4 Cat 3 – W1 Nickel 0.347mg/l against a permitted max of 0.2 mg/ l
6. 13 Jan 2015 – pc 2.2.2.4 Cat 3 - W1 Chromium and Dissolved Iron
7. 29 Jul 2014 – pc 2.2.2.4  Suspended score- W1 free Chlorine – suspension of score.
 

Recent site performance for OPRA scoring.
2015 – 12.2  points to date
2014 – 4 points
2013 – 0 points
2012 – 0.1 point
END.
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	EPR Compliance Assessment Report
	Report ID: BV0759IC/0242933


	This form will report compliance with your permit as determined by an NRW officer

	Site 
	Cardiff Rod and Bar Mill EA/EPR/BV0759IC/V002
	Permit
	BV0759IC

	Operator/ Permit
	Celsa Manufacturing UK Ltd 
	Date
	30/06/2015


	Section 3- Enforcement Response
	Only one of the boxes below should be ticked

	You must take immediate action to rectify any non-compliance and prevent repetition. 
Non-compliance with your permit conditions constitutes an offence and can result in criminal prosecutions and/or suspension or revocation of a permit.  Please read the detailed assessment in Section 2 and the steps you need to take in Section 4 below.

	Other than the provision of advice and guidance, at present we do not intend to take further enforcement action in respect of the non-compliance identified above.  This does not preclude us from taking enforcement action if further relevant information comes to light or advice isn’t followed.
	X

	In respect of the above non-compliance you have been issued with a warning. At present we do not intend to take further enforcement action. This does not preclude us from taking additional enforcement action if further relevant information comes to light or offences continue.
	

	We will now consider what enforcement action is appropriate and notify you, referencing this form.
	


	Section 4- Action(s) 

	Where non-compliance has been detected and an enforcement response has been selected above, this section summarises the steps you need to take to return to compliance and also provides timescales for this to be done.

	Criteria Ref.
	CCS Category
	Action Required/Advised 
	Due Date 

	See Section 1 above 
	
	

	C2
	C4
	Ensure environment management system provides representative samples of W1 flow on a monthly basis conforming to permit condition.
	N/A

	E3
	C3
	No action specified
	N/A

	G1
	C3
	No action specified
	N/A


	Section 5 - Compliance notes for the Operator
	
	Section 6 – General Information

	To ensure you correct actual or potential non-compliance we may
( advise on corrective actions verbally or in writing 

( require you to take specific actions in writing 

( issue a notice
( require you to review your procedures or management system
( change some of the conditions of your permit

( decide to undertake a full review of your permit
	
	Data protection notice
The information on this form will be processed by the Natural Resources Wales (NRW) to fulfill its regulatory and monitoring functions and to maintain the relevant public register(s). The NRW may also use and/or disclose it in connection with:

(  offering/providing you with its literature/services relating to environmental matters

(  consulting with the public, public bodies and other organisations (e.g. Health and Safety Executive, local authorities) on environmental issues

(  carrying out statistical analysis, research and development on environmental issues

(  providing public register information to enquirers

(  investigating possible breaches of environmental law and taking any resulting action

(  preventing breaches of environmental law

(  assessing customer service satisfaction and improving its service

(  Freedom of Information Act/Environmental Information Regulations request.

The NRW may pass it on to its agents/representatives to do these things on its behalf. You should ensure that any persons named on this form are informed of the contents of this data protection notice.

	Any breach of a permit condition is an offence and we may take legal action against you.
( We will normally provide advice and guidance to assist you to come back into compliance either after an offence is committed or where we consider that an offence is likely to be committed. This is without prejudice to any other enforcement response that we consider may be required.

( Enforcement action can include the issue of a formal caution, prosecution, the service of a notice and or suspension or revocation of the permit. 

See our Enforcement and Civil Sanctions guidance for further information
	
	

	This report does not relieve the site operator of the responsibility to 

( ensure you comply with the conditions of the permit at all times and prevent pollution of the environment
( ensure you comply with other legislative provisions which may apply.
	
	

	Non-compliance scores and categories
	
	Disclosure of information

The NRW will provide a copy of this report to the public register(s).  However, if you consider that any information contained in this report should not be released to the public register(s) on the grounds of commercial confidentiality, you must write to your local area office within twenty working days of receipt of this form indicating which information it concerns and why it should not be released, giving your reasons in full.

	CCS category
	Description
	Score
	
	

	C1
	A non-compliance which could have a  major environmental effect
	    60
	
	

	C2
	A non-compliance which could have a significant environmental effect
	31
	
	

	C3
	A non-compliance which could have a  minor environmental effect
	     4
	
	Customer charter
What can I do if I disagree with this compliance assessment report?
If you are unable to resolve the issue with your site officer, you should firstly discuss the matter with the officer’s line managers.  If you wish to raise your dispute further through our official Complaints and Commendations procedure, phone our general enquiry number  0300 065 3000 (Mon to Fri 08.00–18.00) and ask for the Customer Contact team or send an email to enquiries@naturalresourceswales.gov.uk.  If you are still dissatisfied you can make a complaint to the Public Services Ombudsman for Wales.   For advice on how to complain to the Ombudsman phone their helpline on 0845 607 0987.

	C4
	A non-compliance which has no potential environmental effect
	    0.1
	
	

	Operational Risk Appraisal (Opra) - Compliance assessment findings may affect your Opra score and/or your charges. This score influences the resource we use to assess permit compliance.
	
	

	
	
	


CAR 2 V1.0 


