Permit Number: 	EPR/EP3738NG					Operator: WEPA UK Ltd

Facility:		Bridgend Papermill					Form Number: 	Performance 1 31/03/2016

# Reporting of other performance indicators for the period DD/MM/2016 to DD/MM/2017

| Parameter |  | Units |  |
| --- | --- | --- | --- |
| Oxides of Nitrogen |  | Tonnes/T |  |
| Carbon Dioxide |  | Tonnes/T |  |
| Biological Oxygen Demand |  | kg/T |  |
| Suspended Solids |  | kg/T |  |
| Nitrogen and phosphorus |  | kg/T |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/EP3738NG			Operator: 	WEPA UK Ltd

Facility:		Bridgend Papermill			Form Number: 	Resource efficiency 1 31/03/2016

# Reporting of Resource efficiency performance metrics for the period DD/MM/2016 to DD/MM/2017

| Parameter Water | Units Methodology Total m3/p.a m3/t Measured or Calculated |  |  |
| --- | --- | --- | --- |
| Water Inputs to the Mill |  |  |  |
| Surface water (actual not licensed) eg: river water |  |  |  |
| Groundwater (actual not licensed) eg: borehole water |  |  |  |
| Mains water (only report if used in the paper or pulp manufacturing process) |  |  |  |
| Other water (eg; if rainwater harvesting is practised) |  |  |  |
| Water used in manufacturing |  |  |  |
| Cooling water (once through or hybrid systems) |  |  |  |
| Process water |  |  |  |
| Other water used in manufacturing |  |  |  |
| Other inputs of water/moisture |  |  |  |
| Pulp or other fibre or wood at X% moisture content2 |  |  |  |
| Waste paper for recycling at X% moisture content2 |  |  |  |
| Water outputs |  |  |  |
| Waste Water discharged to surface waters NB; this figure should be the one used to report water usage per tonne as per BREF benchmarks under BATC No.5 and should exclude site drainage and cooling water |  |  |  |
| Waste water discharged to sewer |  |  |  |
| Losses to evaporation |  |  |  |
| Losses in final product at Y% moisture content2 |  |  |  |
| Losses in major waste stream outputs at Y% moisture content such as sludge2 |  |  |  |
| Losses in major waste stream outputs at X% moisture content such as rejects (EWC 03 03 07)2 |  |  |  |

| Parameter Waste | Units Total tonnes/p.a Measured or Calculated |  |
| --- | --- | --- |
| Waste/raw material Inputs (other than those reported via quarterly waste returns) |  |  |
| Pulp |  |  |
| Starch & main fillers |  |  |
| Other significant raw material inputs if >1000 tonnes |  |  |
| Waste/raw material outputs (other than those reported via quarterly waste returns) |  |  |
| Production (Net annual production reported as total as defined in the BREF BATCs1) |  |  |

Notes:

1. (i) For paper mills: the unpacked, saleable production after the last slitter winder, i.e. before converting. (ii) For off-line coaters: production after coating. (iii)  For tissue mills: saleable production after the tissue machine before any rewinding processes and excluding any core.  (iv) For market pulp mills: production after packing (ADt). (v) For integrated mills: Net pulp, production refers to the production after packing (ADt) plus the pulp transferred to the paper mill (pulp calculated at 90 % dryness, i.e. air dry). Net paper production: same as (i)

2. X% & Y% moisture content. Is defined as the average moisture content over the 12 month period. Monitoring frequency determined by each mill but to be noted on the return for each input/output.

Operator’s comments:

Signed …………………………………………………………….		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EPR/EP3738NG			Operator: WEPA UK Ltd

Facility:		Bridgend Papermill			Form Number: 	 Water 1 31/03/2016

# Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/2016 to DD/MM/2017

| Emission Point | Substance / Parameter | Emission/ Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] [5]] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | Flow rate | No limit set | Instantaneous |  | MCERTS self-monitoring of effluent flow scheme |  |  |
| W1 | Maximum Daily Flow [6] | 17,500m3/day | 24 hours |  | MCERTS self-monitoring of effluent flow scheme |  |  |
| W1 | Mean Daily Flow | No limit set | 24 hours |  | MCERTS self-monitoring of effluent flow scheme |  |  |
| W1 | pH | 6.5 (min) 8.5 (max) | Daily average |  | MCERTS approved instrumentation or equivalent |  |  |
| W1 | Temperature | 25oC | Daily average |  | Standard Temperature Sensor |  |  |
| W1 | Chemical Oxygen Demand (COD) [7] | No limit set | 24-hour flow proportional sample |  | COD: BS ISO 15705 TOC: BS EN 1484 |  |  |
| W1 | Biological Oxygen Demand (BOD) | 10 mg/l | 24-hour flow proportional sample |  | BS EN 1899-1 |  |  |
| W1 | Total Suspended Solids | 25 mg/l | Daily |  | BS EN 872 |  |  |
| W1 | Ammonia as N | 1 mg/l | Daily |  | BS EN ISO 11732 or ISBN 0117516139 |  |  |
| W1 | Total Nitrogen | No limit set | 24-hour flow proportional sample |  | BS EN 12260 |  |  |
| W1 | Total Phosphorus | No limit set | 24-hour flow proportional sample |  | BS EN ISO 6878 followed by BS EN ISO 15681-1 |  |  |
| W1 | Mercury and its compounds, expressed as mercury (Total Hg) | 0.1 µg/l | 24-hour flow proportional composite sample |  | BS EN ISO 17852 |  |  |
| W1 | Cadmium and its compounds, expressed as cadmium (Total Cd) | 0.6 µg/l | 24-hour flow proportional composite sample |  | BS EN ISO 17294 BS EN ISO 5961 BS EN ISO 1185 |  |  |
| W1 | Other compounds: AOX |  | 24-hour flow proportional sample |  | AOX: BS EN ISO 9562 or other method as agreed in writing with Natural Resources Wales |  |  |
| W1 | Priority Hazardous Substances Screen [8] | -- | 24-hour flow proportional composite sample |  | GCMS analysis at UKAS accredited laboratory |  |  |
| W1 | Zn (total and dissolved) and its compounds | -- | 24-hour flow proportional sample |  | BS EN ISO 15586:2003 |  |  |
| W1 | Cu (total and dissolved) and its compounds | -- | 24-hour flow proportional sample |  | BS EN ISO 15586:2003 |  |  |
| W1 | Cd (total and dissolved) and its compounds | -- | 24-hour flow proportional sample |  | BS EN ISO 15586:2003 |  |  |
| W1 | Pb (total and dissolved) and its compounds | -- | 24-hour flow proportional sample |  | BS EN ISO 15586:2003 |  |  |
| W1 | Hg (total and dissolved) and its compounds | -- | 24-hour flow proportional sample |  | BS EN ISO 15586:2003 |  |  |
| W1 | Ni (total and dissolved) and its compounds | -- | 24-hour flow proportional sample |  | BS EN ISO 15586:2003 |  |  |
| W1 | Pentachlorophenol | 1.0 µg/l | 24-hour flow proportional sample |  | As agreed with Natural Resources Wales |  |  |
| W1 | Tributylin | 0.01µg/l | 24-hour flow proportional sample |  | As agreed with Natural Resources Wales |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

- In the case of results for the Hazardous pollutants screen supply the quoted Limit of Detection (LOD) with the result.

- In the case of daily flow supply the maximum and mean figure for each month within the 6 month reporting window.

- If TOC is already monitored as a key process parameter, there is no need to measure COD, however the correlation between the two parameters must established and checked regularly.

- Hazardous pollutants screen substances are: Chlorpyriphos, Cypermethrin, Endosulphan (A & B), 4- nonylphenols & Nonylphenol ethoxylates, PCP, TBT

- For integrated or multi product mills where the BAT AEL range has been calculated according to a mixing rule based on their share of the discharge, based on information supplied by the Operator, the Operator must notify Natural Resources Wales if the product/ raw material mix changes by more than 10% in any direction.

Signed …………………………………………………………….  		Date………………………..

Permit Number: 	EPR/EP3738NG		Operator: WEPA UK Ltd

Facility:		Bridgend Papermill		Form Number: 	 Air 1 31/03/2016

# Reporting of emissions to air for the period from DD/MM/2016 to DD/MM/2017

| Emission Point | Substance / Parameter | Emission/ Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A1 | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 250 mg/m3 | Hourly average |  | BS EN 14792 |  |  |
| A1 | Sulphur dioxide | 50 mg/m3 | Hourly average |  | BS EN 14791 / TGN M21 |  |  |
| A1 | Particulates | 10 mg/m3 | Hourly average |  | BS EN 13284-1 |  |  |
| A1 | Carbon monoxide | 150 mg/m3 | Hourly average |  | BS EN 15058 |  |  |
| A2 | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 250 mg/m3 | Hourly average |  | BS EN 14792 |  |  |
| A2 | Sulphur dioxide | 50 mg/m3 | Hourly average |  | BS EN 14791 / TGN M21 |  |  |
| A2 | Particulates | 10 mg/m3 | Hourly average |  | BS EN 13284-1 |  |  |
| A2 | Carbon monoxide | 150 mg/m3 | Hourly average |  | BS EN 15058 |  |  |
| A4 | Oxides of Nitrogen (NO and NO2 expressed as NO2) | 40 mg/m3 (natural gas) 100 mg/m3 (gas oil) | Hourly average |  | BS EN 14792 |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)

Permit Number: 	EP3738NG			Operator:  WEPA UK Ltd

Facility:		Bridgend Papermill		Form Number: 	WaterUsage1 31/03/2016

# Reporting of Water Usage for the year DD/MM/2016 to DD/MM/2017

| Water Source | Usage (m3/year | Specific Usage (m3/unit output) |  |
| --- | --- | --- | --- |
| Mains water |  |  |  |
| Site borehole |  |  |  |
| River abstraction |  |  |  |
| TOTAL WATER USAGE |  |  |  |

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(authorised to sign as representative of Operator)

Permit Number: 	EP3738NG			Operator:  WEPA UK Ltd

Facility:		Bridgend Papermill		Form Number: 	Energy1 31/03/2016

# Reporting of Energy Usage for the year DD/MM/2016 to DD/MM/2017

| Energy Source | Energy Usage |  | Specific Usage (MWh/unit output) |  |
| --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  |
| Electricity * | MWh |  |  |  |
| Natural Gas | MWh |  |  |  |
| Gas Oil | tonnes |  |  |  |
| Recovered Fuel Oil | tonnes |  |  |  |
| TOTAL | - |  |  |  |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments :

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)